Figure 8

Error estimation of the determined fat fraction (FF) values (blue line) by using the T1-weighted DIXON pulse sequence with a short repetition time (TR) of 5.85 ms compared to the true FF values (red dashed line). Determined FF values (FF = F / F + W) were calculated using the FLASH equation (44) and assumed relaxation times for water (900 ms) and fat (400 ms) (45). The grey layered region marks the area between 59% and 73% of our determined FF values (FFBAT) of brown adipose tissue (BAT), during the cooling phase. Therefore, minimum to maximum overestimation of the determined FFBAT values in this study is between 8.8% and 11.4%.

Figure 8