The Work Programme of EURADOS on Internal and External Dosimetry

W. Rühma, J.F. Bottollier-Depoisb, P. Gilvinc, R. Harrisond, Ž. Kneževiće, M.A. Lopezf, R. Tannerg, A. Vargash, C. Wodai

a Helmholtz Center Munich, Department of Radiation Sciences, Institute for Radiation Protection, Ingolstädter Landstr. 1, 85764 Neuherberg, Germany; e-mail: werner.ruehm@helmholtz-muenchen.de

b Institut de Radioprotection et de Sûreté Nucléaire (IRSN), Fontenay-aux-Roses Cedex, France; email: jeanfrancois.bottollier@irsn.fr

c Public Health England, Chilton, Didcot, United Kingdom; email: phil.gilvin@phe.gov.uk

d University of Newcastle, Newcastle, UK; email: roger.m.harrison@googlemail.com

e Ruđer Bošković Institute (RBI), Zagreb, Croatia; e-mail: zknez@irb.hr

f Centro de Investigaciones Energéticas, Medioambientales y Tecnológicas (CIEMAT), Madrid, Spain; e-mail: ma.lopez@ciemat.es

g Public Health England, Chilton, Didcot, United Kingdom; email: rick.tanner@phe.gov.uk

h Universitat Politècnica de Catalunya (UPC), Barcelona, Spain; e-mail: arturo.vargas@upc.edu

i Helmholtz Center Munich, Neuherberg, Germany; e-mail: clemens.woda@helmholtz-muenchen.de

- Abstract–Since the early 1980s, the European Radiation Dosimetry Group (EURADOS) has been maintaining a network of institutions interested in the dosimetry of ionising radiation. As of 2017, this network includes more than 70 institutions (research centers, dosimetry services, university institutes, etc.), and the EURADOS database lists more than 500 scientists who contribute to the EURADOS mission, which is to promote research and technical development in dosimetry and its implementation into practice, and to contribute to harmonization of dosimetry in Europe and its conformance with international practices. The EURADOS working program is organised in eight Working Groups dealing with environmental, computational, internal, and retrospective dosimetry, dosimetry in medical imaging and radiotherapy, dosimetry in high-energy radiation fields, and harmonization of individual monitoring. Results are published as freely available EURADOS reports and in the peer-reviewed scientific literature. Moreover, EURADOS organises Winterschools and training courses on various aspects relevant for radiation dosimetry, and formulates the strategic research needs in dosimetry important for Europe. This paper gives an overview on the most important EURADOS activities. More details can be found at www.eurados.org.

- Keywords: Eurados; Internal dosimetry; External dosimetry; Harmonisation in dosimetry

- introduction

- EURADOS, the European Radiation Dosimetry Group, is a network of institutions interested in the dosimetry of ionising radiation. As of 2017, the network includes more than 70 institutional members from about 30 countries, and the EURADOS database lists more than 500 scientists who contribute to the EURADOS mission. The network supports research and technical development in the field of dosimetry of ionising radiation, and promotes harmonisation of dosimetric procedures across Europe and their conformance with international practices. Moreover, EURADOS supports a variety of actions in training and education and organises, for example, one-day Winterschools on relevant topics, training courses in dosimetric techniques such as the use of voxel phantoms, or courses on European technical recommendations in the field of individual monitoring. A short overview on the current status was recently summarised (Rühm and Schuhmacher 2017).

- The present paper describes the work programme of the eight Working Groups (WGs) that are currently active. These include seven WGs dealing with scientific aspects in environmental, computational, internal, and retrospective dosimetry, dosimetry in medical imaging and radiotherapy, dosimetry in high-energy radiation fields, while one WG focuses on the harmonisation of individual monitoring across Europe and even beyond. In the following, the working program and results obtained are summarised for each of these WGs.

- eurados scientific work programme

  - Environmental Dosimetry

The aim of Working Group 3 (WG3, Environmental Dosimetry) is the correct measurement of the ambient dose equivalent, the ambient dose equivalent rate, and activity concentrations caused by different release scenarios, such as routine emissions, nuclear accidents and terrorist attacks. With this objective in mind, WG3 is intended to provide a) metrological support of the harmonisation process of early warning dosimetry network systems in Europe, b) development of methods for environmental dosimetry, c) organisation of comparison programmes, d) investigation of the use of gamma-ray spectrometry systems for environmental radiation monitoring including drones, e) publication of technical recommendations, peer-review papers, and EURADOS reports, and f) stimulation of cooperation, data exchange platforms, national authorities, research projects and others.

According to different metrological procedures and the increase in the interest on spectro-dosimetric systems (e.g. based on LaBr3, CeBr3, SrI2, CZT), WG3 has recently founded two subgroups, namely i) spectrometry systems for environmental dosimetry (WG3-S1) and ii) passive environmental dosimetry (WG3-S2).

WG3-S1 activities are grouped in four subject areas which cover: i) comparison of methods for calculating ambient dose equivalent rates from photon spectra; This activity has been carried out in collaboration with the MetroERM project (Metrology for early warning networks - http://earlywarning-emrp.eu/), and results have already been published (e.g., Camp and Vargas 2014, Dombrowski 2014, Vargas et al. 2017), ii) comparison of automatic tools for spectra analysis such as Full Spectra Analysis (FSA) and peak-based nuclide identification, iii) harmonisation and uncertainty analysis of dose rate meters and spectrometric monitors in collaboration with the CONFIDENCE project (COping with uNcertainties For Improved modelling and DEcision making in Nuclear emergenCiEs - https://portal.iket.kit.edu/CONFIDENCE/) and with the real time radiological data platform EURDEP (https://eurdep.jrc.ec.europa.eu/Basic/Pages/Public/Home/), iv) and development of mobile spectrometric monitors; The aim of this subject is to develop, test and validate metrologically traceable systems and methods for remote measurements of ambient dose equivalent rates and activity concentrations using unmanned aerial vehicles commonly named drones, with spectrometry systems mounted on them. This activity will be carried out in the framework of the European project “Preparedness” (Metrology for mobile detection of ionising radiation following a nuclear or radiological incident - https://www.euramet.org/).

WG3-S2 compares and studies passive environmental detectors. Results of the most recent comparison have been published in Dombrowski et al. 2017 and Duch et al. 2017. Currently, the first EURADOS comparison (IC2017calm) of calibration methods for passive area dosemeters is performed. In this campaign, a set of area dosemeters from Karlsruhe Institute of Technology (KIT, Germany) was sent to each of the participating irradiation facilities to verify laboratory calibration procedures. At the moment, the results are analysed.

  - Computational Dosimetry

Working Group 6 (WG6, Computational Dosimetry) promotes research and best practice in computational methods applied to radiation protection and dosimetry. Monte Carlo (MC) methods dominate the work programme, since the technique is in widespread use to assist with almost all areas of dosimetry. However, deterministic and unfolding methods are still investigated, since these are also important tools.

Originally, the WG included most of the scientists working in this area in Europe, using bespoke codes developed within their own laboratory. Now, well benchmarked MC codes that allow for transportation of a wide range of particles, are widely available and the use of own codes is restricted to the most specialist of problems. Most EURADOS WGs perform tasks that require MC methods, so WG6 collaborates closely with several other WGs on joint tasks. The computational dosimetry work programme can be broadly divided into three types of task: research into the best methods available, intercomparisons to test how well the methods are applied, and training activities.

Research activities are directed at the biggest challenges for computational methods: the smallest scales, the highest energies and the mathematical description of humans. Modelling of particles and their energy deposition on the sub-cellular scale is of fundamental importance to the understanding of the biological effects of radiation. This is an area where there is much uncertainty on the particle transport and cross sections for interactions, because initial high energy particles result in many lower energy electrons and photons that are responsible for the ionisations that cause DNA damage. WG6 is investigating these aspects of dose deposition via collaborative research (Bueno et al., 2015, Alexander et al., 2015, Dressel et al., 2017). For high energies, there are similar problems for MC methods, since cross-section data are largely missing and nuclear models are applied to simulate scattering and secondary particle generation. Work in collaboration with WG11 has shown that the model selection has a big influence on the computed results (Rühm et al. 2014), which has led to the development of a benchmarking task for high energy calculations. Modelling of energy deposition in voxel phantoms has led to improved understanding of the link between fortuitous dosemeter readings, radiation exposure and potential for tissue reactions (Eakins and Kouroukla, 2015).

Whilst MC methods are well benchmarked, their use is still subject to significant user influence. Intercomparisons have been used to demonstrate that, even for relatively simple problems, users can get results that are in error by orders of magnitude (Gualdrini et al., 2008). Sometimes these problems result from minor mathematical errors, but they can also be caused by erroneous specification of the problem or the use of inappropriate physics. Intercomparisons that are underway divide broadly into two categories: for expert users, where EURADOS members try to understand best practice and converge on optimized results; open intercomparisons to test the application of computational methods by the wider community. The first category includes nanodosimetric studies and the high energies seen around accelerators and in cosmic rays: a nanodosimetric intercomparison is underway which will provide results on converged solutions for energy deposition at the sub-cellular and DNA scales. The second includes modelling of dosemeters, calibration rooms, linear accelerators, simplified biological models, neutron spectrum unfolding and voxelized phantoms: currently results from an intercomparison of medical linear accelerators are in press, results from a neutron spectrum unfolding exercise are being analysed and an intercomparison of the implementation of the ICRP reference phantoms is about to be launched.

Linked to the intercomparisons, training in the use of MC methods forms a central part of the work programme. Regular training schools are held on voxel phantom development, implementation and usage. This is now being extended to include a school on best practice in the use of MC methods for external dosimetry.

  - Internal Dosimetry

Working Group 7 (WG7; Internal Dosimetry) deals with the assessment of doses due to internal exposures. The challenge is to cover all relevant topics from radionuclide monitoring to dose evaluation, to identify gaps that need further developments, to coordinate research, to promote harmonization and to disseminate results and knowledge. The aim is to provide tools and methodologies allowing for a reliable dose assessment for workers and for members of the public (adults and children), and for different internal exposure scenarios such as occupational exposures, emergency situations, nuclear medicine and others. One of the priorities of WG7 is to establish a formal collaboration with ICRP Committee 2 (C2), especially with respect to ICRP biokinetic models and application of new worker dose coefficients. Currently Task Group 7.2 (TG7.2) of WG7 is involved in the elaboration of a guidance document for the application of the new OIR (Occupational Intakes of Radionuclides) Reports from ICRP. The OIR series updates the methodology of internal dose assessment according to ICRP 103 recommendations. TG7.3 is dealing with the development of a biokinetic model of DTPA therapy including collaborators from France, Germany and the United States. Another topic of common interest is the internal dosimetry in emergency scenarios (TG7.4) (Lopez et al. 2016). WG7 members have being involved in research projects such as CATHyMARA “Child and Adult Thyroid Monitoring After Reactor Accident” (EC FP7, 2016-2017) and CONFIDENCE “Coping with uncertainties for Improved modelling and decision making in nuclear emergencies”, which is a joint collaboration of the four European platforms on radiological protection, NERIS, EURADOS, MELODI, and ALLIANCE, in the frame of the CONCERT action (EC H2020, 2017-2019).

Important outcomes of WG7 are the IDEAS Guidelines (V2) for the “Estimation of Committed Doses from Incorporation Monitoring Data” (TG7.1, Castellani et al. 2016) and the “Technical Recommendations for Monitoring Individuals for Occupational Intakes of Radionuclides” (TG7.6, Etherington et al. 2016, 2017). A new WG7 initiative is the ICIDOSE 2017 intercomparison for the calculation of internal doses by interpreting monitoring data of four case studies, using as reference documents the IDEAS Guidelines and the Technical Recommendations. A further important issue is how to deal with uncertainties in internal dose assessments. To address this topic, TG7.5 has launched an exercise in 2017 including evaluation of lifetime doses for three workers occupationally exposed to uranium (Davesne et al. 2018). This task-group has also been involved in studies on uncertainties in epidemiology and risk assessment for internal emitters.

Collaboration of WG7 and WG6 is traditionally close on the application of MC methods and voxel phantoms for in vivo calibration of body counters (TG7.4) resulting in a number of intercomparison exercises and publications (Vrba eta l. 2015, Nogueira et al. 2015, Breustedt et al. 2016), and on microdosimetry studies of internal emitters (TG7.7) especially for nuclear medicine and radiotherapy applications. TG7.8 is collaborating with WG10 on the application of biodosimetry techniques in scenarios involving accidental internal exposures. The challenge here is to link dose values obtained by applying retrospective dosimetry methods with internal dose evaluations obtained from bioassay monitoring data. The analysis of data for 10 case scenarios including exposures at the Goiania accident, Semipalatinsk, Mayak and others is under discussion and will be presented in a publication in 2018.

Finally WG7 is involved in training actions such as the 10th EURADOS Winter School on “Internal Dosimetry for Radiation Protection and Medicine” during the Annual Meeting AM2017, the preparation of a training course based on the EC Technical Recommendations in 2018, and the organization (with WG6) of a CONCERT course on “Application of Monte Carlo Methods for Dosimetry of Ionizing Radiation” (to be held in March 2018). The work of WG7 is described in more detail in another paper in this issue (Breustedt et al. 2017).

  - Dosimetry in Radiotherapy

The objective of Working Group 9 (WG9, Radiation Dosimetry in Radiotherapy) is to promote the development of dosimetry in photon and hadron (currently proton) radiotherapy, using existing and potential dosemeters and dosimetric techniques. These include the use of passive detectors (e.g. TLDs, OSLs, RPLs, bubble detectors and solid state nuclear track detectors) and active detectors (e.g. tissue equivalent proportional counters & neutron monitors) for dosimetry within water phantoms (Harrison et al. 2017a), anthropomorphic phantoms (Miljanić et al 2014, Majer et al 2017) and in the vicinity of treatment facilities (Farah et al. 2015, Mojżeszek et al. 2017). The involvement of several European laboratories and reference facilities in WG9 work has promoted harmonisation by enabling comparisons between various dosemeters and dosimetric techniques to be made. A continuing objective is to assess the potential use in radiotherapy of new and emerging techniques and materials (e.g. optical fibre and gel dosemeters).

Recent work in out-of-field dosimetry is directed towards the assessment of the risk of second cancer induction and other late effects due to the unwanted irradiation of tissues and organs outside the target volume (Miljanić et al. 2014, Majer et al. 2017). The emphasis is on paediatric radiotherapy where patients may have life expectancies which are sufficiently long that late effects may be expressed. Out-of-field measurements may also be used for providing robust dosimetric data for the development and validation of analytical models (e.g. for treatment planning systems) (Schneider et al. 2017) and also as input to epidemiological studies (Harrison, 2017b) and other long term studies of radiation effects.

A development of this theme involves working towards the generation of the complete dose specification (i.e. the combined dose) from radiotherapy and associated imaging techniques for planning and treatment verification. This work is carried out in collaboration with WG12 (Dosimetry in Medical Imaging).

Working Group 9 is also studying dosimetric techniques for small radiation fields used in many modern radiotherapy techniques such as intensity modulated radiotherapy (IMRT) CyberKnife™, TomoTherapy™, Gamma Knife™, and proton Pencil Beam Scanning PBS, where the detector dimensions may be comparable to the field size and full lateral electronic equilibrium may not exist. Similar problems of finite detector size arise near the edges of treatment fields (in regions of high dose gradient) where most second cancers arise, and for dosimetry within small organ sub-structures.

Proton therapy poses several particular dosimetric problems including mixed field (proton, neutron, secondary charged particle, gamma-ray) dosimetry within the patient for combinations of treatment parameters including range and modulation. Several experimental studies of neutron spectrometry using Bonner spheres have been carried out in conjunction with dosimetry in the vicinity of proton therapy facilities (Farah et al. 2015, Mares et al. 2016, Farah et al. 2017, Mojżeszek et al. 2017) and within anthropomorphic phantoms used to simulate proton treatments. With the rapidly increasing number of European proton therapy facilities in clinical use, harmonisation of dosimetric techniques is important and the development of a prototype mailed dosimetry audit system is underway.

Extensive MC transport calculations using MCNP, FLUKA and GEANT codes provide valuable computational studies of dosimetry in phantoms and ambient mixed radiation fields to complement the experimental programmes.

  - Retrospective Dosimetry

- Working Group 10 (Retrospective Dosimetry) develops and harmonises techniques and methods in biological and physical retrospective dosimetry through a network of contacts, scientific exchange and scientific collaborations between European laboratories active in this area. The activities of the WG have attracted attention outside of Europe as well, leading to the joining of laboratories from the US and South Korea in recent years.

- One of the main activities of the WG is the validation of newly developed physical and biological dosimetry methods through inter-laboratory comparisons (ILCs). Such methods have rapidly developed in the past decade, most notably in physical retrospective dosimetry, but often only in a single or in a few laboratories. Inter-laboratory comparisons within EURADOS currently guarantee the highest level of standardization achievable. Three ILCs have been carried out to date, validating measurement protocols on surface-mount resistors (measurable with OSL), display glass (measurable with TL) and touchscreen glass (measurable with EPR) of mobile phones as fortuitous dosemeters. The exercises have been realized either using laboratory irradiations (Bassinet et al. 2014, Fattibene et al. 2014, Ainsbury et al. 2017), or in a field test involving a radioactive source placed in the luggage compartment of a bus and phantoms equipped with mobile phones placed in the bus (Woda et al. in prep.). The latter test was also the first ILC where physical retrospective and biological dosimetry (the latter using blood sample tubes placed in thermos flasks) was carried out at the same time and in the same experimental setup. This is linked to another aim of WG10, to establish a multi-parameter approach to dose assessment in retrospective dosimetry.

- Methods for estimating the uncertainty of a measured dose are comparatively standardized in biological dosimetry but are still in an early developmental stage in physical retrospective dosimetry. The status-quo of uncertainty estimation across all techniques used in WG10 participating laboratories has recently been assessed (Ainsbury et al, in press), and was the topic of a training course (with funding from the EU Project CONCERT) carried out at IRSN in June 2017. The final goal of WG10 is to establish a common approach for biological and physical methods, which could make use of advanced techniques such as MC simulations and Bayesian statistics. Software for this purpose is currently being developed.

- In 2015 it was decided that a joint EURADOS-ICRU report on “Retrospective Assessment of Individual Doses for Acute Exposures to Ionizing Radiation” (working title) should be realized. Four members of the report committee are from WG10. The report is expected to be completed at the end of 2018.

- A major issue in biological dosimetry is the evaluation of doses following internal or mixed internal and external exposure. On this topic, the WG has undertaken a major literature review in collaboration with WG7, with expected publication date in 2018.

- To relate the dose in the material used in physical retrospective dosimetry (e.g in personal objects) to quantities appropriate for triage in a mass casualty scenario (e.g. ‘whole body’ dose/absorbed dose in organ/air kerma) a collaboration is carried out with WG6 focussing on development of conversion algorithms, generating conversion data with uncertainties and defining the useful dose quantity for emergency scenarios.

  - Dosimetry in High-Energy Radiation Fields

The objective of Working Group 11 (WG11, Dosimetry in High-Energy Radiation Fields) is to increase the expertise regarding field characterisation and dose assessment in situations where high energy radiation and pulsed fields are found, like in medicine, research, civil aviation, and space.

The main achievements and current actions of WG11 include comparison of various computer codes assessing galactic cosmic radiation exposure. This initiative has shown that the codes used for occupational dosimetry of aircraft crew provide route dose estimates that are in a good agreement and compatible with radiation protection requirements (Bottollier et al., 2009; Beck et al., 2009). As for dose assessment during solar particle events (SPE), a benchmark has highlighted that the models currently developed still need to be improved (Beck et al., 2008; Bütikofer et al., 2013). Because such events are rare, one of the difficulties to validate these models is that experimental data coming from measurements on-board aircraft are not available yet. Therefore, the WG set up a network to perform continuous measurements of cosmic radiation at ground level and on-board aircrafts, to produce experimental data in particular in case of an SPE. The instrumentation includes simple dosemeters on a number of aircrafts, and ground-based neutron monitors and Bonner spheres neutron spectrometers. A specific protocol has been defined to characterise and to calibrate these dosemeters on dedicated flights using a tissue equivalent proportional counter as reference device.

Another focus of the WG is investigation of instrument response in pulsed and high energy fields. In the last few years, the first action focused on intercomparison of area survey meters and personal dosemeters in high energy and pulsed neutron fields (Silari et al., 2009; Caresana et al., 2014; Trompier et al., 2014), while the second one focused on pulsed photon fields of ultrashort duration (in the range of fs). The current action aims at identifying a reference facility for instrument intercomparison with short and ultrashort photon bursts.

Finally, a benchmark exercise has been initiated on high energy codes and models used to characterize high energy neutron fields (Rühm et al., 2014) and to assess the corresponding dose in various domains of activity, like medicine, research, aviation and space.

  - Dosimetry in Medical Imaging

The focus of Working Group 12 (WG12, Dosimetry in medical imaging) is harmonisation, evaluation and development of dosimetry methods, intercomparisons, literature reviews and measurement campaigns to assess occupational as well as patient dose. The WG is divided into 2 subgroups: SG1 on staff dosimetry and SG2 on patient dosimetry.

The increasing use of ionising radiation in the medical sector and the publication of the new ICRP recommendation for the eye lens dose limit for workers have an impact on occupational exposures. Therefore, SG1 initiated tasks to study eye lens dosimetry for medical workers as well as the use of active personal dosemeters (APDs) in hospitals. Recent work of SG1 is directed towards a) evaluation of the exposure of the eye lens of medical staff working with fluoroscopy systems and preparation of basic guidelines on eye lens monitoring (Carinou et al. 2015, Ferrari et al. 2016, Ciraj-Bjelac et al. 2017); b) investigation of the present situation and preparation of guidelines on the use of algorithms for the estimation of the effective dose and the eye lens dose when radiation protection tools are used; c) organisation of intercomparisons of eye lens dosemeters between European individual dosimetry services, to check their performance in routine work (Clairand et al. 2016). A second topic is focused on the use of APDs in hospitals. As occupational exposure in medicine is a matter of growing concern, APDs are increasingly used in various fields of application of ionising radiation in medicine. The work is directed towards surveying the present situation on the use of APD in the EU hospitals following testing of various APDs in different conditions (continuous and pulsed reference fields, realistic fields in hospitals and staff use in hospitals) and on studying the influence of the lead apron on the calibration of the dosemeters.

The work of SG2 is dedicated to the area of patient dosimetry for interventional procedures in cardiology and radiology as well as on the dosimetry in cone beam CT imaging (CBCT). As the number and complexity of interventional cardiology (IC) procedures have been steadily growing, it becomes crucial to provide patient-specific skin dose estimates during IC procedures (Farah et al., 2015, Dabin et al., 2015). The aim of this research is to foster the harmonisation of a Radiation Dose Structured Report (RDSR) and to validate skin dose calculation (SDC) software (by acceptance testing and developing quality control protocols) in IC, which will help to develop patient-specific dosimetry and optimise radiation protection. The second topic of SG2 is considering patient dosimetry associated with various Cone Beam CT (CBCT) technologies, i.e. dental, flat detector (FD) and On-Board Imaging (OBI) systems. The work is focused on reviewing and collecting studies related to CBCT through questionnaires focusing on dosimetry methodologies used to evaluate organ doses, to understand dosimetry methods which are used in clinical conditions. Together with WG9, SG2 is also working on improving optimization of imaging practices in radiotherapy and the generation of a complete dose specification from both radiotherapy and imaging techniques.

- eurados work programme on harmonisation of individual monitoring

EURADOS began work on harmonisation of individual monitoring for external radiation in 1996 (Bartlett et al. 2001). Since then WG2 has achieved a number of objectives including: carrying out relevant surveys; production of technical recommendations under contract to the European Commission (European Commission 2009); and dissemination, via training courses, workshops and learning network events. A most significant aspect of harmonisation work is the organisation of self-sustaining intercomparisons for passive dosemeters (Fantuzzi et al. 2014; Grimbergen et al. 2016), which has provided benefits for many individual monitoring services (IMS). The main strands of the current work programme are as follows.

Intercomparisons: The programme of intercomparisons is intended to continue for as long as there is a need. They entail significant work from the organising group, from the irradiating laboratories and from the administrative support; but they provide great benefits for IMSs. Not only do they function as routine proficiency tests, but because they are carried out by accredited laboratories, the also provide a means of checking on type-test and traceability data. A second intercomparison for neutron personal dosemeters is taking place in 2017, and the intercomparisons will ontinue with one for photon whole-body dosemeters in 2018, and one for extremity dosemeters in 2019.

Training courses: Following the publication of the 2009 Technical Recommendations (European Commission 2009), WG2 organised formal training courses for staff of IMSs. Based on the recommendations, the four courses so far delivered were both well-attended and well-received. Demand for is continuing, and while the content is necessarily evolving, further courses are planned. The next will be in 2019.

Building networks: One consistent thread of feedback from both the intercomparison participants’ meetings and the training courses was how useful students found it to network with colleagues from other IMSs. Accordingly WG2 is now implementing two new networking approaches. The first is through “Learning Network” events, held during the EURADOS annual meeting, of which a major component is discussion between IMSs. The inaugural learning network event took place in 2017, and again the intention is for these to continue for as long as they are needed. The second new approach is the development of an online discussion forum. This is being launched in 2017, and will provide a simple way for IMSs to maintain contacts and to hold discussions on a range of topics.

Further Dissemination: Another means of disseminating best practice amongst IMSs is via presentations and publications. Members of WG2 have given oral and poster presentations at international conferences such as the Individual Monitoring and Solid State Dosimetry Conferences, and publications have included not only papers in peer-reviewed journals, but also official EURADOS reports. Finally, as noted above, best practice can be disseminated by means of technical recommendations. WG2 is currently planning to establish tasks that will lead to two “best-practice” guides: one to assist IMSs and auditors in interpreting the quality management standard ISO 17025 (International Organisation for Standardisation 2005) in the context of individual monitoring, and another to assist IMSs in operating high-quality dose record keeping systems that meet new data protection standards.

- eurados Strategic research agenda

- Recently, EURADOS has developed a European Strategic Research Agenda (SRA) on dosimetry. Based on a joint effort of the members of all WGs, five visions were formulated that would, once come true within the next about 20 years, significantly improve the dose quantification of individuals in various exposure scenarios. These five visions are a) Towards updated fundamental dose concepts and quantities, b) Towards improved radiation risk estimates deduced from epidemiological cohorts, c) Towards an efficient dose assessment in case of radiological emergencies, d) Towards an integrated personalised dosimetry in medical applications, and e) Towards improved radiation protection of workers and the public. Each of these visions is subdivided into so-called scientific challenges, which are in turn detailed by describing required research lines. The SRA was published as EURADOS Report (Rühm et al. 2014) which is freely downloadable at www.eurados.org, while an extended summary was published in Radiation Protection Dosimetry (Rühm et al. 2016). Similar SRAs were also developed by the other European research platforms MELODI (Repussard et al., 2017), ALLIANCE (Vandenhove et al., 2017), NERIS (Schneider et al., 2017), and EURAMED (Hoeschen et al., 2017).

- As a next step, a EURADOS workshop was held in 2016 in Neuherberg, Germany, where 23 international organisations with interest in the dosimetry of ionising radiation commented on the EURADOS SRA. A summary of this report was recently published (Rühm et al. 2017), and a EURADOS task group is currently evaluating the results of this workshop.

- REFERENCES

Ainsbury, E.; Badie, C.; Barnard, S.; et al. 2017. Integration of new biological and physical retrospective dosimetry methods into EU emergency response plans - joint RENEB and EURADOS inter-laboratory comparisons. Int. J. Radiat. Biol. 93, 99-109.

Ainsbury, E.A., Samaga, D., Della Monaca, S., et al., 2017. Uncertainty on radiation doses estimated by biological and retrospective physical methods. Radiat. Prot. Dosim. In press, doi:10.1093/rpd/ncx125

Alexander, F., Villagrasa, C., Rabus, H., et al., 2015. Energy dependent track structure parametrisations for protons and carbon ions based on nanometric simulations. Eur. Phys. J. D 69, 1-7

Bartlett, D.T., Ambrosi, P., Back, C., et al., 2001. Harmonisation and dosimetric quality assurance in individual monitoring for external radiation. Radiat. Prot. Dosim. 96, 27-33.

Bassinet, C, Woda, C., Bortolin, E., et al. 2014. Retrospective radiation dosimetry using OSL of electronic components: Results of an inter-laboratory comparison. Radiat. Meas. 71, 475 – 479.

Beck, P., Bartlett, D.T., Bilski, P., et al., 2008. Validation of modelling the radioation exposure due to solar particles events at aircraft altitudes. Radiat. Prot. Dosim. 131: 51-58.

Beck, P., Bottollier-Depois, J.-F., Reitz, G., et al., 2009. Cosmic radiation and aircrew exposure. Radiat. Prot. Dosim. 136: 231.

Bottollier-Depois, J.F:, Beck, P., Ennett, B., et al., 2009. Comparison of codes assessing galactic cosmic radiation exposure of aircraft crew. Radiat. Prot. Dosim. 136: 317-323.

Breustedt. B., Broggio, D., et al., 2016. The EURADOS-KIT Training Course on Monte Carlo methods for the Calibration of Body Counters. Radiat. Prot. Dosim. 170(1-4):446-450.

Breustedt, B., Blanchardon, E., Castellani, et al., 2017. EURADOS work on internal dosimetry. Ann. ICRP xxx (this issue).

Bueno, M., Schulte, R., Meylan, S., et al., 2015. Influence of the geometrical detail in the description of DNA and the scoring method of ionization clustering on nanodosimetric parameters of track structure: a Monte Carlo study using Geant4-DNA. Phys. Med. Biol. 60, 8583

Bütikofer, R., Flückiger, E.O., 2013. Differences in published characteristics of GLE60 and their consequences on computed radiation dose rates along selected flight paths. J. Phys. Conference Series 409. DOI: 10.1088/1742-6596/409/1/012166.

Camp, A., Vargas, A., 2014. Ambient dose estimation H*(10) from LaBr3(Ce) spectra. Radiat. Prot. Dosim. 160, 264–268.

Caresana, M, Denker, A., Esposito, A., et al., 2014. Intercomparison of radiation protection instrumentation in a pulsed neutron field. Nucl. Instr. Meth. A737: 203-213.

Carinou, E., Ferrari, P., Ciraj-Bjelac, O., et al., 2015. Eye lens monitoring for interventional radiology personnel: calibration and practical aspects of Hp(3) monitoring. A review. J. Radiol. Prot. 35, R17-R34.

Castellani, C.M., Marsh, J.W., Hurtgen, C., et al., 2016. IDEAS Guidelines (Version 2) for the estimation of committed doses from incorporation monitoring data. Radiat. Prot. Dosim 170(1-4):17-20.

Ciraj-Bjelac, O., Carinou, E., Ferrari, P., et al., 2016. Occupational exposure of the eye lens in interventional procedures: how to assess and manage radiation dose. J. Am. Coll. Radiol. 13, 1347-1353.

Clairand, I., Ginjaume, M., Vanhavere, F., et al., 2016. First EURADOS intercomparison exercise of eye lens dosemeters for medical applications. Radiat. Prot. Dosim. 170 (1-4) 21-26.

Dabin, J., Negri, A., Farah, J., et al., 2015. Characterisation of grids of point detectors in maximum skin dose measurement in fluoroscopically-guided interventional procedures. Phys Med. 31(8): 1112-1117.

Dombrowski, H., 2014. Area dose rate values derived from NaI or LaBr3 spectra. Radiat. Prot. Dosim. 160, 269–276.

Dombrowski, H., Duch, M.A., Hranitzky, C., et al., 2017. EURADOS intercomparison of passive H*(10) area dosemeters 2014. Radiat. Meas., https://doi.org/10.1016/j.radmeas.2017.05.008, in press.

Dressel, T., Bug, M., Gargioni, E., 2017. PO-0792: Monte-Carlo calculated energy deposition and nanodosimetric quantities around a gold nanoparticle. Radiother. Oncol. 123, S421.

Duch, M.A., Dombrowski, H., Hranitzky, C., et al., 2017. Status of passive environmental dosimetry in Europe. Radiat. Meas., https://doi.org/10.1016/j.radmeas.2017.03.010, in press.

Eakins, J., Kouroukla, E., 2015. Luminescence-based retrospective dosimetry using Al2O3 from mobile phones: a simulation approach to determine the effects of position. J. Radiol. Prot. 35, 343-381.

Etherington, G., Bérard P., Blanchardon, E., et al., 2016. Technical recommendations for monitoring individuals for occupational intakes of radionuclides. Radiat. Prot. Dosim. 170(1-4):8-12.

Etherington, G., Giussani, A., Lopez, M.A., et al. 2017. Technical Recommendations for Monitoring Individuals for Occupational Intakes of Radionuclides. EC Report of RP series, in press.

Davesne, E., Bull, R., Anderson, J., et al., 2018. Uncertainties in internal dose assessment: Lifetime dose assessment for three example workers occupationally exposed to uranium” EURADOS Report 2018, in press.

European Commission, 2009. "RADIATION PROTECTION NO 160 - Technical Recommendations for Monitoring Individuals Occupationally Exposed to External Radiation" http://ec.europa.eu/energy/sites/ener/files/documents/160.pdf., accessed on September 20, 2017.

Fantuzzi, E., Chevallier, M.-A., Cruz-Suarez, R., et al., 2014. EURADOS IC2012N: EURADOS 2012 intercomparison for whole-body neutron dosimetry. Radiat. Prot. Dosim. 161, 73-77.

Farah, J., Mares, V., Romero-Expósito, M., et al., 2015. Measurement of stray radiation within a scanning proton therapy facility: EURADOS WG9 intercomparison exercise of active dosimetry systems. Med. Phys. 42 (5), 2572-2584.

Farah, J., Trianni, A., Ciraj-Bjelac, O., et al., 2015. Characterization of XR-RV3 GafChromic® films in standard laboratory and in clinical conditions and means to evaluate uncertainties and reduce errors. Medical Physics 42, 4211-4226.

Farah, J., De Saint-Hubert, M., Mojzeszek, N., et al., 2017. Performance tests and comparison of microdosimetric measurements with four tissue-equivalent proportional counters in scanning proton therapy. Radiat. Meas. 96, 42-52.

Fattibene, P., Trompier, F., Wieser, A., et al., 2014. EPR dosimetry intercomparison using smart phone touch screen glass. Radiat. Environm. Biophys. 53, 311–320.

Ferrari,P., Becker,F., Carinou, E., et al., 2016. Monte Carlo study of the scattered radiation field near the eyes of the operator in interventional procedures. J Radiol. Prot. 36(4), 902-921.

Grimbergen, T., Figel, M., McWhan, et al., 2016. EURADOS Programme of Intercomparisons for Individual Monitoring Services: Seven Years of Development and Future Plans. Radiat. Prot. Dosim. 170, 90-94.

Gualdrini, G., Tanner, R., Agosteo, S., et al., 2008. Analysis of the CONRAD computational problems expressing only stochastic uncertainties: neutrons and protons. Radiat. Prot. Dosim. 131, 7-14.

Harrison, R.M., Di Fulvio, A., Bordy, J.-M., et al., 2017(a). Dosimetry for second cancer risk estimation in radiotherapy: measurements in water phantoms. EURADOS Report 2017-01. ISSN 2226-8057; ISBN 978-3-943701-14-2 Neuherberg.

Harrison, R., 2017(b). Out-of-field doses in radiotherapy: input to epidemiological studies and dose-risk models. Physica Medica: Eur. J. Med. Phys. DOI 10.1016/j.ejmp.2017.02.001, in press.

Hoeschen, C., et al., 2018. EURAMED xxx.

ISO, 2005. "ISO 17025:2005 General Requirements for the Competence of Testing and Calibration Laboratories. International Organisation for Standardisation.

Lopez, M.A., Fojtik, P., Frank, D., et al., 2016. Lessons learned from the EURADOS survey on individual monitoring data and internal dose assessments of foreigners exposed in Japan following the Fukushima Daiichi NPP accident. Radiat. Prot. Dosim. 170(1-4): 402-406.

Majer, M., Stolarczyk, L., De Saint-Hubert, M., et al., 2017. Out-of-field dose measurements for 3D conformal and intensity modulated radiotherapy of a paediatric brain tumour. Radiat. Prot. Dosim., Doi:10.1093/rpd/ncx015, in press.

Mares, V., Romero-Exposito, M., Farah, J., et al., 2016. A comprehensive spectrometry study of stray neutron radiation fields in scanning proton therapy. Phys. Med. Biol. 61: 4127-4140.

Miljanić, S., Bordy, J.-M., d'Errico, F., et al., 2014. Out-of-ﬁeld dose measurements in radiotherapy - An overview of activity of EURADOS Working Group 9: Radiation protection in medicine. Radiat. Meas. 71, 270-275.

Mojżeszek, N., Farah, J., Kłodowska, M., et al., 2017. Measurement of stray neutron doses inside the treatment room from a proton pencil beam scanning system. Physica Medica: European Journal of Medical Physics 34, 80–84.

Nogueira, P., Rühm, W., Lopez, M.A., et al., 2015. EURADOS 241Am skull measurement intercomparison. Radiat. Meas. 82, 64–73.

Repussard, J., et al., 2018. MELODI, this issue xxx.

W. Rühm, Mares, V., Pioch, C., et al., 2014. Comparison of Bonner sphere responses calculated by different Monte Carlo codes at energies between 1 MeV and 1 GeV – Potential impact on neutron dosimetry at energies higher than 20 MeV. Radiat. Meas. 67: 24-34.

Rühm, W., Fantuzzi, E., Harrison, R., et al., 2014. Visions for Radiation Dosimetry over the Next Two Decades - Strategic Research Agenda of the European Radiation Dosimetry Group”, EURADOS Report 2014-01.

Rühm, W., Fantuzzi, E., Harrison, R., et al., 2016. Eurados strategic research agenda: Vision for dosimetry of ionising radiation. Radiat. Prot. Dosim. 168, 223-234.

Rühm, W., Knežević, Ž., Fantuzzi, E., et al., 2017. EURADOS Stakeholder Workshop on June 30th, 2016. EURADOS Report 2017-02.

Rühm, W., Schuhmacher, H., 2017. EURADOS – A success story for European cooperation in the dosimetry of ionising radiation. StrahlenschutzPraxis 3/2017, 36-38.

Schneider, C., Newhauser, W., Jagetic, L., et al., 2017. A descriptive, and broadly applicable model of therapeutic and stray absorbed dose from 6 MV to 25 MV photon beams. Med. Phys. 44, 3805–3814.

Schneider, T., et al., 2018. NERIS, this issue xxx.

Silari, M., Agosteo, S., Beck, P., et al., 2009. Intercomparison of radiation protection devices in a high-energy stray neutron field. Part III:Instrument response. Radiat. Meas. 44: 673-691.

Teles, P., Nikodemová, D., Bakhanova, E., et al., 2017. A  review of radiation protection requirements and dose estimation for staff and patients CT fluorscopy. Radiat. Prot. Dosim. 174, 518-534.

Trompier, F., Boschung, M., Buffler, A., et al., 2014. Acomparison of the response of PADC neutron dosemeters in high-energy neutron fields. Radiat. Prot. Dosim. 161, 78-81.

Vandenhove, H., et al., 2018.ALLIANCE, this issue xxx.

Vargas, A., N. Cornejo, N., Camp, A. Comparison of methods for H*(10) calculation from LaBr3(Ce) measured spectra. Appl. Radiat. Isotopes 2017 (under review).

Vrba, T., Broggio, D., Caldeira, M., et al., 2015. EURADOS intercomparison exercise on MC modelling for the in-vivo monitoring of Am-241 in skull phantoms (Part II and III). Radiat. Phys. Chem. 113, 59–71.