Supplementary Material

Single ingestion of di-(2-propylheptyl) phthalate (DPHP) by male volunteers: DPHP in blood and its metabolites in blood and urine

D. Klein, W. Kessler, C. Pütz, B. Semder, W. Kirchinger, A. Langsch, W. Gries, R. Otter, A.K.E. Gallien, X. Wurzenberger, J.G. Filser

- Supplementary Table 1

Liquid chromatography elution profile for the analysis of DPHP metabolites in urine.

| Time (min) | Mobile phase |  |
| --- | --- | --- |
|  | 0.1% Formic acid in water (%) | 0.1 % Formic acid in acetonitrile (%) |
| SPE columna |  |  |
| 0.0 | 90 | 10 |
| 1.0 | 90 | 10 |
| 1.5 | 0 | 100 |
| 3.0 | 0 | 100 |
| 3.5 | 90 | 10 |
| 8.0 | 90 | 10 |
| 15.0 | 90 | 10 |
| Chromatographic columnb |  |  |
| 0.0 | 90 | 10 |
| 1.0 | 90 | 10 |
| 7.0 | 5 | 95 |
| 7.5 | 5 | 95 |
| 8.0 | 90 | 10 |
| 10.0 | 90 | 10 |
| 15.0 | 90 | 10 |

a Flow rate 0-8 min: 0.8 ml/min; 8-15 min: 0.1 ml/min.
b Flow rate 0-10 min: 0.3 ml/min; 10-15 min: 0.1 ml/min.

- Supplementary Table 2

MS/MS parametersa for the analysis of DPHP metabolites in urine.

| Analyte | Parent ion (m/z) | Daughter ion (m/z) | Cone Voltage (V) | Collision Energy (V) |
| --- | --- | --- | --- | --- |
| MPHP | 305.16 | 134.02b 155.08c | 35.0 35.0 | 16.0 18.0 |
| MPHP-d4 | 309.22 | 138.11b 155.07c | 51.0 51.0 | 16.0 20.0 |
| OH-MPHP | 321.16 | 121.01b 173.06c | 59.0 59.0 | 20.0 14.0 |
| OH-MPHP-d4 | 325.22 | 125.04b 173.07c | 19.0 19.0 | 18.0 14.0 |
| oxo-MPHP | 319.16 | 121.01b 171.06c | 33.0 33.0 | 18.0 14.0 |
| oxo-MPHP-d4 | 323.16 | 125.05b 171.07c | 25.0 25.0 | 18.0 14.0 |
| cx-MPHP | 335.16 | 187.05b 141.10c | 13.0 13.0 | 14.0 28.0 |
| cx-MPHP-d4 | 339.22 | 187.06b 141.10c | 21.0 21.0 | 14.0 30.0 |

a Dwell time: 0.017 min for all ions.
b Quantifier ion.
c Qualifier ion.