SUPPLEMENTAL MATERIAL

Complementary metabolic profiling reveals new insights in fatty liver disease and associated comorbidities among general healthy individuals

Maik Pietzner1,2, Kathrin Budde1,2, Georg Homuth3, Gabi Kastenmüller4, Ann-Kristin Henning1, Anna Artati5, Jan Krumsiek6, Henry Völzke2,7,8, Jerzy Adamski5,9,10, Markus M. Lerch11, Jens P. Kühn12,13, Matthias Nauck1,2, Nele Friedrich1,2

METHODS

Untargeted LC-MS/MS profiling

Metabolomics Measurements

Non-targeted metabolomics analysis for metabolic profiling was conducted at the Genome Analysis Center, Helmholtz Zentrum München. Two separate LC-MS/MS analytical methods mere used as previously published, i.e. in positive and in negative ionization modes, were used to detect a broad metabolite panel (1). In this study, samples were divided into two sets according to the biological matrices of the samples, i.e. plasma and urine. On the day of extraction, samples were thawed on ice. A 100µL of the sample were pipetted into a 2mL 96-well plate. In addition to study samples, a human pooled reference plasma sample (Seralab, West Sussex, United Kingdom) and another pooled reference matrix of each sample set (Seralab, West Sussex, United Kingdom) were extracted and placed in 1 and 6 wells, respectively, of the 96-well plate. These samples served as technical replicates throughout the data set to assess process variability. Beside those samples, 100μL of water was extracted as samples and placed in 6 wells of the 96-well plate to serve as process blanks. Protein was precipitated and the metabolites were extracted with 475µL methanol, containing four recovery standards to monitor the extraction efficiency. After centrifugation, the supernatant was split into 4 aliquots of 100µL each onto two 96-well microplates. The first 2 aliquots were used for LC-MS/MS analysis in positive and negative electrospray ionization mode. Two further aliquots were kept as a reserve. The extracts were dried on a TurboVap 96 (Zymark, Sotax, Lörrach, Germany). Prior to LC-MS/MS in positive ion mode, the samples were reconstituted with 0.1% formic acid (50µl for plasma, 100µl for urine). Whereas samples analyzed in negative ion mode were reconstituted with 6.5mM ammonium bicarbonate (50µl for plasma, 100µl for urine), pH 8.0. Reconstitution solvents for both ionization modes contained internal standards that allowed monitoring of instrument performance and also served as retention reference markers. To minimize human error, liquid handling was performed on a Hamilton Microlab STAR robot (Hamilton Bonaduz AG, Bonaduz, Switzerland). LC-MS/MS analysis was performed on a linear ion trap LTQ XL mass spectrometer (Thermo Fisher Scientific GmbH, Dreieich, Germany) coupled with a Waters Acquity UPLC system (Waters GmbH, Eschborn, Germany). Two separate columns (2.1 x 100 mm Waters BEH C18, 1.7 µm particle-size) were used either for acidic (solvent A: 0.1% formic acid in water, solvent B: 0.1% formic acid in methanol) and or for basic (A: 6.5mM ammonium bicarbonate, pH 8.0, B: 6.5mM ammonium bicarbonate in 95% methanol) mobile phase conditions, optimized for positive and negative electrospray ionization, respectively. After injection of the sample extracts, the columns were developed in a gradient of 99.5% A to 98% B over an 11 min run time at 350µLl/min flow rate. The eluent flow was directly run through the ESI source of the LTQ XL mass spectrometer. The mass spectrometer analysis alternated between MS and data-dependent MS/MS scans using dynamic exclusion and the scan range was from 80-1000 m/z. Metabolites were identified by Metabolon, Inc. from the LC-MS/MS data by automated multiparametric comparison with a proprietary library, containing retention times, m/z ratios, and related adduct/ fragment spectra(2). Identification criteria for the detected metabolites are described in Evans et al.(1). Quality control methods and normalization of metabolite levels are explained in detail in the supplement.

Metabolomics Measurements: Quality Control and Normalization of Metabolite Levels

To correct for daily variations of platform performance, the raw ion count of each metabolite was rescaled by the respective median value of the run day. Valid estimation of the median was ensured by keeping only metabolites with at least three measured values on more than the half of the run days. This procedure resulted in 475 and 558 metabolites for plasma and urine, respectively, available for the present analysis. 263 metabolites were measured in both bio fluids. We chose probabilistic quotient normalization (PQN) (3) to account for diurnal variation of urine samples, since this procedure was shown to be superior to the common creatinine scaling. For this purpose we calculated a mean-pseudo-spectrum depending on metabolites with measurements for all participants (131 urine metabolites). Subsequently, we calculated a dilution factor as the median quotient between the reference spectrum and each sample. Of note, urine creatinine and the estimated dilution factor were highly correlated (r=0.91, p<0.001) within the present study sample. Afterwards all metabolite levels were log2-transformed. Separately for plasma and urine samples we performed multivariate outlier detection using an algorithm proposed by Filzmoser et al. (4) as implemented in the pcout function within the R package mvoutlier. The algorithm provides an outlier score for each sample based on a weighted combination of location and scatter estimations using principle component analysis and the Mahalanobis distance on a robustly scaled data matrix. The default parameters were used for the identification process, except the critical value for the location outliers was set to 4, as it corresponds to a 4 SD exclusion criteria. The minimum score was used as cut-off for outlier identification. As a result 13 and 8 samples from plasma and urine were excluded, respectively.

Targeted LC-MS/MS profiling

Metabolomics Measurements

Targeted metabolomics profiling of the plasma samples was performed using the AbsoluteIDQ p180 Kit (BIOCRATES LifeSciences AG, Innsbruck, Austria, online supplementary methods). 10 µl aliquots of each plasma sample were processed as recommended by the manufacturer. The fully automated assay combined flow injection (FIA) and LC-MS/MS selective detection using MRM pairs and quantifies up to 188 metabolites from 5 different compound classes. Via FIA acyl carnitines, phospho- and sphingolipids were measured in positive ionization mode and the sum of hexoses in negative ionization mode. With a LC-MS/MS analytical method, under the use of an Agilent C18 column, amino acids and biogenic amines were detected. MS analyses were performed on an AB SCIEX 5500 QTrap™ mass spectrometer (AB SCIEX, Darmstadt, Germany) with electrospray ionization combined with a HPLC system (Agilent 1260 Infinity Binary LC, Santa Clara, United States) including a degasser unit, column oven, autosampler and a binary pump. Internal standards (isotope labelled) are partially integrated in the Kit plate for metabolite quantification. After the measurement a pre-processing step, includes peak integration and concentration determination from calibration curves, with Analyst software (Version 1.5.1, AB Sciex, Darmstadt, Germany), data were uploaded into Biocrates MetIDQ software (part of the kit) and the metabolite concentrations were automatically calculated with it.

Metabolomics Measurements: Quality Control and Normalization of Metabolite Levels

To account for between plate variation, a solely sample dependent normalization was performed. To this end for each plate the measured concentrations of the metabolites were divided by the median concentration leading to equal median values for each metabolite on each plate. Subsequently, the median of the plate medians was calculated to reset to the original scale (µM concentrations). No obvious pattern in missing values along the measurement period became obvious. However, only metabolites with at least 20% valid observations were included in the final data sets, resulting in 183 used for subsequent analysis. PCA was performed to detect multivariate outliers. These were defined as samples deviating more than three times the standard deviation (SD) from the mean Mahalanobis distance based on the first ten principle components. As a result, four samples were excluded. Finally, metabolite levels were log2-transformed.

1H-NMR profiling

Urine Measurements

Prior analysis urine specimens were stored about five years at -80°C. After thawing, urine specimens were centrifuged for 5 min at 3000g and the supernatant was used for spectroscopic analysis. To this purpose, 450 µl urine were mixed with 50 µl phosphate buffer in order to stabilize the urinary pH at 7.0 (±0.35). The phosphate buffer was prepared with D2O and contained sodium 3-trimethylsilyl-(2,2,3,3-D4)-1-propionate (TSP) as reference. Spectra were recorded at the University Medicine Greifswald, Germany, on a Bruker DRX-400 NMR spectrometer (Bruker BioSpin GmbH, Rheinstetten, Germany) operating at 1H frequency of 400.13 MHz and equipped with a 4-mm selective inverse flow probe (FISEI, 120 µl active volume) with z-gradient. Specimens were automatically delivered to the spectrometer via flow injection. The acquisition temperature was set to 300°K. A standard one-dimensional 1H-NMR pulse sequence with suppression of the water peak (NOESYPREAST) was used: RD – P(90°) – 4 µsec – P(90°) – tm – P(90°) – acquisition of the free induction decay (FID). The non-selective 90° hard pulse P(90°) was adjusted to 9.4 µsec. The relaxation delay (RD), the mixing time (tm), and the acquisition time were set to 4 sec, 100 msec, and 3.96 sec, respectively, resulting in a total recycle time of ~8.0 sec. Low-power continuous-wave irradiation on the water resonance at an field strength of ~25 Hz was applied during RD and tm for pre-saturation. After application of 4 dummy scans, 32 FIDs were collected into 32768 (32K) complex data points using a spectral width of 20.689 parts per million (ppm). FIDs were multiplied with an exponential function corresponding to a line broadening of 0.3 Hz before Fourier-transformation. Spectra were manually phase and baseline corrected and automatically referenced to the internal standard (TSP – 0.0 ppm) within TopSpin 1.3 (Bruker BioSpin).

Metabolomics Measurements: Quality Control and Normalization of Metabolite Levels

The Fourier-transformed and baseline-corrected NMR spectra were manually annotated by spectral pattern matching using Chenomx NMR Suite 6.1 (Chenomx Inc., Edmonton, Alberta, Canada) to deduce absolute urinary concentrations of 56 metabolites; subsequently, the NMR data was reduced to these metabolites. Similar to MS measurements, urinary dilution was accounted for by PQN normalization. Normalized metabolite levels were once more log2-transformed.

Plasma Measurements

Plasma samples were stored frozen at -80°C until analysed. After thawing, 250 μl of plasma were mixed with 250 μl of phosphate buffer [prepared with D2O and contained sodium 3-trimethylsilyl-(2,2,3,3-D4)-1-propionate (TSP) as reference, (pH 7.4)].

Spectra were recorded on a Bruker AVANCE-II 600 NMR spectrometer operated by TOPSPIN 3.2 software (both Bruker Biospin, Rheinstetten, Germany), equipped with 5-mm z-gradient probe (Bruker Biospin, Rheinstetten, Germany) and automated tuning and matching (ATMA) unit (Bruker Biospin, Rheinstetten, Germany). Specimens were automatically delivered to the spectrometer via SampleJet (Bruker Biospin, Rheinstetten, Germany) into standard 5 mm NMR tubes. The acquisition temperature was set to 310°K. A standard one-dimensional 1H-NMR pulse sequence with suppression of the water peak (NOESYPREAST) was used. The sequence has the form –RD-gz,1-90°-t-90°-tm-gz,2-ACQ, where RD is the relaxation delay (4 s) t is a short delay (~3 µs), 90° represents the 90° RF hard pulse, tm is the mixing time (10 ms), gz,1 and gz,2 are the magnetic field z gradients both applied for 1 ms and ACQ is the acquisition period (2.7 s) collecting 98304 data points at a sweep width of 30ppm. The receiver gain is set at 90.5 for all experiments. For pre-processing, a line broadening of 0.3 Hz, a zero filling to produce 128k data points and a first-order phase correction of 0.0 was applied.

Spectral processing included zerofilling, linebroadening, Fourier transform and referencing of the chemical shift and determination of the spectral intensity per 1mmol protons for quantitative referencing. Chemical shifts of plasma spectra were referenced to the CH3-group signal of alanine adjusting it to 1.48 ppm. Spectra were segmented into N = 450 consecutive integrated spectral regions (buckets) of fixed width covering the region from 0.3 ppm to 1.4 ppm.  Two subregions, i.e.   1.31-1.35 ppm and 1.16-1.21 ppm where excluded from binning, in order to avoid unwanted influences coming from lactate and ethanol CH3-group signals in later application of the method in typical population cohorts. Finally, the spectrum is submitted to data analysis for lipoprotein subclass analysis B.I.LISATM (Bruker BioSpin GmbH Germany).

For total, HDL- and LDL cholesterol as well as total triglycerides comparison with laboratory measurements yielded excellent correlations (all above 0.91). However, six subjects revealed as outlier in PCA were excluded from the data set. Similar to the data above, all values were log2-trasnformed prior statistical analyses.

Additional Data Processing

Data integration

Most of the metabolites were unique to one of the applied techniques. However, 44 and 22 metabolites in plasma and urine, respectively, were overlapping with at least one other technique. With respect to plasma, following the grouping of metabolites in biochemical classes (i.e. lipids, amino acids and carbohydrates), correlations of those metabolites measured on both platforms were computed with all members of the same biochemical class. Subsequently, the metabolite with the higher median correlation across all class members was kept for further analysis. Regarding the lower sensitivity of NMR compared to MS, in cases of duplicated measures, those obtained on the MS were kept for further analyses. In total, 613 plasma and 587 urine metabolites were used in the subsequent statistical analyses.

Statistical Analyses

Gaussian graphical model

To facilitate integration of multifluid data we computed a Gaussian graphical model (GGM) because of its ability to reconstruct physiological dependencies purely in a data driven manner (5). This allowed us to evenly make assumption about the biochemical context of up to now unknown compounds. Briefly, a GGM rely on full-order partial correlations, which mean that a correlation between two metabolites only exists if it is independent from all remaining metabolites in the data set. Significant partial correlations after Bonferroni correction were visualized as network using Cytoscape 3.2.1. Since GGMs require a full data matrix missing values were imputed using the k-nearest-neighbor imputing as implemented in the R-package impute. K was set to ten and only metabolites with less than 20% missing values were considered (N=872). The final GGM comprised 785 nodes and 1065 edges.

LASSO feature selection

A signature predictive for fatty liver (LFC > 5%) using least absolute shrinkage and selection operator (LASSO) for variable selection was compiled. Embedded in a two-staged cross-validation procedure one fourth of the study population was randomly assigned for validation. Remaining samples where used in an inner cross-validation procedure to perform variable selection using the LASSO. Variables selected by the LASSO were taken forward to build a logistic regression model for the prediction of FLD. The model was additionally kept sparse by including only those variables in the model which lead to a minimization of the Bayes information criteria. A final score for each feature was computed by weighting the occurrence of a feature with the prediction performance (assessed as the area under the receiver operating characteristics curve (ROC-AUC) for the independent test/validation set) achieved. Three types of variable set ups were used to perform this classification. First, considering only clinical variables as presented in table 1. Second, only metabolites significantly associated with LFC and third, a combination of both. Finally, based on features with a score of at least 0.5 three logistic regression models were built to predict FLD. The latter ones were further assessed for generalization in a Monte-Carlo cross-validation procedure.

FIGURES

Figure S1 Association heatmap of lipoprotein measures and lipid species significantly associated with the amount of liver fat. Colors indicate corrected p-values (controlling the false discovery rate (FDR)) from linear regression analyses using a lipoprotein subclass as exposure and one metabolite as outcome adjusting for age, sex and body mass index. Orange shadings indicate positive associations whereas blue the opposite direction. VLDL = very low-density lipoprotein; LDL = low-density lipoprotein; IDL = intermediate-density lipoproteine; HDL = high-density lipoprotein; Apo = apolipoprotein

Figure S2 Color coded corrected p-values (controlling the false discovery rate (FDR) at 0.05; dotted lines) from linear regression analyses using the liver fat content, the aspartate transaminase (AST)/alanine transaminase (ALT) ratio, the NAFLD-score or the FIB4-score as explanatory variables and lipoprotein particles as outcome. Models were adjusted for age, sex, body mass index, smoking, alcohol consumption and physical activity. Orange shadings indicate positive associations whereas blue the opposite direction. VLDL = very low-density lipoprotein; LDL = low-density lipoprotein; IDL = intermediate-density lipoproteine; HDL = high-density lipoprotein; Apo = apolipoprotein

Figure S3 Color coded FDR-values from linear regression analyses using the liver fat content, the aspartate transaminase (AST)/alanine transaminase (ALT) ratio, the NAFLD-score or the FIB4-score as explanatory variables and plasma metabolites as outcome. Significant associations (FDR < 0.05) are framed black. Orange shading indicates positive and blue shading indicates negative associations, respectively.

Figure S4 Color coded FDR-values from linear regression analyses using the liver fat content, the aspartate transaminase (AST)/alanine transaminase (ALT) ratio, the NAFLD-score or the FIB4-score as explanatory variables and urine metabolites as outcome. Significant associations (FDR < 0.05) are framed black. Orange shading indicates positive and blue shading indicates negative associations, respectively.

Figure S5 Comparison of corrected p-values (controlling the false discovery rate (FDR) at 5%) from linear regression analyses with using liver fat content, alanine transaminase, aspartate transaminase or γ-glutamyl transpeptidase as explanatory variables and lipoproteins as outcome conducting either the whole (x-axis) or a subsample without heavy drinkers (y-axis). Colors indicate either consistent significant associations (red), associations uniquely significant in one population (yellow) or no association at all (grey).

Figure S6 Comparison of corrected p-values (controlling the false discovery rate (FDR) at 5%) from linear regression analyses with using liver fat content, alanine transaminase, aspartate transaminase or γ-glutamyl transpeptidase as explanatory variables and plasma (upper panel) or urine (lower panel) metabolites as outcome conducting either the whole (x-axis) or a subsample without heavy drinkers (y-axis). Colors indicate either consistent significant associations (red), associations uniquely significant in one population (yellow) or no association at all (grey).

Figure S7 Summary of results from the classification procedure for fatty liver disease. Mean ROC curves with standard deviation for the different sets of predictors (Clinical variables – green; Metabolites – purple; Combined - orange) over 20 validation runs.

Figure S8 AUC from Monte-Carlo embedded 10 fold cross-validation (CV) averaged over 100 randomly selected CV segmentation schemes as applied for model validation.

REFERENCESE

1.	Evans AM, DeHaven CD, Barrett T, et al. Integrated, nontargeted ultrahigh performance liquid chromatography/electrospray ionization tandem mass spectrometry platform for the identification and relative quantification of the small-molecule complement of biological systems. Anal Chem 2009;81:6656-67.

2.	Lawton KA, Berger A, Mitchell M, et al. Analysis of the adult human plasma metabolome. Pharmacogenomics 2008;9:383-97.

3.	Dieterle F, Ross A, Schlotterbeck G, et al. Probabilistic quotient normalization as robust method to account for dilution of complex biological mixtures. Application in 1H NMR metabonomics. Anal Chem 2006;78:4281-90.

4.	Filzmoser P, Maronna R, Werner M. Outlier identification in high dimensions. Computational Statistics and Data Analysis 2008;52:1694-1711.

5.	Krumsiek J, Suhre K, Illig T, et al. Gaussian graphical modeling reconstructs pathway reactions from high-throughput metabolomics data. BMC Syst Biol 2011;5:21.