## Sheet1
Table S1. CryoEM Data Collection, 3-D Reconstruction, and Model Refinement
Data Collection and Image Processing Steps | Instrument/Software/Settings | Specifics
Cryo-specimen freezing | Gatan CP3 | 1 blot; 100% RH; Blot time = ~8sec
Electron microscope | JEM3200FSC | 300 keV, in-column energy filter (25 eV)
Detector | Gatan K2 Summit | 4K X 4K, 5µm pixel size
Sampling interval | 1.7Å/Pixel | Super-resolution (0.85 Å/Pixel)
Exposure rate on specimen | 3 e-/Å2/s | 0.3 sec/frame
Exposure time | 15.9 sec | Total dose 48 e-/Å2
Movie-mode micrographs | 1,070 : CCT1-GFP TRiC 560 : CCT6-GFP TRiC 2,300 : CCT1-GFP TRiC-PFD
Defocus range | 1.5 – 2.5 µm
Defocus determination | EMAN2.1
Particles picked | EMAN2.1
Number of particles used for the final map reconstruction | 47,242: CCT1-GFP TRiC 39,097: CCT6-GFP TRiC 95,808 : CCT1-GFP TRiC-PFD
Particle box size | 240X240
Drift and damage compensation | DE_process_frame.py | Direct Electron TM
Initial map generation | EMAN2.1
Map refinement | RELION1.4
Gold Standard Resolution at 0.143 | 7.2 Å: CCT1-GFP TRiC 7.0 Å: CCT6-GFP TRiC 6.5 Å: CCT1-GFP TRiC-PFD
Modeling | Chimera, MDFF and Phenix | Initial model derived from yeast TRiC (4C94), bovine TRiC (4B2T) and archaeal PFD (2ZDI)