Supplement B: relative process standard deviation

The relative process standard deviation, given in Table 1, can be applied to measure the precision of a method or procedure. This parameter was chosen to enable better comparability to other GC systems. It allows comparison whether a GC system provides better or worse performance and whether the LODs achieved may be higher or lower.

| Substance Name | Limit of detection / ng on column | Rel. process standard deviation / % |
| --- | --- | --- |
| Nitromethane | 4.2 | 14 |
| Dimethyl methylphosphonate | 1.8 | 30 |
| Trimethyl phosphate | 3.3 | 52 |
| Triethyl phosphate | 2.0 | 36 |
| Diisopropyl methanephosphonate | 1.9 | 37 |
| Tributyl phosphate | 2.4 | 48 |
| Phenylacetone | 2.4 | 46 |
| 2-Nitrotoluene | 0.7 | 23 |
| Methyl salicylate | 1.5 | 25 |
| 1-Adamantylamine | 1.6 | 31 |
| Safrole | 1.4 | 24 |
| Propofol | 1.6 | 33 |
| 4-Hydroxy propofol | 2.1 | 40 |
| 2-Nitrophenol | 0.7 | 24 |
| 3-Nitrophenol | 1.9 | 36 |
| 2,4-Dinitrotoluene | 1.7 | 33 |
| 2,6-Dinitrotoluene | 0.8 | 32 |
| 3,4-Dinitrotoluene | 0.8 | 29 |
| Piperonyl methyl ketone | 1.6 | 52 |