**Figure 1. Supplementary**

**Mycoplasma result**

|  |
| --- |
| **DETECTION**  |
| **Cell line ID:** HMGUi002-A |
| **Passage number :** P20 | **Test method**: Lonza MycoAlert  |
| **Reading A:** 415 | **Reading B:** 141  | **Ratio (B/A) :** 0.340 |
| **Comments:** Ratios <0.9 are negative, Ratios 0.9-1.2 are borderline, Ratios >1.2 are positive. |
| **Result:** Mycoplasma negative  |