**Figure 1. Supplementary**

**Mycoplasma result**

|  |  |  |  |
| --- | --- | --- | --- |
| **DETECTION** | | | |
| **Cell line ID:** HMGUi002-A | | | |
| **Passage number :** P20 | | **Test method**: Lonza MycoAlert | |
| **Reading A:** 415 | **Reading B:** 141 | | **Ratio (B/A) :** 0.340 |
| **Comments:** Ratios <0.9 are negative,  Ratios 0.9-1.2 are borderline,  Ratios >1.2 are positive. | | | |
| **Result:** Mycoplasma negative | | | |