Comparison of lipidome profiles of Caenorhabditis elegans – Results from an inter-laboratory ring trial

Britta Spanier1, Anne Laurençon2, Anna Weiser1, Nathalie Pujol3, Shizue Omi3, Aiko Barsch4, Ansgar Korf4, Sven W. Meyer4, Jonathan J. Ewbank3, Francesca Paladino5, Steve Garvis5, Hugo Aguilaniu2,6, Michael Witting7,8,*,

1 Chair of Metabolic Programming, Technische Universität München, Gregor-Mendel-Straße 2, 85354 Freising, Germany.

2 Ecole Normale Supérieure de Lyon, Centre National de la Recherche Scientifique, Université de Lyon, UMR5242, Lyon, France

3 Aix Marseille Univ, CNRS, INSERM, CIML, Turing Center for Living Systems, Marseille, France

4 Bruker Daltonics, Fahrenheitstr. 4, 28359 Bremen, Germany

5 Laboratoire de Biologie Moléculaire de la Cellule UMR5239 CNRS/ENS Lyon/UCBL/HCL Ecole normale supérieure de Lyon 46, allée d'Italie 69364 Lyon cedex 07, France

6 Instituto Serrapilheira, Rua Dias Ferreira 78, Leblon, Rio de Janeiro, Brazil

7 Research Unit Analytical BioGeoChemistry, Helmholtz Zentrum München, German Research Center for Environmental Health, Ingolstaedter Landstrasse 1, 85764 Neuherberg, Germany

8 Chair of Analytical Food Chemistry, Technische Universität München, Alte Akademie 10, D-85354 Freising-Weihenstephan, Germany

* corresponding author:

Dr. Michael Witting, michael.witting@helmholtz-muenchen.de

# Abstract

## Introduction

Lipidomic profiling allows hundreds if not thousands of lipids in a sample to be detected and quantified. Modern lipidomics techniques are ultra-sensitive assays that enable the discovery of novel biomarkers in a variety of fields and provide new insight in mechanistic investigations. Despite much progress in lipidomics, there remains, as for all high throughput “omics” strategies, the need to develop strategies to standardize and integrate quality control into studies in order to enhance robustness, reproducibility, and usability of studies within specific fields and beyond.

## Objective

We aimed to understand how much results from lipid profiling in the model organism Caenorhabditis elegans are influenced by different culture conditions in different laboratories.

## Methods

In this work we have undertaken an inter-laboratory study, comparing the lipid profiles of N2 wild type C. elegans and daf-2(e1370) mutants lacking a functional insulin receptor. Sample were collected from worms grown in four separate labs under standardized growth conditions. We used an UPLC-UHR-ToF-MS system allowing chromatographic separation before MS analysis.

## Results

We found common qualitative changes in several marker lipids in samples from the individual laboratories. On the other hand, even in this controlled experimental system, the exact fold changes of the markers varied between laboratories.

## Conclusion

Our results thus reveal a serious limitation to the reproducibility of current lipid profiling experiments and reveal challenges to the integration of such data from different laboratories.

# Keywords:

Caenorhabditis elegans, lipidomics, lipid profiling, UHPLC-QToF-MS, laboratory comparison

# Introduction

The comprehensive analysis of lipids, referred to as lipidomics or lipid profiling is becoming more frequently applied to different research topics in fundamental and applied sciences. The ultimate goal is to describe comprehensively changes in lipids and lipid profiles, ideally in a quantitative manner, and relate these changes to pathophysiological states (Wenk, 2005). Mass spectrometry (MS) is the premier tool to achieve this goal and can be used with or without chromatographic separation (Züllig and Köfeler). The latter is referred to as shotgun lipidomics and uses defined MS/MS experiments to identify lipids based on their fragmentation pattern and quantify them. The method can measure hundreds to thousands of lipids, but differentiation between isomeric lipid species is impossible with this technique. Additionally, due to the direct infusion approach, low abundance lipids can be suppressed by higher abundance species. In such cases, chromatographic separation should be employed. Separation of lipids is achieved either by using hydrophilic interaction liquid chromatography (HILIC) based on lipid classes (head groups) or reversed phase separation (RP) based on hydrophobicity (Züllig and Köfeler).

Reproducibility is an important aspect for a successful application of lipid profiling. Analytical methodologies and approaches for lipid analysis typically show high reproducibility within a single setup or method. Comparability of lipid levels between different laboratories is, however, an important issue. Since different instruments may have other responses to the same lipids and thus different results might be reported, , comparison of these “relative” measures are difficult to undertake and integrate. Currently quantitative comparisons are only possible when results are reported as absolute concentrations, e.g. µmol/L or mg/L. In addition to the technical aspects, results may not be directly comparable between laboratories because of differences in experimental protocol, biological material, culture conditions or sample handling. In order to begin addressing these issues a ring trial was conducted to establish reference values for lipids in the NIST SRM 1950 plasma sample (Bowden et al., 2017). This was of limited scope, however, as absolute quantification is only possible for known lipid species, for which reference standards and suitable internal standards are available. Therefore, data integration between laboratories, which perform nontargeted profiling without absolute quantification , is an important issue. For example, Izumi et al. compared the fold-change between two cell lines across 12 different laboratories. Their results suggested that relative values obtained from different analytical setups can be combined when the same sample was analyzed (Izumi et al., 2019). Similarly, Triebl et al. found that the use of shared reference materials beyond in-house quality controls (QCs) can even further improve the quality of data from shared studies and measurements (Triebl et al., 2020). Beside the analytical performance, pre-analytical factors like sample collection and preparation influence the outcome of studies (Burla et al., 2018; Züllig et al., 2020). In the case of microorganisms, cell cultures or model organisms, for example, the cultivation or feeding conditions influence the metabolome and lipidome.

Caenorhabditis elegans is one of the premier model organisms in biomedical research and is employed in basic and applied research to study aspects of development, ageing, host-microbe interactions, among others. This small nematode has been used to study lipid metabolism and especially fatty acid biosynthesis and the role of lipids in development and immunity (Kniazeva et al., 2008; Lee et al., 2010; Watts and Browse, 2000, 2002; Watts and Ristow, 2017). Despite this, lipidomics has only recently become part of the C. elegans toolbox. Lipidomic analysis is very well suited to derive better understanding of the different regulative processes as well as the role of specific lipid species in the biology of C. elegans. For example Gao et al. performed mass spectrometric analysis of lipids in order to profile the development of C. elegans as well as effects of feeding with different bacteria (Gao et al., 2017). Other studies have analyzed sphingolipids using shotgun or LC based lipidomics approaches (Hänel et al., 2019; Hannich et al., 2017; Mosbech et al., 2013).

Although clearly a very important step which might influence lipid metabolism in the nematode, and hence our understanding, the pre-analytical influences of cultivation are often overlooked. C. elegans is typically raised on a lawn of the bacteria Escherichia coli OP50, an uracil auxotrophic strain, following protocols developed by Sydney Brenner (Brenner, 1974). This includes the use of the standard culture medium called “Nematode Growth Medium” (NGM), consisting of peptone, sodium chloride, agar, cholesterol, magnesium sulfate and potassium phosphate buffer. Peptone represents a product with variable composition that can differ between vendors. Furthermore, E. coli OP50 is typically grown overnight in a rich bacterial growth medium like LB broth, again based on products of high variability (tryptone & yeast extract). It has been shown that different feeding conditions can have a profound effect on the metabolome and lipidome content (Davies et al., 2012; Gao et al., 2017; Szeto et al., 2011), and that differences in the bacteria used for feeding can influence the fatty acid profile of C. elegans (Brooks et al., 2009). Therefore, feeding and culture conditions have a direct influence on the composition of the C. elegans lipidome and for this reason, likely greatly influence the outcome of lipidomics studies.

We investigated the comparability of lipid profiles from C. elegans cultured in different laboratories, following the “standard” protocol from Sydney Brenner (Brenner, 1974). We compared the wild type N2 and long-lived daf-2(e1370) strains. Our results reveal that whiles changes in several marker lipids are comparable between the individual laboratories, the exact fold changes are specific to each laboratory.

# Material and Methods

## Culture of Caenorhabditis elegans

Fresh aliquots of C. elegans wild type N2 Bristol and daf-2(e1370) strains were ordered from the Caenorhabditis elegans Genetics Center (CGC) and stocks from the same plate were sent to all participating laboratories. Experiments were performed within a few weeks after arrival.

C. elegans were cultured on nematode growth medium (NGM) agar plates using E. coli OP50 as sole food source in the four different laboratories participating in this trial. After age synchronization by bleaching, the worms were grown until the first day of adulthood, harvested and washed. Each biological replicate contained approximately 5000 adult worms. Samples were snap-frozen in liquid nitrogen and stored at -80°C until extraction. The exact protocols from each laboratory can be found in the SI.

## Lipid extraction

Lipids were extracted by a modified version of a MTBE extraction originally developed by Matyash et al. [32, 7]. Briefly, nematodes were suspended in 500 µL methanol and homogenized in a Precellys Bead Beating system. Subsequently, the samples were transferred to 4 mL glass vials. After addition of 1.7 mL MTBE the samples were vortexed and incubated for 60 minutes at room temperature. 420 µL water was added to induce phase separation. Samples were centrifuged at RCF of 15294 x g and 4°C for 15 minutes. The upper organic phase was transferred to fresh 4 mL glass vials and the lower phase was re-extracted with additional 650 µL MTBE. After centrifugation, the organic phases were combined and evaporated. The residue was reconstituted in 500 µL acetonitrile / isopropanol / water (65/30/5, v/v/v) and stored in 125 µL aliquots at -80°C until analysis.

## Lipid analysis – UPLC-UHR-ToF-MS

Lipids were analyzed as previously described (Witting et al., 2014). Briefly, lipids were separated on a Waters Acquity UPLC (Waters, Eschborn, Germany) using a Waters CORTECS UPLC C18 column (150 mm x 2.1 mm ID, 1.6 µm particle size, Waters, Eschborn Germany) and a linear gradient from 68% eluent A (40% H2O / 60% ACN + 10 mM ammonium formate / 0.1% formic acid) to 97% eluent B (10% ACN / 90% iPrOH + 10 mM ammonium formate / 0.1% formic acid). Mass spectrometric detection was performed using a Bruker maXis UHR-ToF-MS (Bruker Daltonic, Bermen, Germany) in positive ionization mode using data dependent acquisition to obtain MS1 and MS2 information. Every ten samples a pooled QC was injected to check performance of the UPLC-UHR-ToF-MS system and the results were used for normalization. Additional runs of QC samples in negative mode were used of lipid identification.

## Data preprocessing and statistical analysis – UPLC-UHR-ToF-MS

Raw data from the UPLC-UHR-ToF-MS was processed with Genedata Expressionist for MS 13.5 (Genedata AG, Basel, Switzerland). Preprocessing steps included noise subtraction, m/z recalibration, chromatographic alignment and peak detection and grouping. Data was exported into the Genedata Expressionist for MS 13.5 Analyst statistical analysis software and as .xlsx for further investigation.

Maximum peak intensities were used for statistical analysis and the data was normalized to the protein content of the sample. Intensity drift normalization based on QC samples was used to normalize for the acquisition sequence (Wang et al., 2013). N2 and daf-2(e1370) samples were compared based on a Welch test. Results from statistical analysis were exported to .xlsx-files for further comparison between the different laboratories.

## Lipid analysis – UHPLC-TIMS-ToF-MS

A small subset of the lipid extracts was measured on a Bruker timsTOF Pro. Lipid separation was achieved on a Bruker intensity C18 column (100 mm x 2.1 mm, 1.9 µm particle size) in an Elute UHPLC (both from Bruker Daltonics, Bremen, Germany). Eluents were identical to above. A multistep gradient was used for elution: 0 min 40% B, 2 min 43% B, 2.1 min 50% B, 12 min 54% B, 12.1 min 70% B, 18 min 99% B, 18.1 min 40% B, 20 min 40% B. Detection was carried out in positive mode using PASEF acquisition mode. The overall acquisition cycle of 0.32 s comprised one full TIMS-MS scan and two PASEF MS/MS scans with a ramp time of 100 ms and the mobility range from 0.55 – 1.9 Vs cm−2. The measured mass range comprised m/z 100 – 1350 and for fragmentation only the range of m/z 300-1350 was considered. Low-abundance precursor ions with an intensity above a threshold of 100 counts were repeatedly scheduled for fragmentation with a collision energy of 30eV until a target value of 4000 counts was reached and then dynamically excluded for 0.1 min. For acquisition, an ion charge control setting of 5 million counts was applied. The ion mobility dimension was calibrated with a linear function using the ions ESI LC/MS tuning mix (Agilent) [m/z, 1/K0: (322.0481, 0.7319 Vs cm−2), (622.0289, 0.9848 Vs cm−2), (922.0097, 1.1896 Vs cm−2)] in positive mode.

## Data preprocessing and statistical analysis – UHPLC-TIMS-ToF-MS

MetaboScape 2021 (Bruker Daltonics, Bremen, Germany) was used to process the 4-dimensional (retention time, exact mass, mobility, intensity) raw data files. The time aligned region complete feature extraction algorithm (T-ReX® 4D) extracted and aligned the features in a retention time range from 0.8-18 min and a mass range from 300-1200 m/z with an intensity of higher than 3000 and a minimum peak size in 4D space of 150 points across the sample intensity. For automatic recursive feature extraction with a lowered threshold of 100 points across the sample intensity the features needed to be present in 3 out of 21 samples. Features were excluded if not present after recursive extraction in 4 out of 21 samples. Subsequently, extracted features were filtered for a minimum of 80% presence per defined sample type (i.e. daf-2(e1370), N2 and QC). The algorithm assigned averaged PASEF MS/MS spectra to the extracted features. Masses were automatically recalibrated using sodium formate clusters infused at the end of each chromatogram via a six-port valve. For ion deconvolution, [M+H]+ was assigned as primary ion, [M+NH4]+, [M+K]+, [M+Na]+ as seed ions and [M+H-H2O]+ as common ion. For MS/MS spectral library matching using the open source LipidBlast library (Kind et al., 2013; Kind et al., 2014; Ma et al., 2015; Tsugawa et al., 2020; Tsugawa et al., 2017) the following maximum tolerances were applied for matching: 5.0 ppm precursor mass, isotopic fit (mSigma) 200, MS/MS score 500, 2% CCS deviation.

# Results and Discussion

## Overview of the data set

Lipidomics is rapidly advancing in C. elegans research and is being applied in many different scientific areas. Major factors influencing the composition of nematode’s metabolome and lipidome are the culture conditions and food source (Gao et al., 2017; Szeto et al., 2011). Amino and fatty acid content varies between bacterial strains, and therefore can also influence the composition of the C. elegans lipidome (Brooks et al., 2009). Although the protocol for C. elegans culture is “standardized”, several factors can influence the outcome of metabolomics and lipidomics studies. Here we focused on the lipid profile comparison of N2 wildtype and daf-2(e1370) C. elegans strains, the later lacking a functional insulin receptor, cultivated and harvested in four different laboratories. To avoid variances based on differences in genetic backgrounds, fresh N2 and daf-2(e1370) strains were ordered from the CGC from the same stock and shipped to the individual laboratories. Each team produced 5 biological replicates for each genotype and harvested nematodes as young adults grown at the same temperature. The four different labs cultivated C. elegans according to the protocol established by Sydney Brenner (Brenner, 1974). One laboratory performed two complete independent experiments. All samples were extracted at the same time using the same batch of solvent following the same protocol. Extraction and lipidomic analysis were performed centrally in the same lab at the same time. The goal of this study was to identify changes in the lipidome between N2 and daf-2(e1370), but more importantly to compare the outcomes between different laboratories and the reproducibility of “biomarkers”.

In order to estimate the analytical and biological variation, an extensive quality control (QC) scheme was developed (Figure 1A and 1B). The total QC across all laboratories was used for intensity drift normalization (Wang et al., 2013). This total QC was based upon on pooling all samples from the entire study. Each individual sample was normalized to its protein content. After m/z recalibration, RT alignment, peak finding and isotopic clustering, a total of 4191 lipid clusters were detected across all samples. Out of these 4191, 3218 were detected in more than 80% of the QC total samples and had a relative standard deviation (RSD) < 30%. Figure 1C shows the distribution of RSDs in total QC samples.

<Figure 1>

Figure 1 (A) Quality control (QC) scheme applied in this study. An individual QC sample was prepared by pooling aliquots from all samples from each laboratory and batch. A total QC sample was prepared by pooling aliquots from these individual QC samples. (B) Injection scheme of QC samples. Every ten samples a blank and a QC sample was injected. At the beginning and at every second QC block all individual laboratory QCs were injected. (C) Histogram of relative standard deviation (RSD) of the total QC. Features with a RSD below 30% were used for all further investigations.

Next, we evaluated the number of lipid clusters detected for each lab. To be included, the feature needed to be detected individually in 80% of each N2, daf-2(e1370) and the laboratory specific QC samples, which pooled all samples of one laboratory. Additionally, filtering based on the total QC with >80% frequency and <30% RSD was used. The results are summarized in Table 1. Furthermore, the total overlap of all laboratories and batches as well as the batch and lab specific features were counted. Using these strict conditions, 1404 lipid clusters using the additional filtering on the total QCs were detected in all laboratories. Features that met filtering conditions in only one laboratory ranged from 5 to 233, with laboratory C showing the highest number of total lipid clusters as well as the highest number of laboratory-specific clusters. As the number of detected lipids was not too heavily influenced by additional filtering on the total QC all further statistics were performed on features that passed QC filtering criteria on the total QC (>80% frequency, <30% RSD) since these represent the analytically most stable of the detected lipid clusters.

We next investigated the biological variability of replicates from N2 and daf-2(e1370) between the different laboratories and batches. No systematic difference in the variation measured as RSD of the biological replicates between N2 and daf-2(e1370) in all the different laboratories was found, suggesting that biological variation between the two strains is comparable (data not shown).

Table 1: Number of detected features and overlap between the different laboratories. The column “Total” denote the total features in the specified laboratory, while “Specific features” denote features found only in the respective laboratory. Features that satisfied the criteria of being detected in 80% of each sample group (N2, daf-2(e1370), QC) in the both laboratories are counted. Numbers in  brackets have been additionally filtered to be present in more than 80% of the total QC sample and have a RSD < 30%.

| In all 1423 (1404) |  | Lab A |  | Lab B | Lab C | Lab D | total | Specific features |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Batch 1 | Batch 2 | Batch 1 | Batch 1 | Batch1 |  |  |
| Lab A | Batch 1 | - | - | - | - | - | 2028 (1980) | 30 (18) |
|  | Batch 2 | 1621 (1585) | - | - | - | - | 1634 (1605) | 5 (4) |
| Lab B | Batch 1 | 1784 (1759) | 1501 (1476) | - | - | - | 2477 (2411) | 49 (29) |
| Lab C | Batch 1 | 1872 (1850) | 1522 (1499) | 2332 (2998) | - | - | 3037 (2918) | 233 (149) |
| Lab D | Batch 1 | 1887 (1867) | 1529 (1509) | 2314 (2281) | 2726 (2666) | - | 2876 (2798) | 52 (42) |

### Principal component analysis

The first comparison discussed above indicated that the absolute number of features was influenced by the different growth conditions specific to the laboratories. Next, we wanted to examine the similarities and differences between the samples from the different laboratories. In comparing laboratory-specific QC samples, we found differences in the abundance of the different lipids that were visible in the base peak chromatograms (BPCs). To explore this variability in a systematic way, we applied principal component analysis (PCA). It is used to simplify complex high-dimensional data while retaining the trends and patterns that are inherent to the data. We performed PCA to evaluate clustering of different samples on lipid features that passed the filtering on the total QC. Along PC1 and PC2 separation was mostly based on the origin of the samples, except in the case of laboratory B for which PC2 separated the two strains in distinct groups. Three different clusters are visible. The first one is attributed to Lab A and the two independent replicates that were produced within the lab. The second cluster represents lab B, with samples from N2 and daf-2(e1370) well-separated by PC2, while the third cluster represents laboratories C and D (Figure 2B). Interestingly, laboratories C and D belong to the same institution and have the same chemical suppliers and share E. coli OP50 between the laboratories. For the samples from laboratories A, C and D, there was a more-or-less clear separation between N2 and daf-2(1370). For each laboratory and batch, an individual PCA was performed (SI Figures 1-5). The samples from the two strains from all laboratories could be well separated along the first PC. The replicate samples from laboratory D were the most homogenous and displayed only minor variation in PC2.

<Figure 2>

Figure 2: (A) Representative base peak chromatograms from laboratory-specific QC sample. (B) Principle Component Analysis (PCA) of all analyzed samples. The first principal component separated laboratory A from laboratories B, C and D. Laboratories C and D use the same chemical suppliers for the preparation of cultivation media and share their E. coli OP50.

### Lipids different between N2 and daf-2(e1370)

As PCA was able to separate the two genotypes in all laboratories, we were interested in discovering which lipids were driving this separation, and if they were the same in all four groups. Therefore, we performed univariate analysis comparing N2 and daf-2(e1370) using the Welch test. We used a p-value cut-off of 0.01 and foldchanges of either more than 2 or less than 0.5 for features significantly different between N2 and daf-2(e1370). For each individual lab we found several hundred lipids differentially regulated between the two genotypes. To allow a robust comparison between the different laboratories we used only lipids that were detected in >80% of all total QCs, had a RSD < 30% and were detected in > 80% of each biological group per lab. Interestingly, the abundance of a very small number of lipids was altered in all the laboratories with a p-value < 0.01 and a fold-change of >2 or <0.5. Also, notable, the number of conserved “markers” between the two independent replicate batches from lab A were different. In the first batch 307 lipids were found to be down-regulated in daf-2(e1370), while 286 were down-regulated in the second batch, with an overlap of 166 lipids (58%). Likewise, 202 and 193 lipids were upregulated of which 121 (63%) overlapped between the two batches. The highest number of differential lipid clusters were found in lab D with 636 down and 523 up-regulated lipids. In total, 13 lipids were consistently down-regulated between N2 and daf-2(e1370) in all laboratories, while 65 were upregulated. These lipids consistently showed low p-values, indicating that they are significantly different between the two conditions.

<Figure 3>

Figure 3: UpSet plots of the intersection between features either down- (A) or up-regulated (B). Vertical lines connect dots, which indicates which groups are compared with each other. Top bars indicate the number of distinct features in each comparison, while bars on the right show the number of total features regulated in each lab. (A) A relatively low overlap was observed for features down-regulated in daf-2(e1370). However, two distinct cluster containing groups A1 and A2 and B1, C1, D1 are visible (green and red arrow). (B) Overlap of features up-regulated in daf-2(e1370) shows a higher number.

Given the relative distribution of the different samples on the PCA plot, laboratories C and D would be expected to yield the highest number of overlapping marker lipids. Indeed, from all pairwise comparisons of laboratories, lab C and D always had the highest number of shared lipids (111 down-regulated and 97 up-regulated). Also, the overlap of markers between laboratories B and C or D was higher than any combination of lab A with another lab. Lastly, laboratories B, C and D also yielded the highest number of distinct features (Figure 3).

To explore the impact of the thresholds on the recovery of conserved changed lipids between the individual laboratories, we first lowered the threshold for the foldchange to >1 or <1 with a p-value < 0.01. By doing so, the numbers of conserved changed lipids increased to 66 down-regulated and 121 up-regulated lipids. Lastly, we lowered the threshold of the p-value to < 0.05. Again, the numbers increased, but only slightly (98 down-regulated in daf-2(e1370) in all laboratories and 148 up-regulated) (SI Table S1 and S2). These total numbers are rather low compared to the number of lipids significantly different in the individual laboratories. This indicates that differences in lipid composition between the laboratories exist and this might have similar biological consequences, but the differences do not involve the same lipid species. Most of the conserved up-regulated lipids were annotated as TGs, while the down-regulated lipids were mostly phospholipids with a high degree of unsaturation.

### Fold change differences of lipid species differentiate between the laboratories

Next, we addressed the reasons for the scarcity of overlapping markers between the laboratories. First, the fold change might be different and, in some cases, change in another direction, e.g. a certain lipid might be determined to be down-regulated in one lab and up-regulated in another. Secondly, as we applied an 80% cut-off for the presence of a lipid in the different groups, it was possible that a given lipid did not pass this barrier in one laboratory. To discover any additional overlapping markers, we selected lipids either up- or down-regulated in one lab and used the p-value and fold-change in the other laboratories for comparison. We used the lowered cut-offs for the p-values or the fold changes as indicated above. For a better overview, p-values were divided into three different categories: p-value < 0.01, 0.01 <= p-value < 0.05, p-value >= 0.05. Likewise, we binned the fold change into three categories. FC < 0.5, 0.5 <= FC <= 2, FC > 2.

First, we evaluated how many features showed opposite fold changes between the laboratories. Numbers for this case were low, with a maximum 7.38% of all markers that changed per laboratory. Second, we checked if the different p-values were the reason for the low overlap, using the same cut-off for the fold change, but lower p-values. Also, here the proportions were low ranging from 0.97 to 10.80%. Most of the lipid clusters showed differences in the fold change or did not pass the 80% rule. Interestingly, the 80% cut-off was the main reason for the low overlap of lab A samples with the others, which is consistent with the lower number of total features detected in these samples. Tables S1 and S2 summarize the different cases for lipids up- or down-regulated in daf-2(e1370) mutants.

Based on this overview, we saw that differences in fold changes were causing the differences in the number of “markers” between the different laboratories. In order to investigate how much they were deviating from each other, we plotted the log2 of the fold change of marker lipids common between two laboratories against each other (Figure 4). As can be seen, data points are widely scattered around the diagonal. To check how well fold changes agree between the laboratories, we performed correlation analysis. The highest correlation was observed between batch 1 and 2 from laboratory A with a Pearson correlation of 0.78, indicating that within one lab highly reproducible results can be obtained. Otherwise, the highest inter-laboratory correlation was for the samples from the laboratories B and C (0.65). On the other hand, consistent with the PCA analysis, the fold change of marker lipids were poorly correlated between most of the other samples, particularly between laboratory B, D and the others (0.38, 0.4, 0.28, 0.49, for A1, A1 and C respectively).

<Figure 4>

Figure 4: Scatter plots showing the fold changes between N2 and daf-2(e1370) C. elegans in the different laboratories for features commonly detected between the respective laboratories. Features up-regulated in daf-2(e1370) are marked red, down-regulated features are marked in blue. Numeric values indicate the correlation between the fold-changes. The higher the number the better the agreement in fold changes between the two laboratories. The highest correlation was found between the two batches from laboratory A, indicating that within a single laboratory highly reproducible results can be achieved.

### Comparison with previously described “biomarkers” of daf-2 knockout-mutants

After finding that the fold change determines a major part of the difference between the results from the four laboratories, we investigated if any of the several marker lipids identified are consistent with previous comparisons between N2 and daf-2(e1370). Changes in the lipid profiles between N2 and daf-2(e1370) have been described by numerous investigations. daf-2(e1370) are commonly described to have a fat phenotype, with increased lipid content. This is mirrored by an elevation of triacylglycerols (TGs). Prasain et al. used the total ion intensity of all TGs species to quantify the differences between N2, daf-1(m40) and daf-2(e1370). The latter showed the highest amount of TGs (Prasain et al., 2015).

We estimated the total TG content in the same way by summing the intensities of all peaks putatively annotated as TGs. TGs are ionized as [M+NH4]+ adducts and occupy a distinct space in the RT-m/z plane and therefore can be easily identified and annotated. Consistent with the previously reported fat phenotype, we observed higher TG content in daf-2(e1370) mutants in all laboratories except for lab A. Batch 1 showed no significant difference between WT and daf-2(e1370), while in batch 2 only a modest, but still statistically significant increase was observed. Next, individual markers were investigated. We started with features that are conserved in all laboratories. Consistently, 13 features were down-regulated in daf-2(e1370) in all laboratories, while 65 were up-regulated. In agreement with the previous observations of higher TGs levels, 45 of these 65 were annotated as TG. Castro et al. performed a metabolomic and lipidomic analysis of N2 and daf-2(e1370) (Castro et al., 2013). They reported an increase of TGs containing monounsaturated and branched chain fatty acids in daf-2(e1370). Based on our annotations we can confirm these results. The 45 TGs were on the lower range in regard to the number of carbons in the side chains compared with all detected TGs.

Another change in profile that was identified by Castro et al. was the reduction of PC(20:5/20:5) in daf-2(e1370) (Castro et al., 2013). We identified a peak eluting at 9.9 minutes as PC(20:5/20:5). Consistent with previous results this peak is significantly down-regulated in daf-2(e1370) mutant worms, except in lab C, where it shows only minor changes (Figure 5). From the list of down-regulated markers, other lipids were tentatively annotated as phospholipids with high degree of unsaturation.

### Comparison against a different lipidomics platform

Finally, we wished to determine if similar results could be obtained using a different analytical platform. A selection of samples from lab D were analyzed a second time using UHPLC-TIMS-ToF-MS with another column and gradient system. Lipids identified by rule based lipid annotation were further analyzed. In total 2102 features were detected and out of these 431 had a minimum of one annotation.

Similar to all the other datasets, PCA was able to separate N2 from daf-2(e1370) C. elegans on the first principal component (SI Figure 6). Based on the t-test functionality in MetaboScape, a comparison of N2 and daf-2(e1370) yielded 510 lipid features that were found to be down-regulated and 84 up-regulated. Since different chromatographic conditions, additional complementary ion mobility separation and mass spectrometric detection were used, a direct comparison is only possible for identified lipids. Focusing on the two examples previously described, we could see the same trends in the present dataset (Figure 5).

PC(20:5/20:5) was also down-regulated in the timsTOF Pro data set. Of note, the acquired PASEF data permitted lipid annotation considering the collisional cross section value (CCS) value. The measured CCS value of 287.2 for the [M+H]+ of PC(20:5/20:5) matched within 0.6% to the predicted values contained in LipidBlast (Tsugawa et al., 2020; Zhou et al., 2017). The sum of features annotated as TGs was also increased in this analysis of daf-2(e1370) samples. From the up-regulated features, several were annotated as TGs, and consistent with previous results they were also shorter on average compared to the whole population of the TGs.

<Figure 5>

Figure 5: (A) boxplot of the sum of all features annotated as TGs used as proxy the quantity of lipid droplets from laboratories A to D. In most laboratories up-regulation of the TG content in daf -2(e1370) was observed. (B) boxplot of the sum of all features annotated as TGs used a proxy the quantity of lipid droplets from the timsTOF Pro data set. Similar to the previous results an increase in TG content in daf-2(e1370) samples was observed. (C) Boxplot of PC(40:10) from laboratories A to D. In all laboratories except for laboratory C a significant down-regulation was found. (D) Boxplot of PC(40:10) from the timsTOF Pro data set.

# Conclusion

Reproducibility of data is a major issue in science and requires meticulous attention to even the smallest detail. When working with biological systems, especially live organisms, the intrinsic differences between individuals can be amplified by  environmental and experimental variations. A current major question relates to how scientists can determine which results obtained in different laboratories can be compared, and how best to control and correlate these data. In metabolomics and lipidomics this question is manifold, since no accepted universal protocol exists. In C. elegans lipidomic profiles are closely related to culture conditions of the nematodes. We therefore investigated the reproducibility of lipid profiles comparing N2 and daf-2(e1370) worms grown in four different laboratories.

Using lipid profiling based on UPLC-UHR-ToF-MS, two different C. elegans strains were compared. Based on pairwise comparison, “markers” for the difference between these strains were identified. When comparing these markers between the different laboratories, only a small overlap was identified, indicating that even for a relatively simple biological model for which culture conditions are standardized, uncontrolled variables have a strong effect on the lipid profile and the outcome of lipidomic studies. In this study we used stringent filtering conditions, e.g. we required features to be present in >80% of each sample group (N2, daf-2(e1370) and QC). In order to be regarded as significantly different between the two strains, we defined p-value to be < 0.01 and a fold change smaller than 0.5 or larger than 2. We identified differences in fold changes between N2 and daf-2(e1370) or the criteria of being present in minimum 80% of each group as the main variables accounting for the low data overlap between the sample groups. Despite the inter-laboratory differences, however, the biochemical changes knock to characterize the daf-2(e1370) mutant, e.g. increased content of TGs with lower chain length of fatty acid side chains or the down-regulation of phospholipids with PUFAs, were confirmed in the present study. Thus, the major hallmarks of daf-2(e1370)-specific  lipid profile are sufficiently robust as to be visible despite the extensive inter-laboratory variation.

Although general trends are conserved between the laboratories and consistent with previously published results, the exact fold changes for individual lipid species are not the same. This can be attributed to the slight differences in the culture and feeding conditions since the same extraction and analytical conditions were used in the initial set of measurements. Using another analytical platform, similar findings were obtained for one selected set of samples. Interestingly, although identical samples were measured using the different methods and instrumentation, different fold changes were found for the same identified lipids, e.g. PC(20:5/20:5). This might be attributed to the different chromatographic separation used as well as different processing software and settings.

A major question is how lipid analysis can be conducted in the future to allow cross-laboratory integration of data sets for system wide analysis. The first possibility is to generate quantitative data. This helps to remove analytical bias, but not variation due to culture conditions. This type of analysis would also be an important step towards the construction of a C. elegans reference lipidome. The second possibility is to standardize further and harmonize culture conditions. For example, while studying folate synthesis, Virk et al. found inconsistent results in life span analysis, when using standard agar. The use of high-purity agar resolved this problem (Virk et al., 2012). Another example is the use of tryptone and peptone for the culture of food bacteria and growth of C. elegans. The data sets of laboratories using the same chemicals clustered closer together in PCA, indicating lower differences in lipid compositions. Since both tryptone and peptone are a “natural” product with some batch-to-batch and provider variability, their replacement with a synthetic or more highly purified form could further reduce variability. An alternative to these media components might be a defined amino acid and peptide mixture, which can be produced in more standardized fashion. Lastly, the inclusion of a C. elegans reference sample can help improving the comparability between different laboratories and their analytical methods, following the example of the human NIST reference sample (Bowden et al., 2017; Simón-Manso et al., 2013). However, such a reference sample needs to be produced and characterized first.

While our results represent an important first step, in the future further investigations into the comparability and standardization of C. elegans lipidomics, and more broadly metabolomics, are required. Better comparability will enable integration of results from different laboratories and analytical setups into a comprehensive systems analysis of lipid metabolism.

# Conflicts of Interest Statement

The following authors state that they have potential conflicts of interest regarding this work: A.B., A. K. and S.M. are employees of Bruker, the manufacturer of the maXis, timsTOF Pro and MetaboScape software.

# Author Contribution

M.W., B.S., J.E., F.P. and H.A. designed the study. B.S., A.L., A.W., N.P., S.O., J.E., F.P., S.G. and H.A. cultured and provided C. elegans samples. M.W. performed lipid extraction and analysis. A.B. A.K. and S.M. performed lipid analysis. M.W. analyzed the data. All authors wrote the paper.

# Data Availability

“The metabolomics and metadata reported in this paper are available via Metabolights (https://www.ebi.ac.uk/metabolights/) study identifier MTBLS2016.

# Acknowledgment

N2 and daf-2(e1370) were provided by the CGC, which is funded by NIH Office of Research Infrastructure Programs (P40 OD010440).

# Funding

J.E. lab is supported by institutional grants from the Institut national de la santé et de la recherche médicale, Centre National de la Recherche Scientifique and Aix-Marseille University to the CIML, and the Agence Nationale de la Recherche program grant (ANR-16-CE15-0001-01). H.A. lab is supported by a European Research Council grant to H.A. (H2020/2014-2019-N°647003).

# Literature

Bowden, J.A., Heckert, A., Ulmer, C.Z., Jones, C.M., Koelmel, J.P., Abdullah, L., Ahonen, L., Alnouti, Y., Armando, A.M., Asara, J.M., Bamba, T., Barr, J.R., Bergquist, J., Borchers, C.H., Brandsma, J., Breitkopf, S.B., Cajka, T., Cazenave-Gassiot, A., Checa, A., Cinel, M.A., Colas, R.A., Cremers, S., Dennis, E.A., Evans, J.E., Fauland, A., Fiehn, O., Gardner, M.S., Garrett, T.J., Gotlinger, K.H., Han, J., Huang, Y., Neo, A.H., Hyötyläinen, T., Izumi, Y., Jiang, H., Jiang, H., Jiang, J., Kachman, M., Kiyonami, R., Klavins, K., Klose, C., Köfeler, H.C., Kolmert, J., Koal, T., Koster, G., Kuklenyik, Z., Kurland, I.J., Leadley, M., Lin, K., Maddipati, K.R., McDougall, D., Meikle, P.J., Mellett, N.A., Monnin, C., Moseley, M.A., Nandakumar, R., Oresic, M., Patterson, R., Peake, D., Pierce, J.S., Post, M., Postle, A.D., Pugh, R., Qiu, Y., Quehenberger, O., Ramrup, P., Rees, J., Rembiesa, B., Reynaud, D., Roth, M.R., Sales, S., Schuhmann, K., Schwartzman, M.L., Serhan, C.N., Shevchenko, A., Somerville, S.E., St. John-Williams, L., Surma, M.A., Takeda, H., Thakare, R., Thompson, J.W., Torta, F., Triebl, A., Trötzmüller, M., Ubhayasekera, S.J.K., Vuckovic, D., Weir, J.M., Welti, R., Wenk, M.R., Wheelock, C.E., Yao, L., Yuan, M., Zhao, X.H. and Zhou, S. (2017) Harmonizing lipidomics: NIST interlaboratory comparison exercise for lipidomics using SRM 1950–Metabolites in Frozen Human Plasma. Journal of Lipid Research 58, 2275-2288.

Brenner, S. (1974) The Genetics of Caenorhabditis elegans. Genetics 77, 71-94.

Brooks, K.K., Liang, B. and Watts, J.L. (2009) The Influence of Bacterial Diet on Fat Storage in C. elegans. PLOS ONE 4, e7545.

Burla, B., Arita, M., Arita, M., Bendt, A.K., Cazenave-Gassiot, A., Dennis, E.A., Ekroos, K., Han, X., Ikeda, K., Liebisch, G., Lin, M.K., Loh, T.P., Meikle, P.J., Orešič, M., Quehenberger, O., Shevchenko, A., Torta, F., Wakelam, M.J.O., Wheelock, C.E. and Wenk, M.R. (2018) MS-based lipidomics of human blood plasma: a community-initiated position paper to develop accepted guidelines. Journal of lipid research 59, 2001-2017.

Castro, C., Krumsiek, J., Lehrbach, N.J., Murfitt, S.A., Miska, E.A. and Griffin, J.L. (2013) A study of Caenorhabditis elegans DAF-2 mutants by metabolomics and differential correlation networks. Molecular BioSystems.

Davies, S.K., Leroi, A.M. and Bundy, J.G. (2012) Fluorodeoxyuridine affects the identification of metabolic responses to daf-2 status in Caenorhabditis elegans. Mechanisms of Ageing and Development 133, 46-49.

Gao, A.W., Chatzispyrou, I.A., Kamble, R., Liu, Y.J., Herzog, K., Smith, R.L., van Lenthe, H., Vervaart, M.A.T., van Cruchten, A., Luyf, A.C., van Kampen, A., Pras-Raves, M.L., Vaz, F.M. and Houtkooper, R.H. (2017) A sensitive mass spectrometry platform identifies metabolic changes of life history traits in C. elegans. Scientific Reports 7, 2408.

Hänel, V., Pendleton, C. and Witting, M. (2019) The sphingolipidome of the model organism Caenorhabditis elegans. Chemistry and Physics of Lipids 222, 15-22.

Hannich, J.T., Mellal, D., Feng, S., Zumbuehl, A. and Riezman, H. (2017) Structure and conserved function of iso-branched sphingoid bases from the nematode Caenorhabditis elegans. Chemical Science 8, 3676-3686.

Izumi, Y., Matsuda, F., Hirayama, A., Ikeda, K., Kita, Y., Horie, K., Saigusa, D., Saito, K., Sawada, Y., Nakanishi, H., Okahashi, N., Takahashi, M., Nakao, M., Hata, K., Hoshi, Y., Morihara, M., Tanabe, K., Bamba, T. and Oda, Y. (2019) Inter-Laboratory Comparison of Metabolite Measurements for Metabolomics Data Integration. Metabolites 9, 257.

Kind, T., Liu, K.-H., Lee, D.Y., DeFelice, B., Meissen, J.K. and Fiehn, O. (2013) LipidBlast in silico tandem mass spectrometry database for lipid identification. Nat Meth 10, 755-758.

Kind, T., Okazaki, Y., Saito, K. and Fiehn, O. (2014) LipidBlast Templates As Flexible Tools for Creating New in-Silico Tandem Mass Spectral Libraries. Analytical Chemistry 86, 11024-11027.

Kniazeva, M., Euler, T. and Han, M. (2008) A branched-chain fatty acid is involved in post-embryonic growth control in parallel to the insulin receptor pathway and its biosynthesis is feedback-regulated in C. elegans. Genes & Development 22, 2102-2110.

Lee, K.-Z., Kniazeva, M., Han, M., Pujol, N. and Ewbank, J. (2010) The fatty acid synthase fasn-1 acts upstream of WNK and Ste20/GCK-VI kinases to modulate antimicrobial peptide expression in C. elegans epidermis. Virulence 1, 113-122.

Ma, Y., Kind, T., Vaniya, A., Gennity, I., Fahrmann, J.F. and Fiehn, O. (2015) An in silico MS/MS library for automatic annotation of novel FAHFA lipids. Journal of cheminformatics 7, 53-53.

Mosbech, M.-B., Kruse, R., Harvald, E.B., Olsen, A.S.B., Gallego, S.F., Hannibal-Bach, H.K., Ejsing, C.S. and Færgeman, N.J. (2013) Functional Loss of Two Ceramide Synthases Elicits Autophagy-Dependent Lifespan Extension in <italic>C. elegans</italic>. PLoS ONE 8, e70087.

Prasain, J., Wilson, L., Hoang, H., Moore, R. and Miller, M. (2015) Comparative Lipidomics of Caenorhabditis elegans Metabolic Disease Models by SWATH Non-Targeted Tandem Mass Spectrometry. Metabolites 5, 677.

Simón-Manso, Y., Lowenthal, M.S., Kilpatrick, L.E., Sampson, M.L., Telu, K.H., Rudnick, P.A., Mallard, W.G., Bearden, D.W., Schock, T.B., Tchekhovskoi, D.V., Blonder, N., Yan, X., Liang, Y., Zheng, Y., Wallace, W.E., Neta, P., Phinney, K.W., Remaley, A.T. and Stein, S.E. (2013) Metabolite Profiling of a NIST Standard Reference Material for Human Plasma (SRM 1950): GC-MS, LC-MS, NMR, and Clinical Laboratory Analyses, Libraries, and Web-Based Resources. Analytical Chemistry 85, 11725-11731.

Szeto, S.W., Reinke, S. and Lemire, B. (2011) 1H NMR-based metabolic profiling reveals inherent biological variation in yeast and nematode model systems. Journal of Biomolecular NMR 49, 245-254.

Triebl, A., Burla, B., Selvalatchmanan, J., Oh, J., Tan, S.H., Chan, M.Y., Mellet, N.A., Meikle, P.J., Torta, F. and Wenk, M.R. (2020) Shared reference materials harmonize lipidomics across MS-based detection platforms and laboratories. Journal of Lipid Research 61, 105-115.

Tsugawa, H., Ikeda, K., Takahashi, M., Satoh, A., Mori, Y., Uchino, H., Okahashi, N., Yamada, Y., Tada, I., Bonini, P., Higashi, Y., Okazaki, Y., Zhou, Z., Zhu, Z.-J., Koelmel, J., Cajka, T., Fiehn, O., Saito, K., Arita, M. and Arita, M. (2020) A lipidome atlas in MS-DIAL 4. Nature Biotechnology.

Tsugawa, H., Ikeda, K., Tanaka, W., Senoo, Y., Arita, M. and Arita, M. (2017) Comprehensive identification of sphingolipid species by in silico retention time and tandem mass spectral library. Journal of Cheminformatics 9, 19.

Virk, B., Correia, G., Dixon, D., Feyst, I., Jia, J., Oberleitner, N., Briggs, Z., Hodge, E., Edwards, R., Ward, J., Gems, D. and Weinkove, D. (2012) Excessive folate synthesis limits lifespan in the C. elegans: E. coli aging model. BMC Biology 10, 67.

Wang, S.-Y., Kuo, C.-H. and Tseng, Y.J. (2013) Batch Normalizer: A Fast Total Abundance Regression Calibration Method to Simultaneously Adjust Batch and Injection Order Effects in Liquid Chromatography/Time-of-Flight Mass Spectrometry-Based Metabolomics Data and Comparison with Current Calibration Methods. Analytical Chemistry 85, 1037-1046.

Watts, J.L. and Browse, J. (2000) A Palmitoyl-CoA-Specific Δ9 Fatty Acid Desaturase from Caenorhabditis elegans. Biochemical and Biophysical Research Communications 272, 263-269.

Watts, J.L. and Browse, J. (2002) Genetic dissection of polyunsaturated fatty acid synthesis in Caenorhabditis elegans. Proceedings of the National Academy of Sciences 99, 5854-5859.

Watts, J.L. and Ristow, M. (2017) Lipid and Carbohydrate Metabolism in <em>Caenorhabditis elegans</em>. Genetics 207, 413-446.

Wenk, M.R. (2005) The emerging field of lipidomics. Nature Reviews Drug Discovery 4, 594-610.

Witting, M., Maier, T.V., Garvis, S. and Schmitt-Kopplin, P. (2014) Optimizing a ultrahigh pressure liquid chromatography-time of flight-mass spectrometry approach using a novel sub-2&#xa0;μm core–shell particle for in depth lipidomic profiling of Caenorhabditis elegans. Journal of Chromatography A 1359, 91-99.

Zhou, Z., Tu, J., Xiong, X., Shen, X. and Zhu, Z.-J. (2017) LipidCCS: Prediction of Collision Cross-Section Values for Lipids with High Precision To Support Ion Mobility–Mass Spectrometry-Based Lipidomics. Analytical Chemistry 89, 9559-9566.

Züllig, T. and Köfeler, H.C. HIGH RESOLUTION MASS SPECTROMETRY IN LIPIDOMICS. Mass Spectrometry Reviews n/a.

Züllig, T., Trötzmüller, M. and Köfeler, H.C. (2020) Lipidomics from sample preparation to data analysis: a primer. Analytical and Bioanalytical Chemistry 412, 2191-2209.