Annex B to “Monte Carlo calculation of organ and effective doses due to photon and neutron point sources and typical X-ray examinations: results of an international intercomparison exercise” by Huet et al. in Radiation Measurements:

Additional figures of all participants’ initial results for the X-ray examination exercise

In the following series of figures (Figure B.1 to Figure B.8), ratios of the participants’ initial solutions to the reference solutions are shown for Chest PA and Abdomen AP, for conversion coefficients per air kerma free-in-air at the entrance surface and per Kerma-Area-Product, respectively, and for both phantoms. In these figures, “RBM 1” refers to the reference solution using the dose-response functions of ICRP Publication 116 (i.e., the recommended method of RBM dosimetry); for “RBM 2”, an alternative “reference” solution has been evaluated using mass-weighted spongiosa doses and compared against the solutions of those participants who used this approach to estimate RBM doses. In the upper panels, the full ranges of ratios are shown, and in the lower panels, the data ranges were restricted to improve the visibility of ratios close to unity.

Figure B.1: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per air kerma free in-air to the respective reference solutions for the Chest PA examination of the male phantom.

Figure B.2: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per air kerma free in-air to the respective reference solutions for the Chest PA examination of the female phantom.

Figure B.3: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Chest PA examination of the male phantom.

Figure B.4: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Chest PA examination of the female phantom.

Figure B.5: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per air kerma free in-air to the respective reference solutions for the Abdomen AP examination of the male phantom.

Figure B.6: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per air kerma free in-air to the respective reference solutions for the Abdomen AP examination of the female phantom.

Figure B.7: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Abdomen AP examination of the male phantom.

Figure B.8: X-ray examination exercise - Ratios of participants' initial dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Abdomen AP examination of the female phantom.

Additional figures of all participants’ revised results for the X-ray examination exercise

In the following series of figures (Figure B.9 to Figure B.14), ratios of the participants’ revised solutions to the reference solutions are shown.

Figure B.9: X-ray examination exercise - Ratios of participants' revised dose conversion coefficients per air kerma free-in-air to the respective reference solutions for the Chest PA examination of the female phantom

Figure B.10: X-ray examination exercise - Ratios of participants' revised dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Chest PA examination of the male phantom.

Figure B.11: X-ray examination exercise - Ratios of participants' revised dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Chest PA examination of the female phantom.

Figure B.12: X-ray examination exercise - Ratios of participants' revised dose conversion coefficients per air kerma free-in-air to the respective reference solutions for the Abdomen AP examination of the male phantom.

Figure B.13: X-ray examination exercise - Ratios of participants' revised dose conversion coefficients per air kerma free-in-air to the respective reference solutions for the Abdomen AP examination of the female phantom.

Figure B.14: X-ray examination exercise - Ratios of participants' revised dose conversion coefficients per Kerma-Area-Product to the respective reference solutions for the Abdomen AP examination of the male phantom.