Online supplement

Metabotypes are linked to uncontrolled childhood asthma, gut microbiota, and systemic inflammation

Mahmoud I. Abdel-Aziz1,2,3,4, PhD, Simone Hashimoto1,2,3,5, MD, PhD, Anne H. Neerincx1, PhD, Eric G. Haarman5, MD, PhD, Alexander Cecil6, PhD, Jutta Lintelmann6, PhD, Michael Witting6,7, PhD, Stefanie M. Hauck6, PhD, Nikki Kerssemakers8, MSc, Joris C Verster8,9,10, PhD, Corinna Bang11, PhD, Andre Franke11, PhD, Barbara S Dierdorp2,12, BSc, Tamara Dekker2,12, BSc, Nariman K. A. Metwally1, BSc, Jan Willem Duitman1,2,12, PhD, René Lutter1,2,12, PhD, Mario Gorenjak13, PhD, MBI, Antoaneta A. Toncheva14, PhD, Parastoo Kheiroddin14, PhD, Susanne Harner14, MD, PhD, Susanne Brandstetter15,  PhD, Christine Wolff15, MD, PhD, Paula Corcuera-Elosegui16, MD, Leyre López-Fernández16, MD, Javier Perez-Garcia17, PhD, Mario Martin-Almeida,17 MSc, Olaia Sardón-Prado16,18 MD, PhD, Maria Pino-Yanes17,19,20, PhD, Uroš Potočnik13,21,22, PhD, Michael Kabesch14,15, MD, PhD, Susanne J. H. Vijverberg1,2,3, PhD, Aletta D. Kraneveld7, PhD, Anke H. Maitland-van der Zee1,2,3,5, PharmD, PhD, on behalf of the SysPharmPediA consortium.

1 Department of Pulmonary Medicine, Amsterdam UMC, University of Amsterdam, Amsterdam, the Netherlands.

2 Amsterdam Institute for Infection and Immunity, Inflammatory diseases, Amsterdam, the Netherlands.

3 Amsterdam Public Health, Personalized Medicine, Amsterdam, The Netherlands.

4 Department of Clinical Pharmacy, Faculty of Pharmacy, Assiut University, Assiut 71526, Egypt.

5 Department of Pediatric Pulmonology and Allergy, Emma Children’s Hospital, Amsterdam UMC, Amsterdam, The Netherlands.

6 Metabolomic and Proteomics Core, Helmholtz Zentrum München, German Research Center for Environmental Health (GmbH), Neuherberg, Germany.

7 Chair of Analytical Food Chemistry, TUM School of Life Sciences, Technical University of Munich, Freising-Weihenstephan, Germany

8 Division of Pharmacology, Utrecht Institute for Pharmaceutical Sciences, Faculty of Science, Utrecht University, 3584 CG Utrecht, The Netherlands.

9 Centre for Mental health and Brain sciences, Swinburne University, Melbourne, VIC 3122, Australia.

10 Cognitive Neurophysiology, Department of Child and Adolescent Psychiatry, Faculty of Medicine, TU Dresden, Dresden D-01307, Germany

11 Institute of Clinical Molecular Biology, Christian-Albrechts-University of Kiel, Kiel, Germany.

12 Department of Experimental Immunology, Amsterdam UMC, University of Amsterdam, Amsterdam, the Netherlands.

13 Center for Human Molecular Genetics and Pharmacogenomics, Faculty of Medicine, University of Maribor, Maribor, Slovenia.

14 Department of Pediatric Pneumology and Allergy, University Children’s Hospital Regensburg (KUNO), Regensburg, Germany.

15 University Children's Hospital, University of Regensburg, Regensburg, Germany.

16 Division of Pediatric Respiratory Medicine, Donostia University Hospital, San Sebastián, Spain.

17 Genomics and Health Group, Department of Biochemistry, Microbiology, Cell Biology, and Genetics, Universidad de La Laguna (ULL), La Laguna, Tenerife, Spain.

18 Department of Pediatrics. Faculty of Medicine and Nursing. University of the Basque Country (UPV/EHU), San Sebastián, Spain.

19 CIBER de Enfermedades Respiratorias, Instituto de Salud Carlos III, Madrid, Spain.

20 Instituto de Tecnologías Biomédicas (ITB), Universidad de La Laguna (ULL), La Laguna, Tenerife, Spain.

21 Faculty of Chemistry and Chemical Engineering, University of Maribor, Smetanova ulica 17,

2000 Maribor, Slovenia.

22 Department for Science and Research, University Medical Centre Maribor, Ljubljanska ulica 5,

2000 Maribor, Slovenia.

Methods

Study design

SysPharmPediA is an European multi-center (the Netherlands, Germany, Spain, and Slovenia) observational study cohort of children aged 6-17 years old with physician-diagnosed asthma as previously described (1). All study centers obtained ethics committees approval, parents/caregivers gave written informed consent, and children gave assent when age-appropriate. The study was registered at ClinicalTrials.gov (identifier number: NCT04865575). All study centers followed uniform Standard Operating Procedures (SOPs) for data and sample collection/handling.

Participants

A total of 145 children with moderate to severe asthma under the Global Initiative of Asthma (GINA) treatment step ≥3 were included and n=92 subjects providing paired samples for the analysis. The flow diagram for patient inclusion is shown in Figure E1. Uncontrolled asthma is defined based on (childhood) Asthma Control Test ((c)ACT) score ≤19 and/or severe exacerbations requiring hospitalization or emergency room (ER) visits or oral corticosteroid (OCS) use in the past year as previously described (2, 3). Subjects were assessed for allergy, atopy, spirometry, fractional exhaled nitric oxide (FENO), blood inflammatory biomarkers, and past medical history. Subjecting with paired samples were compared against the rest of subjects in different characteristics using the Mann Whitney U or Fisher’s exact tests as appropriate (Table E1).

Sample collection and omics analysis

During the baseline study visit, peripheral venous blood was collected from each study participant by venipuncture. Blood samples were collected during regular study visit hours (09:00–17:00) at all study centers. Blood tubes were centrifuged after blood was clotted at 2.000 g for 10 minutes at room temperature, and serum was collected, vortexed, and aliquoted in separate tubes for metabolomics and inflammatory markers (cytokines and chemokines) processing. Blood collected in EDTA (ethylene diamine tetra-acetic acid) tubes was used for differential blood counts. Feces samples were collected using 50 ml falcon tube for metabolomics processing and another OMNIgene•GUT, OM-200 collection kit (DNA Genotek) for microbiota processing. Participants were instructed to collect fecal samples either the day before or on the same day of their study visit. They were then asked to store the samples immediately in a freezer at -20°C until bringing them to the visit. Upon arrival, the samples were stored locally at -80°C freezer for long-term storage and then transferred to a centralized biobank in Regensburg, Germany for further omics processing.

Metabolomics in feces and serum samples

Introduction

The commercially available MxP®Quant 500 Kit from Biocrates (Biocrates® Life Sciences AG., Innsbruck, Austria) processed in the metabolomics core facility of Helmholtz Zentrum München is based on liquid chromatography-electrospray ionization-tandem mass spectrometric (LC-ESI-MS/MS, shortly: LC-MS/MS) and flow injection-electrospray ionization-tandem mass spectrometric (FIA-ESI-MS/MS, shortly: FIA) measurements. The assay allows the determination of more than 600 substances comprising a broad range of small molecules (e.g. amino acids and amino acids related, biogenic amines, carboxylic acids) and a large set of lipids (e.g. acylcarnitines, ceramides, diacylglycerides, triglycerides) as well. The complete list of metabolites from the platform is presented in Table E2.

Materials

The Biocrates MxP®Quant 500 Kit consisting of system suitability test standards (SST), calibration standards, quality control samples (QC), mobile phase additive, a MxP®Quant 500 Kit plate, a deep well plate and a MxP®Quant 500 Kit Column system as well were obtained from Biocrates® Life Sciences AG (Austria). Methanol, ethanol, acetonitrile and 2-propanol had LC- MS grade purity and were bought from Fisher Scientific (USA), Carl Roth GmbH (Germany) or Sigma Aldrich (Germany). LC-MS grade water was generated by a Milli-Q Integral 10 purification system (Merck Millipore, USA), nitrogen was obtained from a liquid nitrogen tank from Linde (Germany), synthetic air was produced by a Scroll Line compressor from cmc instruments (Germany). Formic acid LC-MS grade, pyridine, ammonium acetate, and phenylisothiocyanate (PITC) were purchased from Sigma Aldrich (Germany) or from Fisher Scientific (USA). 0.1 M Phosphate buffer pH 7.5, autoclaved, and ethanol gradient grade were obtained from Merck (USA).

Analytical instrumentation

The Triple Quadrupole Linear Ion Trap mass spectrometer (QTRAP 5500, Sciex, Germany) was equipped with a Turbo V ion spray interface and coupled to an Agilent 1290 Infinity ultra high performance liquid chromatography (UHPLC) system (two G7120A binary pumps, a G7116B column thermostat and a G7167B multisampler) from Agilent Technologies (USA). Instrument control and data acquisition were performed with Analyst Software Version 1.7, for data processing the MetIDQ software (Oxygen –DB110-3005), which is part of the MxP®Quant 500 Kit (Biocrates® Life Sciences AG), was used.

Sample processing of stool samples

For sample processing, calculation of the results and determination of dry weight, the following assumption was made: 1 mg stool ≙ 1 µl extraction solvent (4). The frozen stool samples (-80 °C) were thawed on ice (ca. 2 h). Two aliquots of approximately 100 mg stool sample were weighed and put into 0.5 ml homogenization tubes containing 1.4 mm ceramic beads (Precellys® ceramic kit, PEQLAB, Erlangen, Germany). Exactly the threefold volume (in µl) of the weighed mass (in mg) of buffer A (ethanol/phosphate buffer (20 mmol/l), 85/15, v/v) or buffer B (ethanol/phosphate buffer (20 mmol/l), 20/80, v/v) were added and these mixtures were homogenized (5) on a precellys 24 (Bertin instruments, Montigny-le-Bretonneux, French) by applying the following program: 3 x 20 s homogenization with breaks of 30 s at 15 °C. Directly after homogenization 150 µl of the homogenates in solvent B were pipetted into a pre- weighed Eppendorf vial and used for the determination of the individual dry weights (percent of wet weight). Additionally, 20 µl of the homogenates in solvent B were taken, combined and used for the determination of the dry weight of the reference stool pool (see below). Subsequently, the tubes were centrifuged at 10.000 x g (rcf) and 4 °C for 5 min. The supernatants were used for the following purposes:

- Aliquots of 25 µl (buffer A and B) respectively were taken and all aliquots were combined to create a stool reference pool.

- Aliquots of 25 µl (buffer A and B) from every sample. The two aliquots were combined and used for subsequent LC-MS-analysis.

Homogenized and centrifuged samples, as well as the aliquots of the supernatants were stored at – 80 °C until further processing.

The determination of the dry weight was performed by drying the aliquot of 150 µl homo- genisate (≙ 37.5 mg wet weight stool) in an hybridization oven from Illumina (USA) at 40 °C for 12 h.

Sample processing for LC-MS-analysis (serum)

Sample processing was performed according to the description in the manual for the MxP®Quant 500 Kit (4). Most steps of sample processing were done on a Hamilton Microlab Star robot (Hamilton Bonaduz AG, Switzerland). In brief, 10 µl of the respective sample (serum, combined supernatants (from buffer A and B), stool reference pool, calibration solutions, quality controls, reference serum and blanks (PBS, homogenization buffer)) were applied to the kit plate and dried under a stream of nitrogen for 30 min at room temperature (Ultravap nitrogen evaporator, Porvair Sciences, UK). A PITC solution in ethanol, water and pyridine was freshly prepared and 50 µl of this derivatization reagent was added to the dried samples. The derivatization reaction took 60 min at room temperature followed by a drying step with nitrogen for another 60 min. Afterwards, the analytes of interest were extracted with 300 µl extraction solvent (5 mM ammonium acetate in methanol) by shaking the samples for 30 min. The kit plate is then centrifuged for 2 min with 500 x g (rcf). The resulting solution was diluted 1:2 with water for LC-ESI-MS/MS-analysis, and 1:50 with FIA-solvent for FIA-ESI-MS/MS analysis.

Liquid chromatography-mass spectrometry/mass spectrometry (LC-MS/MS)

One part of the metabolites measured was chromatographically separated prior to the mass spectrometric detection (cf. Table E2). The separation was achieved on a UHPLC-column which was provided with the MxP® Quant 500 Kit. As eluents, acetonitrile and water with 0.2 % formic acid were used. Two LC-MS/MS runs were performed for every sample, one in positive ion mode, one in negative ion mode. Acetonitrile gradients at 0.8 ml/min and 50 °C were applied. Injection (5 µl), separation and equilibration needed 6.8 min per run. For the LC-MS/MS-part, compound determination was done based on retention time and scheduled multiple reaction monitoring (s- MRM) using specific mass transition of the metabolites.

Flow injection analysis (FIA)

The larger part of the metabolites determinable with the MxP® Quant 500 Kit is measured without prior chromatographic separation, applying flow injection analysis (FIA). As eluent, methanol containing FIA mobile phase additive (Biocrates® Life Science AG) was used. Two FIA-runs were performed for every sample, both in positive ion mode. FIA-analyses were done at 25 °C, 0.03 ml/min, and 20 µl were injected. Each FIA run was finished within 4 min. For the FIA-part, compound determination was done based on multiple reaction monitoring (MRM) applying specific mass transition of the metabolites.

Peak processing, data evaluation and quantification

Peak processing, data evaluation, quantification and data export (xlsx and csv-files) were done using the latest version of the MetIDQ software from Biocrates® Life Sciences AG (Oxygen- DB110-3005).

The following explanations and definitions (Table E8) of important quality parameters are taken from the respective use manuals provided with the MxP® Quant 500 Kit (5).

Upper limit of quantification (ULOQ) and lower limit of quantification (LLOQ) are only available on a calculated basis for LC-analytes which are calibrated by a 7- or 1-point calibration curve (analyte classification “Quantitative” or “Quantitative with restrictions”). For metabolites with analyte classification “Relative quantitative”, ULOQ and LLOQ for some metabolites were determined experimentally by spike and dilution experiments.

Limit of detections for FIA and LC-analytes are calculated based on blank injections (PBS or homogenization buffer). The median value of these blank samples on one plate is calculated as approximation of the background noise. Three times this value is the limit of detection (LOD) for each analyte. For LC-analytes it can be possible that no concentration for the LOD can be calculated due to missing signal intensities in the blanks. In this case, LOD values calculated during in-house validation at Biocrates are applied (5, 6).

Concentration units of the results are µM (µmol/l) for serum samples, and pmol/mg (wet weight) for stool samples.

As mentioned above for stool samples the assumption “1 mg stool ≙ 1 µl extraction solvent” was made. In order to allow a calculation based on wet weight (pmol/mg), a tissue factor of 3 (based on the buffer volume to mg sample ratio 1:3) is used for calculation of the measurement results in the MetIDQ software. This tissue factor is only applicable for the samples, values for LOD, ULOQ and LLOQ are not affected, although the indication and status of the concentration values of the stool samples (e.g. < LOD or > ULOQ) are correct.

Quality control and data normalization

The samples were measured using 96-well kit plates. In order to obtain reliable data fulfilling the needs for comprehensive biostatistics evaluation, different actions were taken. On every kit plate, an individual calibration curve was established. Quality control samples (Biocrates® Life Sciences AG) were analyzed to check concentration ranges and courses of concentration between the kit plates. Blank samples (PBS and homogenization buffer) are injected to calculate limit of detections and to control impurities.

Beside those measures, the most important tool for quality assurance and data normalization is the measurement of reference samples on every plate. For serum samples, five reference serum samples from one “in-house” serum pool are routinely measured on every kit plate. In the case of stool samples, a pool of the provided stool samples was created, and on every plate five samples of this pool were analyzed in addition to the reference serum samples on every plate. The analysis results of these reference samples can be used for normalization. This is an important step to enable quality control and correction for kit plate effects.

It is recommended to use reference stool samples for normalization of stool samples, and reference serum samples for the normalization of serum samples. Nevertheless, the additional reference serum samples can be also investigated as a further quality control with regard to plate effects.

The normalization process can be described as follows:

- For each plate and each metabolite, plate specific mean values (“plate means”) are calculated. For this, the concentrations of each metabolite of the 5 reference samples are used.

Then the plate means are used to calculate an overall mean of all plates. These steps have to be performed for all metabolites (x1, x2, x3 ... xn) on all plates (n1,n2,n3 … nj) of the data set.

- The plate means are used to calculate the overall “means of all plates”:

Again, this has to be calculated for metabolites (x1, x2, x3 ... xn) for each plate in the data set.

- Plate factors are calculated for each plate separately, e.g. plate 1:

- In the final step of normalization, each and all metabolite concentrations are multiplied with their corresponding plate factors, e.g. metabolite concentrations of each sample on plate 1 are multiplied with plate factor 1.

Imputation of values below LOD

Metabolites with >40% missing values were excluded from the analyses. The remaining metabolites with values below the LOD were imputed by first dividing the LOD of the respective metabolite by the square root of 2. The resulting value was then multiplied with a random factor between 0.75 and 1.25 as performed previously (7) to limit data skewness. After this step, metabolites that had >25% coefficient of variation were also excluded from the data set. Spearman correlation analysis was conducted between shared metabolites in serum and feces, and P-values were adjusted by Benjamini-Hochberg false discovery rate (FDR).

Special comments to the stool samples analyzed

The The Biocrates MxP®Quant 500 Kit was mainly developed and validated for the analysis of metabolites in serum samples. This is true for sample processing, which was adapted, but also for concentration ranges of some metabolites. Feces can have very different patterns and analyte concentrations. this especially for some bile acids, putrescine, 5-AVA and spermidine. For these compounds, the concentrations were sometimes very high. Those samples were 1:10 diluted and analyzed once more. This strategy worked well for bile acids and 5-AVA, for spermidine and especially putrescine some values are indicated as “infinity” with status “no intercept” (csv-files) or ∞ (excel files). A concentration value could not be calculated. These values should be treated as “NA”.

List of metabolite sums and ratios

An additional feature of the MetIDQ software – the MetaboINDICATORTM – enables the calculation of metabolite sums and ratios.

Fecal 16S V3-V4 microbiome sequencing

The detailed process of microbiome sequencing has been described previously (8). Total DNA was extracted from the OMNIgene•GUT, OM-200 collection kit (DNA Genotek) using the QIAamp Fast DNA Stool Mini Kit (Qiagen) and the QIAcube semi-automated system (Qiagen). Approximately 200 mg of the feces sample was transferred to 0.70 mm Garnet Bead tubes filled with 1.1 ml ASL lysis buffer. Bead beating was performed using a SpeedMill PLUS (Analytik Jena) for 45 seconds at 50 Hz, after which the samples were heated to 95°C. Finally, PCR inhibitors were removed using a specifically optimized buffer.

PCR amplification was performed using primers (forward primer - hV3F – CCTACGGGAGGCAGCAG, and reverse primer - hV4R – GGACTACHVGGGTWTCTAAT) that were chosen such that only the hypervariable regions V3-V4 of 16S rRNA were amplified. The PCR primers and cycling rotations can be found in the following table:

| Denaturation | 98°C | 30 sec | 30 cycles |
| --- | --- | --- | --- |
| Denaturation | 98°C | 9 sec |  |
| Annealing | 50°C | 60 sec |  |
| Elongation | 72°C | 90 sec |  |
| Final elongation | 72°C | 10 min |  |
| Hold | 12°C | forever |  |

The samples were sequenced using the MiSeq v3 2x300 bp (Illumina) under the standard Illumina protocol. Sequencing was considered successful when 10000 reads per sample were reached. Mock communities (ZymoBIOMICS, Microbial Community DNA Standard) and negative control samples were added to assess the sequencing quality and contamination.

The paired-end reads (2x300 bp) were quality controlled using FastQC and MultiQC (9, 10). Subsequently, primers were removed using Cutadapt (11). The DADA2 pipeline, described in Callahan et al., was then followed as recommended (12). The complete pipeline can be found on GitHub (https://benjjneb.github.io/dada2/tutorial.html). In short, this pipeline works by performing quality control and consequently filtering and trimming reads, dereplicating sequences, inferring dataset-specific error rates, denoising by removing potential sequencing errors, merging paired-end reads, and constructing a sequence table. Chimeras are removed by implementing the “bimera” method. Finally, amplicon sequence variants (ASVs) were assigned taxonomies using publicly available databases. In this case, the Silva database version 138 was used for taxonomic classification (13).

The microbiome sequencing data have been deposited on the BioProject database (identifier PRJNA867125, http://www.ncbi.nlm.nih.gov/bioproject/867125).

Differential blood counts

Fresh blood in EDTA tubes were kept at room temperature and analyzed by an on-site laboratory within two hours from sample collection, where differential counts of inflammatory cells (eosinophils, neutrophils, basophils, monocytes and lymphocytes) were measured using fluorescence flow cytometry.

Serum cytokines and chemokines

Serum tube was centrifuged after blood was clotted at 2.000 g for 10 minutes at room temperature. Serum was collected in a separate tube, vortexed, aliquoted and stored at -80°C until further analysis. Serum levels of IL-1b, IL-4, IL-6, IL-7, IL-8, IL-10, IL-13, IL-17A, IL-18, IL-23, IL-33, thymic stromal lymphopoietin (TSLP), matrix metalloproteinase (MMP)-1, MMP-3, MMP-9, tissue inhibitor of metalloproteinase (TIMP)-1, TIMP-2, TIMP-4, tumor necrosis factor (TNF)-α, thymus and activation-regulated chemokine (TARC), interferon (IFN)-γ-induced protein 10 (IP10), C-reactive protein (CRP), cluster of differentiation 14 (CD14), pulmonary and activation-regulated chemokine (PARC), macrophage-derived chemokine (MDC), growth-related oncogene (GRO)-α, vascular endothelial growth factor (VEGF), periostin (OSF2), monocyte chemoattractant protein (MCP)-4, monocyte inflammatory protein (MIP)-3b, and receptor for advanced glycation end products (RAGE) (R&D systems INc, Minneapolis, MN), IL-9 and IL-22  (Invitrogen/ProcartaPLex), were measured using Luminex multiplex assays using fresh aliquots (samples were not thawed before) as described before (14-16). For IL-5, a high-sensitivity assay (R&D systems INc, Minneapolis, MN) was used. The plates were read on a Bioplex 200 (Bio-Rad, Hercules, CA, USA). All Luminex multiplex immunoassay were performed by two expert and experienced technicians at the same day, and no inter-plate variation was observed as evident from the repeated standard curves. Similar to the metabolomics, proteins with >40% missing values were excluded and samples with values <LOD were imputed (i.e. LODprotein/√2 × random factor between 0.75 and 1.25), while protein values measured with less than 25 beads readings were rendered of poor quality and excluded (i.e. regarded as missing data).

Food diaries

Participants were asked to complete a 24-hour dietary recall diary to estimate food intake one day before the baseline study visits as previously described (17). Nutrient calculations were performed using the ‘eetmeter’ (i.e. ‘eating meter’ in English, developed by the ’Voedingscentrum’ of ‘Rijksinstituut voor Volksgezondheid en Milieu’ (RIVM) (18), to calculate the amount of energy consumption (in kcal), and alcohol, fibers, fat, sugars, proteins, minerals, and vitamins (in grams). The mean nutrient calculations per day were calculated for subjects who filled in the intake for more than one day before inclusion.

Data and statistical analysis

The general data analysis workflow is shown in Figure E2 and is further described. Clustering of the subjects was performed based on the information of two omics layers (serum and fecal metabolomics and relevant ratios) using similarity network fusion (SNF) (19), which is a state-of-the-art technique that subtypes subjects based on complementary information from different omics. Briefly, both omics layers were normalized and scaled (mean of zero and standard deviation of one) and converted into Euclidean distances, which are then converted into patient affinity matrices. The omics matrices blocks were then fused into a single similarity matrix representing each subject's similarity to other subjects, which is then followed by spectral clustering. The parameters of SNF, which are the number of neighbors (K), hyperparameter (α), and the number of iterations (T) were set to K=10, α=0.5, and T=20 as recommended (19). The number of nearest neighbors K was determined by dividing the number of individuals in the dataset by 10 as suggested (19) and then rounding to the next whole number. The optimum number of the generated clusters by SNF (i.e. metabotypes) was determined based on the eigengap, rotation cost, silhouette’s width, within cluster sum of squares and gap statistics as described (19). A heatmap and kernel principal component analysis (PCA) were utilized to visualize the subjects according to their dual omics similarity network. The metabotypes were checked for differences in asthma control status, as well as other demographic and clinical characteristics using Chi-Square tests with Monte-Carlo simulation (10,000 permutations) or Kruskal-Wallis H tests as appropriate. If the overall p-value of a test was significant (P <0.05), a post-hoc analysis based on the residuals of Chi-Square tests or a post-hoc Dunn’s tests were done as previously described (20), where all comparisons were corrected with Benjamini Hochberg false discovery rate (FDR), with an FDR α (i.e. q-value) <0.05 considered statistically significant. To investigate whether the link between metabotypes and asthma control is confounded by known characteristics, we created a directed acyclic graph to identify potential confounding variables (i.e. covariates, Figure E3) and adjusted for these covariates (age, sex, ethnicity, country of inclusion, BMI-z-score, recent antibiotic intake, season of inclusion, corticosteroids (inhaled corticosteroids dose, systemic corticosteroids and nasal corticosteroids) intake and the Medication Adherence Report Scale-5 (MARS-5)) using a multivariate logistic regression model, where the asthma control was the dependent outcome and the metabotypes as well as the covariates were included as independent parameters in the regression model. As a first step, all covariates were forced into the regression model and the metabotypes were checked whether they were significantly associated with asthma control status after adjusting for all other covariates. If the metabotypes were found to be significantly associated with asthma control after adjusting for all covariates, an additional model with a reduced number of covariates (age, sex, and country of inclusion) was fitted to minimize the risk of overfitting. As a sensitivity analysis, atopic sensitization (defined as sensitization to any allergen or specifically to house dust mite) was included as an additional covariate to assess whether the association between metabotypes and asthma control was confounded or explained by atopy.

In addition, to benchmark whether the integrative clustering based on dual omics blocks offers more clinical relevance than each individual omics block separately, we performed different independent clustering solutions on each single omics layer based on the optimum suggested numbers of clusters per omics layer. The single-omics clustering solutions were compared in relation to asthma burden (asthma control status, severe asthma exacerbations in the past year, dry cough episodes in the past year, and absence from school >10 days in the past year) using chi-square tests with Monte-Carlo simulation (10,000 permutations).

Differences in omics layers between the clusters

To understand what are the omics profiles that underline the different metabotypes, fecal and serum metabolites, serum cytokines, and nutrient intake values were checked for differences between the metabotypes using the Kruskal Wallis H test, followed by multiple testing corrections using FDR, with a q-value <0.05 is considered statistically significant. A Dunn’s post-hoc analysis was performed to check pairwise differences between the metabotypes, and an omics feature is considered to be enriched/depleted in a specific metabotype if it shows increased/decreased median value and an adjusted post-hoc q<0.05 differences compared to the other metabotypes. Furthermore, the number of individual enriched/depleted metabolites was summed per individual parent metabolic class and was checked for differences between the metabotypes using a chi-square test with Monte-Carlo simulation (10,000 permutations). The latter is performed to check whether the metabolites that characterize each metabotype are randomly related, or represent real biological differences in specific metabolic classes.

Similarly, metabotypes were checked for differences in microbial richness and Shannon α-diversity measures. The weighted UniFrac β-diversity (based on log10-transformed taxa relative abundances) was checked for differences between the metabotypes using multivariate permutational analysis of variance (PERMANOVA) after adjusting for potential confounders (similar to the covariates identified in Figure E3) including age, sex, ethnicity, country of inclusion, BMI-z-score, recent antibiotic intake, batches, the season of inclusion, corticosteroids (inhaled corticosteroids dose, systemic corticosteroids and nasal corticosteroids) intake and the Medication Adherence Report Scale-5 (MARS-5) questionnaires scores. Microbiome Multivariable Associations with Linear Models 2 (MaAsLin 2) was used to check differences in bacterial genera between the metabotypes (21). To avoid spurious findings in differential abundances analysis, bacterial genera with a prevalence <10% in all samples were removed, and the MaAsLin 2 model was adjusted for the most significant confounders namely ethnicity, country, season, recent antibiotic intake, and batches, and P-values were corrected with FDR. Moreover, we examined the direct correlation between fecal microbiome diversity (α and β) and metabolic classes beyond the metabotypes. Specifically, individual metabolite levels within each metabolic class were standardized into z-scores, and a mean z-score was calculated for each metabolic class. Correlations between microbiome α-diversity (richness and Shannon indices) and metabolic class z-scores were assessed using the Spearman correlation coefficient, followed by false discovery rate (FDR) correction of P-values. Additionally, we evaluated the relationship between microbiome weighted UniFrac β-diversity and the metabolic class z-scores while adjusting for potential confounders including age, sex, ethnicity, country of inclusion, BMI-z-score, recent antibiotic intake, batches, the season of inclusion, corticosteroids (inhaled corticosteroids dose, systemic corticosteroids and nasal corticosteroids) intake and the MARS-5 questionnaires scores.

References:

1.	Abdel-Aziz MI, Neerincx AH, Vijverberg SJH, Hashimoto S, Brinkman P, Gorenjak M, et al. A System Pharmacology Multi-Omics Approach toward Uncontrolled Pediatric Asthma. J Pers Med. 2021;11(6).

2.	Abdel-Aziz MI, Vijverberg SJH, Neerincx AH, Brinkman P, Wagener AH, Riley JH, et al. A multi-omics approach to delineate sputum microbiome-associated asthma inflammatory phenotypes. Eur Respir J. 2022;59(1).

3.	Reddel HK, Taylor DR, Bateman ED, Boulet LP, Boushey HA, Busse WW, et al. An official American Thoracic Society/European Respiratory Society statement: asthma control and exacerbations: standardizing endpoints for clinical asthma trials and clinical practice. American journal of respiratory and critical care medicine. 2009;180(1):59-99.

4.	MetIDQ Oxygen User Manual, UM-MetIDQ-Oxygen 11, Biocrates® Life Science AG.

5.	Technical Application: Analysis of Human Fecal Samples with the AbsoluteIDQ® p180 Kit.

6.	MxP® Quant 500 Kit User Manual MxP® Quant 500 Kit Sciex Edition, UM-MxP500_Sciex-3, Biocrates® Life Science AG.

7.	Schader JF, Haid M, Cecil A, Schoenfeld J, Halle M, Pfeufer A, et al. Metabolite Shifts Induced by Marathon Race Competition Differ between Athletes Based on Level of Fitness and Performance: A Substudy of the Enzy-MagIC Study. Metabolites. 2020;10(3).

8.	Blankestijn JM, Lopez-Rincon A, Neerincx AH, Vijverberg SJH, Hashimoto S, Gorenjak M, et al. Classifying asthma control using salivary and fecal bacterial microbiome in children with moderate-to-severe asthma. Pediatric allergy and immunology : official publication of the European Society of Pediatric Allergy and Immunology. 2023;34(2):e13919.

9.	Andrews S. FastQC:  A Quality Control Tool for High Throughput Sequence Data 2010 [Available from: http://www.bioinformatics.babraham.ac.uk/projects/fastqc/.

10.	Ewels P, Magnusson M, Lundin S, Kaller M. MultiQC: summarize analysis results for multiple tools and samples in a single report. Bioinformatics (Oxford, England). 2016;32(19):3047-8.

11.	Martin M. Cutadapt removes adapter sequences from high-throughput sequencing reads. EMBnet journal. 2011;17(1):10-2.

12.	Callahan BJ, McMurdie PJ, Rosen MJ, Han AW, Johnson AJ, Holmes SP. DADA2: High-resolution sample inference from Illumina amplicon data. Nature methods. 2016;13(7):581-3.

13.	Quast C, Pruesse E, Yilmaz P, Gerken J, Schweer T, Yarza P, et al. The SILVA ribosomal RNA gene database project: improved data processing and web-based tools. Nucleic acids research. 2013;41(Database issue):D590-6.

14.	Zhang S, Boers LS, de Brabander J, van den Heuvel LB, Blok SG, Kullberg RFJ, et al. The alveolar fibroproliferative response in moderate to severe COVID-19-related acute respiratory distress syndrome and 1-yr follow-up. American journal of physiology Lung cellular and molecular physiology. 2024;326(1):L7-l18.

15.	de Brabander J, Boers LS, Kullberg RFJ, Zhang S, Nossent EJ, Heunks LMA, et al. Persistent alveolar inflammatory response in critically ill patients with COVID-19 is associated with mortality. Thorax. 2023;78(9):912-21.

16.	de Brabander J, Duijvelaar E, Schippers JR, Smeele PJ, Peters-Sengers H, Duitman JW, et al. Immunomodulation and endothelial barrier protection mediate the association between oral imatinib and mortality in hospitalised COVID-19 patients. Eur Respir J. 2022;60(6).

17.	Verster JC, Vermeulen SA, Loo A, Balikji S, Kraneveld AD, Garssen J, et al. Dietary Nutrient Intake, Alcohol Metabolism, and Hangover Severity. Journal of clinical medicine. 2019;8(9).

18.	Eetmeter  [Available from: https://mijn.voedingscentrum.nl/nl/eetmeter/.

19.	Wang B, Mezlini AM, Demir F, Fiume M, Tu Z, Brudno M, et al. Similarity network fusion for aggregating data types on a genomic scale. Nature methods. 2014;11(3):333-7.

20.	Beasley TM, Schumacker RE. Multiple regression approach to analyzing contingency tables: Post hoc and planned comparison procedures. Journal of Experimental Education. 1995;64(1):79-93.

21.	Mallick H, Rahnavard A, McIver LJ, Ma S, Zhang Y, Nguyen LH, et al. Multivariable association discovery in population-scale meta-omics studies. PLoS computational biology. 2021;17(11):e1009442.

Supplementary Tables:

Table E1: Demographic and clinical characteristics of subjects who provided paired fecal and serum samples for metabolomics analysis versus subjects who were not included in the study.

| Characteristics | Subjects with paired samples included (n=92) | Not included (n=53) | P-value |
| --- | --- | --- | --- |
| Age in years, median (IQR) | 11.5 (9.7, 13.4) | 13.0 (9.8, 14.7) | 0.077 |
| Female, n (%) | 31/92 (34%) | 28/53 (53%) | 0.035 |
| White Caucasian, n (%) | 73/92 (79%) | 38/52 (73%) | 0.414 |
| BMI z-score, median (IQR) | 0.38 (-0.37, 1.34) (n=91) | 0.79 (-0.21, 1.48) (n=53) | 0.104 |
| Mode of delivery (C-section), n (%) | 20/91 (22%) | 7/48 (15%) | 0.370 |
| Breastfeeding (≥4 months), n (%) | 51/91 (56%) | 28/46 (61%) | 0.715 |
| Residential location, n (%) |  |  | 0.053 |
| - City | 30/90 (33%) | 28/50 (56%) |  |
| - City center | 8/90 (9%) | 3/50 (6%) |  |
| - Rural area | 15/90 (17%) | 3/50 (6%) |  |
| - Village | 37/90 (41%) | 16/50 (32%) |  |
| Smoking exposure, n (%) | 25/90 (28%) | 17/48 (35%) | 0.438 |
| Uncontrolled asthma*, n (%) | 58/92 (63%) | 33/53 (62%) | 0.999 |
| Severe asthma exacerbations in the past 12 months, n (%) | 50/92 (54%) | 25/53 (47%) | 0.49 |
| Dry cough apart from infection in the past 12 months, n (%) | 70/90 (78%) | 40/50 (80%) | 0.832 |
| Dry cough at night apart from infection in the past 12 months, n (%) | 63/90 (70%) | 38/51 (75%) | 0.698 |
| >10 days of missed school due to asthma in the past 12 months, n (%) | 14/90 (16%) | 16/50 (32%) | 0.031 |
| Country of inclusion, n (%) |  |  | <0.001 |
| - Spain | 49/92 (53%) | 1/53 (2%) |  |
| - Germany | 22/92 (24%) | 17/53 (32%) |  |
| - The Netherlands | 12/92 (13%) | 21/53 (40%) |  |
| - Slovenia | 9/92 (10%) | 14/53 (26%) |  |
| Atopy#, n (%) | 79/90 (88%) | 42/48 (88%) | 0.999 |
| Comorbid allergy diagnosed (ever), n (%) |  |  |  |
| - Allergic rhinitis | 68/87 (78%) | 33/50 (66%) | 0.158 |
| - Allergic conjunctivitis | 63/85 (74%) | 24/49 (49%) | 0.005 |
| - Atopic dermatitis | 39/85 (46%) | 14/48 (29%) | 0.067 |
| (childhood) Asthma Control Test ((c)ACT) z-score, median (IQR) | 0.95 (0.33, 1.55) (n=91) | 0.95 (0.10, 1.71) (n=51) | 0.544 |
| Spirometry: |  |  |  |
| - FEV1 pre-salbutamol z-score, median (IQR) | -0.45 (-1.45, 0.24) (n=91) | -0.55 (-1.38, 0.39) (n=51) | 0.737 |
| - FEV1 post-salbutamol z-score, median (IQR) | -0.12 (-0.93, 0.65) (n=90) | 0.10 (-0.57, 0.96) (n=50) | 0.146 |
| - Positive bronchodilator response (FEV1 ≥200 mL and ≥12%), n (%) | 19/91 (21%) | 13/50 (26%) | 0.678 |
| FENO (ppb), n (%) | 15.0 (8.6, 36.3) (n=85) | 21.4 (10.5, 42.5) (n=39) | 0.3 |
| White blood cell count (×109/L), median (IQR) |  |  |  |
| - Eosinophils | 0.40 (0.27, 0.65) (n=83) | 0.31 (0.14, 0.56) (n=43) | 0.075 |
| - Neutrophils | 3.06 (2.30, 3.93) (n=83) | 4.00 (2.99, 5.05) (n=43) | 0.004 |
| - Lymphocytes | 2.58 (2.23, 3.09) (n=83) | 2.54 (2.12, 3.10) (n=43) | 0.64 |
| - Basophils | 0.05 (0.03, 0.07) (n=83) | 0.03 (0.02, 0.05) (n=43) | 0.002 |
| - Monocytes | 0.52 (0.40, 0.60) (n=83) | 0.61 (0.45, 0.71) (n=43) | 0.013 |
| Inclusion season, n (%) |  |  | 0.089 |
| - Winter | 20/92 (22%) | 7/53 (13%) |  |
| - Spring | 29/92 (32%) | 12/53 (23%) |  |
| - Summer | 29/92 (32%) | 17/53 (32%) |  |
| - Autumn | 14/92 (15%) | 17/53 (32%) |  |
| Asthma medications, n (%) |  |  |  |
| - ICS dose: |  |  | 0.029 |
| - Low | 49/92 (53%) | 17/53 (32%) |  |
| - Medium | 27/92 (29%) | 19/53 (36%) |  |
| - High | 16/92 (17%) | 17/53 (32%) |  |
| - SABA | 82/92 (89%) | 53/53 (100%) | 0.014 |
| - LABA | 89/92 (97%) | 47/53 (89%) | 0.074 |
| - OCS | 1/92 (1%) | 3/53 (6%) | 0.139 |
| - LTRA | 13/92 (14%) | 12/53 (23%) | 0.254 |
| - Anticholinergics | 9/92 (10%) | 9/53 (17%) | 0.295 |
| - Biologicals (Omalizumab or Mepolizumab) | 7/92 (8%) | 8/53 (15%) | 0.168 |
| - GINA step: |  |  | 0.121 |
| - Step 3 | 46/92 (50%) | 19/53 (36%) |  |
| - Step 4 | 39/92 (42%) | 25/53 (47%) |  |
| - Step 5 | 7/92 (8%) | 9/53 (17%) |  |
| MARS-5 (≥21), n (%) | 81/86 (94%) | 40/44 (91%) | 0.486 |

For continuous measures (variables), the number of samples available for a specific measure is provided only when data were missing. P-values were calculated using Fisher’s exact test or the Mann-Whitney U test as appropriate.

*Uncontrolled asthma is defined based on (childhood) Asthma Control Test ((c)ACT) score ≤19 and/or severe exacerbations requiring hospitalization or emergency room (ER) visits or oral corticosteroid (OCS) use in the past year

#Atopic sensitization refers to physician history (ever) of sensitization to aeroallergens or food allergens by a positive skin prick test result (wheal diameter ⩾3 mm) and/or positive allergen-specific IgE (⩾0.35 kU/L).

Definition of abbreviations: BMI = body mass index; FENO = fractional exhaled nitric oxide; FEV1 = forced expiratory volume in 1 second; GINA = Global Initiative for Asthma; HDM = house dust mite; ICS = inhaled corticosteroids; IQR = interquartile range; LABA = long-acting β-agonist; LTRA = leukotriene antagonist; MARS-5 = Medication Adherence Report Scale-5 ; OCS = oral corticosteroids; SABA = short-acting β-agonist;

Table E2: List of metabolites that are determined by the MxP® Quant 500 Kit.

| Alkaloids (1)* |  |  |  |
| --- | --- | --- | --- |
| Trigonelline | Trigonelline |  |  |
| Amine Oxides (1)* |  |  |  |
| TMAO | Trimethylamine N-Oxide |  |  |
| Amino Acids (20)* |  |  |  |
| Ala | Alanine | Leu | Leucine |
| Arg | Arginine | Lys | Lysine |
| Asn | Asparagine | Met | Methionine |
| Asp | Aspartate | Phe | Phenylalanine |
| Cys | Cysteine | Pro | Proline |
| Gln | Glutamine | Ser | Serine |
| Glu | Glutamate | Thr | Threonine |
| Gly | Glycine | Trp | Tryptophan |
| His | Histidine | Tyr | Tyrosine |
| Ile | Isoleucine | Val | Valine |
| Amino Acid Related (30)* |  |  |  |
| Alpha-AAA | α-Aminoadipic acid | c4-OH-Pro | cis-4-Hydroxyproline |
| AABA | α-Aminobutyric acid | t4-OH-Pro | trans-4-Hydroxyproline |
| Ac-Orn | Acetylornithine | Kynurenine | Kynurenine |
| ADMA | Asymmetric dimethylarginine | Met-SO | Methionine sulfoxide |
| Anserine | Anserine | 1-Met-His | 1-Methylhistidine |
| 5-AVA | 5-Aminovaleric acid | 3-Met-His | 3-Methylhistidine |
| BABA | β-Aminobutyric acid | Nitro-Tyr | Nitrotyrosine |
| Betaine | Betaine | Orn | Ornithine |
| Carnosine | Carnosine | PAG | Phenylacetylglycine |
| Cit | Citrulline | PheAlaBetaine | Phenylalanine Betaine |
| Creatinine | Creatinine | ProBetaine | Proline betaine |
| Cystine | Cystine | Sarcosine | Sarcosine |
| DOPA | Dihydroxyphenylalanine | SDMA | Symmetric dimethylarginine |
| HArg | Homoarginine | Taurine | Taurine |
| HCys | Homocysteine | TrpBetaine | Tryptophan betaine |
| Bile acids (14)* |  |  |  |
| CA | Cholic Acid | GLCAS | Glycolithocholic acid sulfate |
| CDCA | Chenodeoxycholic acid | GUDCA | Glycoursodeoxycholic acid |
| DCA | Deoxycholic acid | TCA | Taurocholic acid |
| GCA | Glycocholic acid | TCDCA | Taurochenodeoxycholic acid |

| GDCA | Glycodeoxycholic acid | TDCA | Taurodeoxycholic acid |
| --- | --- | --- | --- |
| GCDCA | Glycochenodeoxycholic acid | TLCA | Taurolithocholic acid |
| GLCA | Glycolithocholic acid | TMCA | Tauromurocholic acid |
| Biogenic Amines (9)* |  |  |  |
| beta-Ala | β-Alanine | Putrescine | Putrescine |
| GABA | ɣ-Aminobutyric acid | Serotonin | Serotonin |
| Dopamine | Dopamine | Spermidine | Spermidine |
| Histamine | Histamine | Spermine | Spermine |
| PEA | Phenylethylamine |  |  |
| Monosaccharides (1)Ŧ |  |  |  |
| H1 |  | Sum of hexoses (including glucose) |  |
| Carboxylic Acids (7)* |  |  |  |
| Acon Acid | Aconitic Acid | OH-GlutAcid | 3-Hydroxyglutaric acid |
| DiCA (12:0) | Dodecanedioic acid | Lac | Lactic Acid |
| DiCA (14:0) | Tetradecanedioic acid | Suc | Succinic Acid |
| HipAcid | Hippuric Acid |  |  |
| Cresols (1)* |  |  |  |
| p-Cresol-SO4 | p-Cresol sulfate |  |  |
| Fatty acids (3)* |  |  |  |
| EPA | Eicosapentaenoic acid (FA(20:5ω3)) |  |  |
| DHA | Docosahexaenoid acid (FA(22:6ω3)) |  |  |
| AA | Arachidonic acid (FA(20:4ω6)) |  |  |
| Hormones and Related (4)* |  |  |  |
| AbsAcid | Abscisic Acid | Cortisone | Cortisone |
| Cortisol | Cortisol | DHEAS | Dehydroepiandrosterone sulfate |
| Indoles and Derivatives (4)* |  |  |  |
| Indole | Indole | 3-IPA | 3-Indolepropionic acid |
| 3-IAA | 3-Indoleacetic acid | Ind-SO4 | Indoxyl sulfate |
| Nucleobases and Related (2)* |  |  |  |
| Hypoxanthine | Hypoxanthine | Xanthine | Xanthine |
| Vitamins and Cofactors (1)* |  |  |  |
| Choline | Choline |  |  |

| Acylcarnitines (40)Ŧ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| C0 | Carnitine |  | C10:1 | Decenoylcarnitine |  |
| C2 | Acetylcarnitine |  | C10:2 | Decadienylcarnitine |  |
| C3 | Propionylcarnitine |  | C12 | Dodecanoylcarnitine |  |
| C3:1 | Propenoylcarnitine |  | C12:1 | Dodecenoylcarnitine |  |
| C3-OH | Hydroxypropionylcarnitine |  | C12-DC | Dodecanedioylcarnitine |  |
| C4 | Butyrylcarnitine |  | C14 | Tetradecanoylcarnitine |  |
| C4:1 | Butenoylcarnitine |  | C14:1 | Tetradecenoylcarnitine |  |
| C3-DC (C4-OH) | (Malonylcarnitine) Hydroxybutyrylcarnitine |  | C14:1-OH | Hydroxytetradecenoylcarnitine |  |
| C5 | Valerylcarnitine |  | C14:2 | Tetradecadienylcarnitine |  |
| C5:1 | Tiglylcarnitine |  | C14:2-OH | Hydroxytetradecadienylcarnitine |  |
| C5:1-DC | Glutaconylcarnitine |  | C16 | Hexadecanoylcarnitine |  |
| C5-DC (C6-OH) | Glutarylcarnitine (Hydroxyhexanoylcarnitine) |  | C16:1 | Hexadecenoylcarnitine |  |
| C5-M-DC | Methylglutarylcarnitine |  | C16:1-OH | Hydroxyhexadecenoylcarnitine |  |
| C5-OH (C3-DC-M) | Hydroxyvalerylcarnitine (Methylmalonylcarnitine) |  | C16:2 | Hexadecadienylcarnitine |  |
| C6 (C4:1-DC) | Hexanoylcarnitine (Fumarylcarnitine) |  | C16:2-OH | Hydroxyhexadecadienylcarnitine |  |
| C6:1 | Hexenoylcarnitine |  | C16-OH | Hydroxyhexadecanoylcarnitine |  |
| C7-DC | Pimelylcarnitine |  | C18 | Octadecanoylcarnitine |  |
| C8 | Octanoylcarnitine |  | C18:1 | Octadecenoylcarnitine |  |
| C9 | Nonanoylcarnitine |  | C18:1-OH | Hydroxyoctadecenoylcarnitine |  |
| C10 | Decanoylcarnitine |  | C18:2 | Octadecadienylcarnitine |  |
| Lysophosphatidylcholines (14)Ŧ |  |  |  |  |  |
| lysoPC a C14:0 |  | lysoPC a C18:0 | lysoPC a C20:4 |  | lysoPC a C28:0 |
| lysoPC a C16:0 |  | lysoPC a C18:1 | lysoPC a C24:0 |  | lysoPC a C28:1 |
| lysoPC a C16:1 |  | lysoPC a C18:2 | lysoPC a C26:0 |  |  |
| lysoPC a C17:0 |  | lysoPC a C20:3 | lysoPC a C26:1 |  |  |
| Phosphatidylcholines (76)Ŧ |  |  |  |  |  |
| PC aa C24:0 |  | PC aa C36:6 | PC ae C30:0 |  | PC ae C38:4 |
| PC aa C26:0 |  | PC aa C38:0 | PC ae C30:1 |  | PC ae C38:5 |
| PC aa C28:1 |  | PC aa C38:1 | PC ae C30:2 |  | PC ae C38:6 |
| PC aa C30:0 |  | PC aa C38:3 | PC ae C32:1 |  | PC ae C40:1 |
| PC aa C30:2 |  | PC aa C38:4 | PC ae C32:2 |  | PC ae C40:2 |
| PC aa C32:0 |  | PC aa C38:5 | PC ae C34:0 |  | PC ae C40:3 |
| PC aa C32:1 |  | PC aa C38:6 | PC ae C34:1 |  | PC ae C40:4 |
| PC aa C32:2 |  | PC aa C40:1 | PC ae C34:2 |  | PC ae C40:5 |
| PC aa C32:3 |  | PC aa C40:2 | PC ae C34:3 |  | PC ae C40:6 |

| PC aa C34:1 | PC aa C40:3 | PC ae C36:0 | PC ae C42:0 |
| --- | --- | --- | --- |
| PC aa C34:2 | PC aa C40:4 | PC ae C36:1 | PC ae C42:1 |
| PC aa C34:3 | PC aa C40:5 | PC ae C36:2 | PC ae C42:2 |
| PC aa C34:4 | PC aa C40:6 | PC ae C36:3 | PC ae C42:3 |
| PC aa C36:0 | PC aa C42:0 | PC ae C36:4 | PC ae C42:4 |
| PC aa C36:1 | PC aa C42:1 | PC ae C36:5 | PC ae C42:5 |
| PC aa C36:2 | PC aa C42:2 | PC ae C38:0 | PC ae C44:3 |
| PC aa C36:3 | PC aa C42:4 | PC ae C38:1 | PC ae C44:4 |
| PC aa C36:4 | PC aa C42:5 | PC ae C38:2 | PC ae C44:5 |
| PC aa C36:5 | PC aa C42:6 | PC ae C38:3 | PC ae C44:6 |
| Sphingomyelins (15)Ŧ |  |  |  |
| SM (OH) C14:1 | SM C18:0 | SM (OH) C22:1 | SM (OH) C24:1 |
| SM C16:0 | SM C18:1 | SM (OH) C22:2 | SM C26:0 |
| SM C16:1 | SM C20:2 | SM C24:0 | SM C26:1 |
| SM (OH) C16:1 | SM C22:3 | SM C24:1 |  |
| Ceramides (28)Ŧ |  |  |  |
| Cer(d16:1/18:0) | Cer(d18:1/18:0(OH)) | Cer(d18:1/24:0) | Cer(d18:2/18:0) |
| Cer(d16:1/20:0) | Cer(d18:1/18:0) | Cer(d18:1/24:1) | Cer(d18:2/18:1) |
| Cer(d16:1/22:0) | Cer(d18:1/18:1) | Cer(d18:1/25:0) | Cer(d18:2/20:0) |
| Cer(d16:1/23:0) | Cer(d18:1/20:0(OH)) | Cer(d18:1/26:0) | Cer(d18:2/22:0) |
| Cer(d16:1/24:0) | Cer(d18:1/20:0) | Cer(d18:1/26:1) | Cer(d18:2/23:0) |
| Cer(d16:1/14:0) | Cer(d18:1/22:0) | Cer(d18:2/14:0) | Cer(d18:2/24:0) |
| Cer(d16:1/16:0) | Cer(d18:1/23:0) | Cer(d18:2/16:0) | Cer(d18:2/24:1) |
| Dihydroceramides (8)Ŧ |  |  |  |
| Cer(18:0/18:0(OH)) | Cer(d18:0/20:0) | Cer(d18:0/24:0) | Cer(d18:0/26:1(OH)) |
| Cer(d18:0/18:0) | Cer(d18:0/22:0) | Cer(d18:0/24:1) | Cer(d18:0/26:1) |
| Hexosylceramides (19)Ŧ |  |  |  |
| HexCer(d16:1/22:0) | HexCer(d18:1/18:1) | HexCer(d18:1/24:1) | HexCer(d18:2/20:0) |
| HexCer(d16:1/24:0) | HexCer(d18:1/20:0) | HexCer(d18:1/26:0) | HexCer(d18:2/22:0) |
| HexCer(d18:1/14:0) | HexCer(d18:1/22:0) | HexCer(d18:1/26:1) | HexCer(d18:2/23:0) |
| HexCer(d18:1/16:0) | HexCer(d18:1/23:0) | HexCer(d18:2/16:0) | HexCer(d18:2/24:0) |
| HexCer(d18:1/18:0) | HexCer(d18:1/24:0) | HexCer(d18:2/18:0) |  |
| Dihexosylceramides (9)Ŧ |  |  |  |
| Hex2Cer(d18:1/14:0) | Hex2Cer(d18:1/20:0) | Hex2Cer(d18:1/24:1) |  |
| Hex2Cer(d18:1/16:0) | Hex2Cer(d18:1/22:0) | Hex2Cer(d18:1/26:0) |  |
| Hex2Cer(d18:1/18:0) | Hex2Cer(d18:1/24:0) | Hex2Cer(d18:1/26:1) |  |
| Trihexosylceramides (6)Ŧ |  |  |  |
| Hex3Cer(d18:1/16:0) | Hex3Cer(d18:1/24:1) | Hex3Cer(d18:1_20:0) |  |
| Hex3Cer(d18:1/18:0) | Hex3Cer(d18:1/26:1) | Hex3Cer(d18:1_22:0) |  |
| Cholesteryl Esters (22)Ŧ |  |  |  |
| CE(14:0) | CE(17:0) | CE(20:0) | CE(22:1) |

| CE(14:1) | CE(17:1) | CE(20:1) | CE(22:2) |
| --- | --- | --- | --- |
| CE(15:0) | CE(18:0) | CE(20:3) | CE(22:5) |
| CE(15:1) | CE(18:1) | CE(20:4) | CE(22:6) |
| CE(16:0) | CE(18:2) | CE(20:5) |  |
| CE(16:1) | CE(18:3) | CE(22:0) |  |
| Diglycerides (44)Ŧ |  |  |  |
| DG(14:0_14:0) | DG(16:0_20:3) | DG(18:1_18:2) | DG(18:2_18:3) |
| DG(14:0_18:1) | DG(16:0_20:4) | DG(18:1_18:3) | DG(18:2_18:4) |
| DG(14:0_18:2) | DG(16:1_18:0) | DG(18:1_18:4) | DG(18:2_20:0) |
| DG(14:0_20:0) | DG(16:1_18:1) | DG(18:1_20:0) | DG(18:2_20:4) |
| DG(14:1_18:1) | DG(16:1_18:2) | DG(18:1_20:1) | DG(18:3_18:3) |
| DG(14:1_20:2) | DG(16:1_20:0) | DG(18:1_20:2) | DG(18:3_20:2) |
| DG(16:0_16:0) | DG(17:0_17:1) | DG(18:1_20:3) | DG(21:0_22:6) |
| DG(16:0_16:1) | DG(17:0_18:1) | DG(18:1_20:4) | DG(22:1_22:2) |
| DG(16:0_18:1) | DG(18:0_20:0) | DG(18:1_22:5) | DG_O(14:0_18:2) |
| DG(16:0_18:2) | DG(18:0_20:4) | DG(18:1_22:6) | DG-O(16:0_18:1) |
| DG(16:0_20:0) | DG(18:1_18:1) | DG(18:2_18:2) | DG-O(16:0_20:4) |
| Triglycerides (242)Ŧ |  |  |  |
| TG(14:0_32:2) | TG(16:1_36:5) | TG(18:1_35:3) | TG(20:1_32:2) |
| TG(14:0_34:0) | TG(16:1_38:3) | TG(18:1_36:0) | TG(20:1_32:3) |
| TG(14:0_34:1) | TG(16:1_38:4) | TG(18:1_36:1) | TG(20:1_34:0) |
| TG(14:0_34:2) | TG(16:1_38:5) | TG(18:1_36:2) | TG(20:1_34:1) |
| TG(14:0_34:3) | TG(17:0_32:1) | TG(18:1_36:3) | TG(20:1_34:2) |
| TG(14:0_35:1) | TG(17:0_34:1) | TG(18:1_36:4) | TG(20:1_34:3) |
| TG(14:0_35:2) | TG(17:0_34:2) | TG(18:1_36:5) | TG(20:2_32:0) |
| TG(14:0_36:1) | TG(17:0_34:3) | TG(18:1_36:6) | TG(20:2_32:1) |
| TG(14:0_36:2) | TG(17:0_36:3) | TG(18:1_38:5) | TG(20:2_34:1) |
| TG(14:0_36:3) | TG(17:0_36:4) | TG(18:1_38:6) | TG(20:2_34:2) |
| TG(14:0_36:4) | TG(17:1_32:1) | TG(18:1_38:7) | TG(20:2_34:3) |
| TG(14:0_38:4) | TG(17:1_34:1) | TG(18:2_28:0) | TG(20:2_34:4) |
| TG(14:0_38:5) | TG(17:1_34:2) | TG(18:2_30:0) | TG(20:2_36:5) |
| TG(14:0_39:3) | TG(17:1_34:3) | TG(18:2_30:1) | TG(20:3_32:0) |
| TG(16:0_28:1) | TG(17:1_36:3) | TG(18:2_31:0) | TG(20:3_32:1) |
| TG(16:0_28:2) | TG(17:1_36:4) | TG(18:2_32:0) | TG(20:3_32:2) |
| TG(16:0_30:2) | TG(17:1_36:5) | TG(18:2_32:1) | TG(20:3_34:0) |
| TG(16:0_32:0) | TG(17:1_38:5) | TG(18:2_32:2) | TG(20:3_34:1) |
| TG(16:0_32:1) | TG(17:1_38:6) | TG(18:2_33:0) | TG(20:3_34:2) |
| TG(16:0_32:2) | TG(17:1_38:7) | TG(18:2_33:1) | TG(20:3_34:3) |
| TG(16:0_32:3) | TG(17:2_34:2) | TG(18:2_33:2) | TG(20:3_36:3) |
| TG(16:0_33:1) | TG(17:2_34:3) | TG(18:2_34:0) | TG(20:3_36:4) |
| TG(16:0_33:2) | TG(17:2_36:2) | TG(18:2_34:1) | TG(20:3_36:5) |
| TG(16:0_34:0) | TG(17:2_36:3) | TG(18:2_34:2) | TG(20:4_30:0) |
| TG(16:0_34:1) | TG(17:2_36:4) | TG(18:2_34:3) | TG(20:4_32:0) |
| TG(16:0_34:2) | TG(17:2_38:5) | TG(18:2_34:4) | TG(20:4_32:1) |
| TG(16:0_34:3) | TG(17:2_38:6) | TG(18:2_35:1) | TG(20:4_32:2) |
| TG(16:0_34:4) | TG(17:2_38:7) | TG(18:2_35:2) | TG(20:4_33:2) |
| TG(16:0_35:1) | TG(18:0_30:0) | TG(18:2_35:3) | TG(20:4_34:0) |
| TG(16:0_35:2) | TG(18:0_30:1) | TG(18:2_36:0) | TG(20:4_34:1) |

| TG(16:0_35:3) | TG(18:0_32:0) | TG(18:2_36:1) | TG(20:4_34:2) |
| --- | --- | --- | --- |
| TG(16:0_36:2) | TG(18:0_32:1) | TG(18:2_36:2) | TG(20:4_34:3) |
| TG(16:0_36:3) | TG(18:0_32:2) | TG(18:2_36:3) | TG(20:4_35:3) |
| TG(16:0_36:4) | TG(18:0_34:2) | TG(18:2_36:4) | TG(20:4_36:2) |
| TG(16:0_36:5) | TG(18:0_34:3) | TG(18:2_36:5) | TG(20:4_36:3) |
| TG(16:0_36:6) | TG(18:0_36:1) | TG(18:2_38:4) | TG(20:4_36:4) |
| TG(16:0_37:3) | TG(18:0_36:2) | TG(18:2_38:5) | TG(20:4_36:5) |
| TG(16:0_38:1) | TG(18:0_36:3) | TG(18:2_38:6) | TG(20:5_34:0) |
| TG(16:0_38:2) | TG(18:0_36:4) | TG(18:3_30:0) | TG(20:5_34:1) |
| TG(16:0_38:3) | TG(18:0_36:5) | TG(18:3_32:0) | TG(20:5_34:2) |
| TG(16:0_38:4) | TG(18:0_38:6) | TG(18:3_32:1) | TG(20:5_36:2) |
| TG(16:0_38:5) | TG(18:0_38:7) | TG(18:3_33:2) | TG(20:5_36:3) |
| TG(16:0_38:6) | TG(18:1_26:0) | TG(18:3_34:0) | TG(22:0_32:4) |
| TG(16:0_38:7) | TG(18:1_28:1) | TG(18:3_34:1) | TG(22:1_32:5) |
| TG(16:0_40:6) | TG(18:1_30:0) | TG(18:3_34:2) | TG(22:2_32:4) |
| TG(16:0_40:7) | TG(18:1_30:1) | TG(18:3_34:3) | TG(22:3_30:2) |
| TG(16:0_40:8) | TG(18:1_30:2) | TG(18:3_35:2) | TG(22:4_32:0) |
| TG(16:1_28:0) | TG(18:1_31:0) | TG(18:3_36:1) | TG(22:4_32:2) |
| TG(16:1_30:1) | TG(18:1_32:0) | TG(18:3_36:2) | TG(22:4_34:2) |
| TG(16:1_32:0) | TG(18:1_32:1) | TG(18:3_36:3) | TG(22:5_32:0) |
| TG(16:1_32:1) | TG(18:1_32:2) | TG(18:3_36:4) | TG(22:5_32:1) |
| TG(16:1_32:2) | TG(18:1_32:3) | TG(18:3_38:5) | TG(22:5_34:1) |
| TG(16:1_33:1) | TG(18:1_33:0) | TG(18:3_38:6) | TG(22:5_34:2) |
| TG(16:1_34:0) | TG(18:1_33:1) | TG(20:0_32:3) | TG(22:5_34:3) |
| TG(16:1_34:1) | TG(18:1_33:2) | TG(20:0_32:4) | TG(22:6_32:0) |
| TG(16:1_34:2) | TG(18:1_33:3) | TG(20:0_34:1) | TG(22:6_32:1) |
| TG(16:1_34:3) | TG(18:1_34:1) | TG(20:1_24:3) | TG(22:6_34:1) |
| TG(16:1_36:1) | TG(18:1_34:2) | TG(20:1_26:1) | TG(22:6_34:2) |
| TG(16:1_36:2) | TG(18:1_34:3) | TG(20:1_30:1) | TG(22:6_34:3) |
| TG(16:1_36:3) | TG(18:1_34:4) | TG(20:1_31:0) |  |
| TG(16:1_36:4) | TG(18:1_35:2) | TG(20:1_32:1) |  |

*: Analyzed applying LC-MS methods.

Ŧ: Analyzed applying FIA-methods.

Table E3: Optimum number of clusters for each and combined metabolomics layers calculated by different statistical indices.

| Omics layer | Optimum number of clusters |  |  |  |  | Majority vote |
| --- | --- | --- | --- | --- | --- | --- |
|  | Eigengap | Rotation cost | Silhouette’s width | Within sum of squares | Gap statistic |  |
| Serum metabolome (only) | 2 | 3 | 2 | 4 | 3 | Not applicable |
| Fecal metabolome (only) | 3 | 4 | 2 | 3 | 3 | 3 |
| Combined fecal and serum metabolome | 3 | 3 | 2=3=4 | 3 | 3 | 3 |

Table E4: A multiple logistic regression model of uncontrolled asthma status.

| Characteristic§ | n | Adjusted OR* | SE | 95% CI | Overall P-value | P-value for each group |
| --- | --- | --- | --- | --- | --- | --- |
| Metabotypes |  |  |  |  | 0.004 |  |
| - Metabotype 2 (reference group) | 32 | — | — | — |  |  |
| - Metabotype 1 | 30 | 7.34 | 1.00 | 1.22, 68.9 |  | 0.046 |
| - Metabotype 3 | 30 | 11.7 | 0.87 | 2.57, 88.0 |  | 0.005 |
| Age | 92 | 1.02 | 0.089 | 0.85, 1.22 | 0.833 |  |
| Sex (male) | 92 | 0.70 | 0.509 | 0.25, 1.88 | 0.481 |  |
| Country |  |  |  |  | 0.037 |  |
| - Germany (reference group)# | 22 | — | — | — |  |  |
| - Netherlands | 12 | 3.68 | 0.86 | 0.72, 23.0 |  | 0.131 |
| - Slovenia | 9 | 4.36 | 1.04 | 0.63, 40.3 |  | 0.155 |
| - Spain | 49 | 13.4 | 0.99 | 2.21, 125 |  | 0.009 |

CI = Confidence Interval, OR = Odds Ratio, SE = Standard Error. §An initial regression model was fitted based on these covariates: metabotypes, age, sex, ethnicity, country of inclusion, BMI-z-score, recent antibiotic intake, season of inclusion, corticosteroids (inhaled corticosteroids dose, systemic corticosteroids and nasal corticosteroids) intake and the Medication Adherence Report Scale-5. The metabotypes were significantly associated with asthma control in the initial model after adjusting for all covariates. An additional model including only age, sex and country of inclusion was then fitted to reduced model overfitting. *Controlled asthma was the reference group for the outcome, so odds ratio >1, indicates higher odds for being uncontrolled. #Germany was randomly chosen as a reference group. Statistically significant groups are highlighted in boldface.

Table E5: A multiple logistic regression model of uncontrolled asthma status after including atopy.

| Characteristic | n | Adjusted OR* | SE | 95% CI | Overall P-value | P-value for each group |
| --- | --- | --- | --- | --- | --- | --- |
| Metabotypes |  |  |  |  | 0.004 |  |
| - Metabotype 2 (reference group) | 32 | — | — | — |  |  |
| - Metabotype 1 | 30 | 6.12 | 1.01 | 0.98, 58.0 |  | 0.073 |
| - Metabotype 3 | 28 | 12.0 | 0.885 | 2.56, 93.3 |  | 0.005 |
| Atopy† (positive) | 79 | 1.19 | 0.759 | 0.26, 5.49 | 0.819 |  |
| Age | 90 | 1.03 | 0.091 | 0.86, 1.23 | 0.759 |  |
| Sex (male) | 59 | 0.73 | 0.517 | 0.26, 1.98 | 0.535 |  |
| Country |  |  |  |  | 0.047 |  |
| - Germany (reference group)# | 22 | — | — | — |  |  |
| - Netherlands | 11 | 4.99 | 0.947 | 0.87, 41.3 |  | 0.090 |
| - Slovenia | 9 | 3.67 | 1.04 | 0.52, 33.5 |  | 0.209 |
| - Spain | 48 | 11.3 | 0.997 | 1.84, 105 |  | 0.015 |

CI = Confidence Interval, OR = Odds Ratio, SE = Standard Error. *Controlled asthma was the reference group for the outcome, so odds ratio >1, indicates higher odds for being uncontrolled. †Atopic sensitization refers to physician history (ever) of sensitization to aeroallergens or food allergens by a positive skin prick test result (wheal diameter ⩾3 mm) and/or positive allergen-specific IgE (⩾0.35 kU/L). #Germany was randomly chosen as a reference group. Statistically significant groups are highlighted in boldface.

Table E6: A multiple logistic regression model of uncontrolled asthma status after including HDM atopic sensitization.

| Characteristic | n | Adjusted OR* | SE | 95% CI | Overall P-value | P-value for each group |
| --- | --- | --- | --- | --- | --- | --- |
| Metabotypes |  |  |  |  | 0.003 |  |
| - Metabotype 2 (reference group) | 32 | — | — | — |  |  |
| - Metabotype 1 | 30 | 10.2 | 1.08 | 1.48, 111 |  | 0.031 |
| - Metabotype 3 | 29 | 11.9 | 0.878 | 2.55, 91.2 |  | 0.005 |
| HDM sensitization† (positive) | 68 | 2.04 | 0.662 | 0.55, 7.71 | 0.282 |  |
| Age | 91 | 1.01 | 0.091 | 0.84, 1.21 | 0.935 |  |
| Sex (male) | 60 | 0.67 | 0.516 | 0.24, 1.82 | 0.438 |  |
| Country |  |  |  |  | 0.051 |  |
| - Germany (reference group)# | 22 | — | — | — |  |  |
| - Netherlands | 12 | 3.01 | 0.887 | 0.55, 19.6 |  | 0.215 |
| - Slovenia | 9 | 4.33 | 1.05 | 0.61, 40.4 |  | 0.161 |
| - Spain | 48 | 12.6 | 1.01 | 2.04, 119 |  | 0.012 |

CI = Confidence Interval, HDM = house dust mite, OR = Odds Ratio, SE = Standard Error. *Controlled asthma was the reference group for the outcome, so odds ratio >1, indicates higher odds for being uncontrolled. †Atopic sensitization to HDM refers to physician history (ever) of sensitization to house dust mite (Dermatophagoides farinae and/or Dermatophagoides pteronyssinus) by a positive skin prick test result (wheal diameter ⩾3 mm) and/or positive allergen-specific IgE (⩾0.35 kU/L). #Germany was randomly chosen as a reference group. Statistically significant groups are highlighted in boldface.

Table E7: Permutational multivariate analysis of variance (PERMANOVA) between microbiome weighted UniFrac β-diversity and mean z-scores of metabolic classes in serum and feces.

| Metabolic Class | R2 | Percent explained | Adjusted P-value |
| --- | --- | --- | --- |
| Serum metabolic classes |  |  |  |
| - Amine oxides | 0.0094 | 0.94 | 0.478 |
| - Amino acids | 0.0118 | 1.18 | 0.354 |
| - Bile acids | 0.0194 | 1.94 | 0.101 |
| - Biogenic amines | 0.0377 | 3.77 | 0.003 |
| - Carboxylic acids | 0.0075 | 0.75 | 0.707 |
| - Carnitines | 0.0134 | 1.34 | 0.281 |
| - Ceramides | 0.0066 | 0.66 | 0.801 |
| - Cholesteryl esters | 0.0064 | 0.64 | 0.794 |
| - Cresols | 0.0292 | 2.92 | 0.024 |
| - Diglycerides | 0.0136 | 1.36 | 0.255 |
| - Fatty acids | 0.0073 | 0.73 | 0.719 |
| - Hormones and related | 0.0358 | 3.58 | 0.01 |
| - Indoles and derivatives | 0.0051 | 0.51 | 0.922 |
| - Monosaccharides | 0.0105 | 1.05 | 0.414 |
| - Nucleobases and related | 0.0047 | 0.47 | 0.945 |
| - Phosphatidylcholines | 0.0076 | 0.76 | 0.685 |
| - Sphingomyelins | 0.0052 | 0.52 | 0.926 |
| - Triglycerides | 0.0094 | 0.94 | 0.525 |
| - Vitamins and cofactors | 0.0093 | 0.93 | 0.538 |
| Fecal metabolic classes |  |  |  |
| - Amine oxides | 0.0111 | 1.11 | 0.362 |
| - Amino acids | 0.0304 | 3.04 | 0.017 |
| - Bile acids | 0.0327 | 3.27 | 0.022 |
| - Biogenic amines | 0.0502 | 5.02 | 0.002 |
| - Carboxylic acids | 0.0229 | 2.29 | 0.06 |
| - Carnitines | 0.0296 | 2.96 | 0.035 |
| - Ceramides | 0.0279 | 2.79 | 0.03 |
| - Cresols | 0.0257 | 2.57 | 0.043 |
| - Diglycerides | 0.0238 | 2.38 | 0.055 |
| - Fatty acids | 0.0565 | 5.65 | 0.002 |
| - Hormones and related | 0.0219 | 2.19 | 0.063 |
| - Indoles and derivatives | 0.0163 | 1.63 | 0.178 |
| - Monosaccharides | 0.0619 | 6.19 | 0.001 |
| - Phosphatidylcholines | 0.005 | 0.5 | 0.876 |
| - Sphingomyelins | 0.0041 | 0.41 | 0.955 |
| - Triglycerides | 0.0173 | 1.73 | 0.152 |
| - Vitamins and cofactors | 0.0096 | 0.96 | 0.441 |

Table E8: Explanation of analyte classifications.

| Analytical Classification | Abbreviation | Validation criteria |  |
| --- | --- | --- | --- |
| Quantitative | Q | LC | 7-point calibration used CV < 15 % (CV < 20 % at LOD) Accuracy 85 % - 115 % (80 % - 120 % at LOD) Corresponding ISTD used |
|  |  | FIA | 1-point calibration used CV < 20 % Accuracy 80 % - 120 % Corresponding ISTD used |
| Quantitative with restrictions | QR | LC | 1-point calibration or CV < 20 % at entire concentration range or Accuracy 80 % - 120 % at entire concentration range |
| Relative Quantitative | RQ | LC | CV < 20 % Accuracy not verified |
|  |  | FIA | CV < 30 % Accuracy not verified |
| Not validated |  |  | Analyte concentration < LOD |
| Invalid |  |  | Validation failed |

Abbreviations: CV = Coefficient of variation; FIA = Flow injection analysis; ITSD = Internal standard; LC = Liquid chromatography; LOD = Limit of detection; Q = Quantitative; QR = Quantitative with restrictions; RQ = Relative Quantitative;

Supplementary Figure legends:

Figure E1: The flow diagram of the inclusion numbers of the SysPharmPediA pediatric cohort, for which the serum and fecal metabolomics were characterized.

Figure E2: The general data analysis workflow implemented in this study.

Figure E3: Directed acyclic graph (DAG) to define the covariates (potential confounders) that may influence the metabotypes and asthma control.

Figure E4: Optimum number of clusters for K=2:10 by spectral clustering on integrative information on serum and fecal metabolomics profiles using different statistical indices, A; Eigengap, B; Rotation cost, C; Average silhouette’s width, D; Within cluster sum of squares, E; Gap statistic. F; comparison of average silhouette’s widths for paired versus single omics blocks.

Figure E5: Box-and-Whisker plots of the 24-hour food diaries total protein and sugar intake in the three metabotypes.

Figure E6: Violin Box-and-Whisker plot of microbial richness and shannon α-diversity measure between the metabotypes. Overall P-value was generated by the Kruskal-Wallis H test and pairwise P-values were generated by Dunn’s post-hoc test.

Figure E7: Principal co-ordinate analysis (PCoA) two-dimensional (first 2 dimensions) plot based on the weighted UniFrac microbiome measure, where nodes were colored according to the metabotypes classification. 95% confidence ellipses were added to the participants’ nodes representing each metabotype.

Figure E8: Correlation heatmap between microbial α-diversity and metabolomic profiles. This heatmap represents the Spearman correlation coefficient between microbial α-diversity indices (Shannon diversity and richness) and average z-score for each metabolic class from serum and fecal samples. The color intensity reflects the correlation strength, with red indicating negative correlations and green indicating positive correlations. Transparency levels correspond to the magnitude of correlation. Asterisks (*) denote statistically significant correlations after false discovery rate (FDR) correction (q-value <0.05).