## Taulukko1
Sarake1 | Sarake2 | Sarake3 | Sarake4 | Sarake5 | Sarake6 | Sarake7
Analysis Sequence "Anita Wagner 2D UNDIFF23 161023_0724rev2"
Input Image |  | Input
Flatfield Correction : None
Brightfield Correction
Stack Processing : Maximum Projection
Create Global Image
Min. Global Binning : Dynamic
Calculate Image |  | Input |  | Method |  | Output
Method : By Formula
Formula : A+B
Channel A : Alexa 488 (global)
Channel B : Alexa 568 (global)
Negative Values : Set to Zero
Undefined Values : Set to Local Average
Output Image : Calculated Image (global)
Find Image Region |  | Input |  | Method |  | Output
Channel : Calculated Image (global)
ROI : Imaged Area (global)
ROI Region : Imaged Area
Method : Absolute Threshold
Lowest Intensity : ≥ 450
Highest Intensity : ≤ inf
Area : > 5000 px²
Fill Holes
Output Population : Image Region (global)
Output Region : Image Region
Find Nuclei (3) |  | Input |  | Method |  | Output
Channel :
ROI : Image Region (global)
ROI Region : Image Region
Method : M
Diameter : 10 µm
Splitting Sensitivity : 0.16
Common Threshold : 0.2
Output Population : Nuclei (global)
Calculate Morphology Properties (3) |  | Input |  | Method |  | Output
Population : Nuclei (global)
Region : Nucleus
Method : Standard
Area
Roundness
Property Prefix : Nucleus
Calculate Intensity Properties (7) |  | Input |  | Method |  | Output
Channel :
Population : Nuclei (global)
Region : Nucleus
Method : Standard
Mean
Standard Deviation
Coefficient of Variance
Property Prefix : Intensity Nucleus Hoechst 33342 (global)
Select Population |  | Input |  | Method |  | Output
Population : Nuclei (global)
Method : Filter by Property
Nucleus Area [µm²] : > 10
Nucleus Roundness : > 0.5
Nucleus Area [µm²] : < 10000
Boolean Operations : F1 and F2 and F3
Output Population : Nuclei (global) Selected
Find Surrounding Region |  | Input |  | Method |  | Output
Channel : Alexa 568 (global)
Population : Nuclei (global) Selected
Region : Nucleus
Method : A
Individual Threshold : 0.08
Restrictive Region : Image Region
Include Input Region
Output Region : Surrounding Region
Calculate Intensity Properties |  | Input |  | Method |  | Output
Channel : Alexa 488 (global)
Population : Nuclei (global) Selected
Region : Surrounding Region
Method : Standard
Mean
Standard Deviation
Coefficient of Variance
Sum
Property Prefix : Intensity Surrounding Region Alexa 488 (global)
Calculate Intensity Properties (2) |  | Input |  | Method |  | Output
Channel : Alexa 568 (global)
Population : Nuclei (global) Selected
Region : Surrounding Region
Method : Standard
Mean
Standard Deviation
Coefficient of Variance
Median
Property Prefix : Intensity Surrounding Region Alexa 568 (global)
Calculate Morphology Properties |  | Input |  | Method |  | Output
Population : Nuclei (global) Selected
Region : Surrounding Region
Method : Standard
Area
Roundness
Property Prefix : Surrounding Region
Filter Image |  | Input |  | Method |  | Output
Channel : Alexa 488 (global)
Method : Sliding Parabola
Curvature : 0.5
Output Image : Sliding Parabola (global)
Filter Image (2) |  | Input |  | Method |  | Output
Channel : Sliding Parabola (global)
Method : Smoothing
Filter : Gaussian
Width : 1 px
Output Image : Gaussian Smoothed
Calculate Image (2) |  | Input |  | Method |  | Output
Method : By Formula
Formula : A+B
Channel A : Alexa 488 (global)
Channel B : Gaussian Smoothed
Negative Values : Set to Zero
Undefined Values : Set to Local Average
Output Image : Bodipy spots
Find Spots |  | Input |  | Method |  | Output
Channel : Alexa 488 (global)
ROI : Nuclei (global) Selected
ROI Region : Surrounding Region
Method : D
Detection Sensitivity : 0.22
Splitting Sensitivity : 0.456
Background Correction : 0.344
Calculate Spot Properties
Output Population : Bodipy spots
Calculate Morphology Properties (2) |  | Input |  | Method |  | Output
Population : Bodipy spots
Region : Spot
Method : Standard
Area
Roundness
Width
Length
Ratio Width to Length
Property Prefix : Bodipy Spot
Calculate Intensity Properties (3) |  | Input |  | Method |  | Output
Channel : Alexa 488 (global)
Population : Bodipy spots
Region : Spot
Method : Standard
Mean
Standard Deviation
Coefficient of Variance
Median
Sum
Property Prefix : Intensity Bodipy Spot Alexa 488 (global)
Find Spots (2) |  | Input |  | Method |  | Output
Channel : Alexa 568
ROI : Nuclei (global) Selected
ROI Region : Surrounding Region
Method : D
Detection Sensitivity : 0.05
Splitting Sensitivity : 0.065
Background Correction : 0.22
Calculate Spot Properties
Output Population : Mito spots
Calculate Intensity Properties (9) |  | Input |  | Method |  | Output
Channel : Alexa 568
Population : Mito spots
Region : Spot
Method : Standard
Mean
Standard Deviation
Median
Sum
Property Prefix : Intensity Mito Alexa 568
Calculate Morphology Properties (6) |  | Input |  | Method |  | Output
Population : Mito spots
Region : Spot
Method : Standard
Area
Roundness
Width
Length
Ratio Width to Length
Property Prefix : Mito spot
Select Population (3) |  | Input |  | Method |  | Output
Population : Mito spots
Method : Filter by Property
Mito spot Area [µm²] : > 0.1
Intensity Mito Alexa 568 Mean : > 5000
Boolean Operations : F1 and F2
Output Population : Mito spots Selected
Select Population (2) |  | Input |  | Method |  | Output
Population : Nuclei (global) Selected
Method : Linear Classifier
Number of Classes : 2
Intensity Surrounding Region Alexa 488 (global) Mean
Intensity Surrounding Region Alexa 488 (global) StdDev
Intensity Surrounding Region Alexa 488 (global) Sum
Intensity Surrounding Region Alexa 488 (global) CV [%]
Intensity Surrounding Region Alexa 568 (global) Mean
Intensity Surrounding Region Alexa 568 (global) StdDev
Intensity Surrounding Region Alexa 568 (global) Median
Intensity Surrounding Region Alexa 568 (global) CV [%]
Surrounding Region Area [µm²]
Surrounding Region Roundness
Total Spot Area
Relative Spot Intensity
Number of Spots
Number of Spots per Area of Surrounding Region
Output Population A : Differentiated
Output Population B : Non-DIfferentiated
Find Spots (3) |  | Input |  | Method |  | Output
Channel : Alexa 568
ROI : Differentiated
ROI Region : Surrounding Region
Method : D
Detection Sensitivity : 0.2
Splitting Sensitivity : 0.065
Background Correction : 0.47
Calculate Spot Properties
Output Population : Mito Diff
Calculate Intensity Properties (4) |  | Input |  | Method |  | Output
Channel : Alexa 568
Population : Mito Diff
Region : Spot
Method : Standard
Mean
Standard Deviation
Coefficient of Variance
Median
Sum
Maximum
Minimum
Property Prefix : Intensity Mito Diff Alexa 568
Calculate Morphology Properties (4) |  | Input |  | Method |  | Output
Population : Mito Diff
Region : Spot
Method : Standard
Area
Roundness
Width
Length
Ratio Width to Length
Property Prefix : Mito Diff
Find Spots (4) |  | Input |  | Method |  | Output
Channel : Alexa 568
ROI : Non-DIfferentiated
ROI Region : Surrounding Region
Method : D
Detection Sensitivity : 0.2
Splitting Sensitivity : 0.065
Background Correction : 0.47
Calculate Spot Properties
Output Population : Mito Nondiff
Calculate Intensity Properties (5) |  | Input |  | Method |  | Output
Channel : Alexa 568
Population : Mito Nondiff
Region : Spot
Method : Standard
Mean
Standard Deviation
Coefficient of Variance
Median
Sum
Maximum
Minimum
Property Prefix : Intensity Mito Nondiff Alexa 568
Calculate Morphology Properties (5) |  | Input |  | Method |  | Output
Population : Mito Nondiff
Region : Spot
Method : Standard
Area
Roundness
Width
Length
Ratio Width to Length
Property Prefix : Mito Nondiff
Select Population (4) |  | Input |  | Method |  | Output
Population : Mito Diff
Method : Filter by Property
Mito Diff Area [µm²] : > 0.1
Intensity Mito Diff Alexa 568 Mean : > 1000
Boolean Operations : F1 and F2
Output Population : Mito Diff Selected
Select Population (5) |  | Input |  | Method |  | Output
Population : Mito Nondiff
Method : Filter by Property
Mito Nondiff Area [µm²] : > 0.1
Intensity Mito Nondiff Alexa 568 Mean : > 1000
Boolean Operations : F1 and F2
Output Population : Mito Nondiff Selected
Calculate Properties |  | Input |  | Method |  | Output
Population : Differentiated
Method : By Related Population
Related Population : Mito Diff Selected
Number of Mito Diff Selected
Intensity Mito Diff Alexa 568 Mean
Intensity Mito Diff Alexa 568 Median
Intensity Mito Diff Alexa 568 Sum
Mito Diff Area [µm²]
Mito Diff Roundness
Mito Diff Width [µm]
Mito Diff Length [µm]
Mito Diff Ratio Width to Length
Property Suffix : per Cell
Calculate Properties (2) |  | Input |  | Method |  | Output
Population : Non-DIfferentiated
Method : By Related Population
Related Population : Mito Nondiff Selected
Number of Mito Nondiff Selected
Intensity Mito Nondiff Alexa 568 Mean
Intensity Mito Nondiff Alexa 568 StdDev
Intensity Mito Nondiff Alexa 568 Median
Intensity Mito Nondiff Alexa 568 Sum
Mito Nondiff Area [µm²]
Mito Nondiff Roundness
Mito Nondiff Width [µm]
Mito Nondiff Length [µm]
Mito Nondiff Ratio Width to Length
Property Suffix : per Cell
Calculate Properties (3) |  | Input |  | Method |  | Output
Population : Differentiated
Method : By Related Population
Related Population : Bodipy spots
Number of Bodipy spots
Spot Area [px²]
Bodipy Spot Area [µm²]
Bodipy Spot Roundness
Bodipy Spot Width [µm]
Bodipy Spot Length [µm]
Bodipy Spot Ratio Width to Length
Intensity Bodipy Spot Alexa 488 (global) Mean
Intensity Bodipy Spot Alexa 488 (global) StdDev
Intensity Bodipy Spot Alexa 488 (global) Median
Intensity Bodipy Spot Alexa 488 (global) Sum
Intensity Bodipy Spot Alexa 488 (global) CV [%]
Property Suffix : per Cell
Calculate Properties (4) |  | Input |  | Method |  | Output
Population : Non-DIfferentiated
Method : By Related Population
Related Population : Bodipy spots
Number of Bodipy spots
Spot Area [px²]
Bodipy Spot Area [µm²]
Bodipy Spot Roundness
Bodipy Spot Width [µm]
Bodipy Spot Length [µm]
Bodipy Spot Ratio Width to Length
Intensity Bodipy Spot Alexa 488 (global) Mean
Intensity Bodipy Spot Alexa 488 (global) StdDev
Intensity Bodipy Spot Alexa 488 (global) Median
Intensity Bodipy Spot Alexa 488 (global) Sum
Intensity Bodipy Spot Alexa 488 (global) CV [%]
Property Suffix : per Cell
Define Results |  | Results
Method : List of Outputs
Population : Image Region (global)
Number of Objects
Apply to All : Mean
Population : Mito spots Selected
Number of Objects
Apply to All : None
Population : Nuclei (global) Selected
Number of Objects
Apply to All : None
Population : Mito Diff
Apply to All : None
Population : Mito Diff Selected
Number of Objects
Apply to All : None
Population : Mito Nondiff Selected
Number of Objects
Apply to All : None
Population : Differentiated
Number of Objects
Intensity Surrounding Region Alexa 568 (global) Mean : Mean
Intensity Surrounding Region Alexa 568 (global) StdDev : Mean
Intensity Surrounding Region Alexa 568 (global) Median : Mean
Intensity Surrounding Region Alexa 568 (global) CV [%] : Mean
Surrounding Region Area [µm²] : Mean
Surrounding Region Roundness : Mean
Number of Mito Diff Selected- per Cell : Mean
Intensity Mito Diff Alexa 568 Mean- Mean per Cell : Mean
Intensity Mito Diff Alexa 568 Median- Mean per Cell : Mean
Intensity Mito Diff Alexa 568 Sum- Sum per Cell : Mean
Mito Diff Area [µm²]- Sum per Cell : Mean
Mito Diff Roundness- Mean per Cell : Mean
Mito Diff Width [µm]- Mean per Cell : Mean
Mito Diff Length [µm]- Mean per Cell : Mean
Mito Diff Ratio Width to Length- Mean per Cell : Mean
Number of Bodipy spots- per Cell : Mean
Spot Area [px²]- Mean per Cell : Max
Bodipy Spot Area [µm²]- Mean per Cell : Mean
Bodipy Spot Roundness- Mean per Cell : Mean
Bodipy Spot Width [µm]- Mean per Cell : Mean
Bodipy Spot Length [µm]- Mean per Cell : Mean
Bodipy Spot Ratio Width to Length- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) Mean- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) StdDev- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) Median- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) Sum- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) CV [%]- Mean per Cell : Mean
Population : Non-DIfferentiated
Number of Objects
Intensity Surrounding Region Alexa 568 (global) Mean : Mean
Intensity Surrounding Region Alexa 568 (global) StdDev : Mean
Intensity Surrounding Region Alexa 568 (global) Median : Mean
Intensity Surrounding Region Alexa 568 (global) CV [%] : Mean
Surrounding Region Area [µm²] : Mean
Surrounding Region Roundness : Mean
Number of Mito Nondiff Selected- per Cell : Mean
Intensity Mito Nondiff Alexa 568 Mean- Mean per Cell : Mean
Intensity Mito Nondiff Alexa 568 StdDev- Mean per Cell : Mean
Intensity Mito Nondiff Alexa 568 Median- Mean per Cell : Mean
Intensity Mito Nondiff Alexa 568 Sum- Sum per Cell : Mean
Mito Nondiff Area [µm²]- Sum per Cell : Mean
Mito Nondiff Roundness- Mean per Cell : Mean
Mito Nondiff Width [µm]- Mean per Cell : Mean
Mito Nondiff Length [µm]- Mean per Cell : Mean
Mito Nondiff Ratio Width to Length- Mean per Cell : Mean
Number of Bodipy spots- per Cell : Mean
Spot Area [px²]- Mean per Cell : Max
Bodipy Spot Area [µm²]- Mean per Cell : Mean
Bodipy Spot Roundness- Mean per Cell : Mean
Bodipy Spot Width [µm]- Mean per Cell : Mean
Bodipy Spot Length [µm]- Mean per Cell : Mean
Bodipy Spot Ratio Width to Length- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) Mean- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) StdDev- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) Median- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) Sum- Mean per Cell : Mean
Intensity Bodipy Spot Alexa 488 (global) CV [%]- Mean per Cell : Mean
Object Results
Population : Nuclei (global) : None
Population : Image Region (global) : None
Population : Bodipy spots : ALL
Population : Mito spots : Use Selected Well Results
Population : Mito spots Selected : Use Selected Well Results
Population : Nuclei (global) Selected : Use Selected Well Results
Population : Mito Diff : Use Selected Well Results
Population : Mito Diff Selected : Use Selected Well Results
Population : Mito Nondiff : Use Selected Well Results
Population : Mito Nondiff Selected : Use Selected Well Results
Population : Differentiated : ALL
Population : Non-DIfferentiated : ALL
Acapella version: 5.0.1.124082. Timestamp: 2025-01-24 23:10:17 +0200.

## Taul1
Table S2. Analysis sequence for image analysis with Harmony 4.9, Related to Figures 1-6.
Input Image | Input
Flatfield Correction : None Brightfield Correction Stack Processing : Maximum Projection Create Global Image Min. Global Binning : Dynamic
Calculate Image | Input | Method | Output
|  | Method : By Formula Formula : A+B Channel A : Alexa 488 (global) Channel B : Alexa 568 (global) Negative Values : Set to Zero Undefined Values : Set to Local Average | Output Image : Calculated Image (global)
Find Image Region | Input | Method | Output
| Channel : Calculated Image (global) ROI : Imaged Area (global) ROI Region : Imaged Area | Method : Absolute Threshold Lowest Intensity : 450 Highest Intensity : inf Area : > 5000 px² Fill Holes | Output Population : Image Region (global) Output Region : Image Region
Find Nuclei | Input | Method | Output
| Channel : ROI : Image Region (global) ROI Region : Image Region | Method : M Diameter : 10 µm Splitting Sensitivity : 0.16 Common Threshold : 0.2 | Output Population : Nuclei (global)
Calculate Morphology Properties | Input | Method | Output
| Population : Nuclei (global) Region : Nucleus | Method : Standard Area Roundness | Property Prefix : Nucleus
Calculate Intensity Properties | Input | Method | Output
| Channel : Population : Nuclei (global) Region : Nucleus | Method : Standard Mean Standard Deviation Coefficient of Variance | Property Prefix : Intensity Nucleus Hoechst 33342 (global)
Select Population | Input | Method | Output
| Population : Nuclei (global) | Method : Filter by Property Nucleus Area [µm²] : > 10 Nucleus Roundness : > 0.5 Nucleus Area [µm²] : < 10000 Boolean Operations : F1 and F2 and F3 | Output Population : Nuclei (global) Selected
Find Surrounding Region | Input | Method | Output
| Channel : Alexa 568 (global) Population : Nuclei (global) Selected Region : Nucleus | Method : A Individual Threshold : 0.08 Restrictive Region : Image Region Include Input Region | Output Region : Surrounding Region
Calculate Intensity Properties | Input | Method | Output
| Channel : Alexa 488 (global) Population : Nuclei (global) Selected Region : Surrounding Region | Method : Standard Mean Standard Deviation Coefficient of Variance Sum | Property Prefix : Intensity Surrounding Region Alexa 488 (global)
Calculate Intensity Properties | Input | Method | Output
| Channel : Alexa 568 (global) Population : Nuclei (global) Selected Region : Surrounding Region | Method : Standard Mean Standard Deviation Coefficient of Variance Median | Property Prefix : Intensity Surrounding Region Alexa 568 (global)
Calculate Morphology Properties | Input | Method | Output
| Population : Nuclei (global) Selected Region : Surrounding Region | Method : Standard Area Roundness | Property Prefix : Surrounding Region
Filter Image | Input | Method | Output
| Channel : Alexa 488 (global) | Method : Sliding Parabola Curvature : 0.5 | Output Image : Sliding Parabola (global)
Filter Image | Input | Method | Output
| Channel : Sliding Parabola (global) | Method : Smoothing Filter : Gaussian Width : 1 px | Output Image : Gaussian Smoothed
Calculate Image | Input | Method | Output
|  | Method : By Formula Formula : A+B Channel A : Alexa 488 (global) Channel B : Gaussian Smoothed Negative Values : Set to Zero Undefined Values : Set to Local Average | Output Image : Bodipy spots
Find Spots | Input | Method | Output
| Channel : Alexa 488 (global) ROI : Nuclei (global) Selected ROI Region : Surrounding Region | Method : D Detection Sensitivity : 0.22 Splitting Sensitivity : 0.456 Background Correction : 0.344 Calculate Spot Properties | Output Population : Bodipy spots
Calculate Morphology Properties | Input | Method | Output
| Population : Bodipy spots Region : Spot | Method : Standard Area Roundness Width Length Ratio Width to Length | Property Prefix : Bodipy Spot
Calculate Intensity Properties | Input | Method | Output
| Channel : Alexa 488 (global) Population : Bodipy spots Region : Spot | Method : Standard Mean Standard Deviation Coefficient of Variance Median Sum | Property Prefix : Intensity Bodipy Spot Alexa 488 (global)
Find Spots | Input | Method | Output
| Channel : Alexa 568 ROI : Nuclei (global) Selected ROI Region : Surrounding Region | Method : D Detection Sensitivity : 0.05 Splitting Sensitivity : 0.065 Background Correction : 0.22 Calculate Spot Properties | Output Population : Mito spots
Calculate Intensity Properties | Input | Method | Output
| Channel : Alexa 568 Population : Mito spots Region : Spot | Method : Standard Mean Standard Deviation Median Sum | Property Prefix : Intensity Mito Alexa 568
Calculate Morphology Properties | Input | Method | Output
| Population : Mito spots Region : Spot | Method : Standard Area Roundness Width Length Ratio Width to Length | Property Prefix : Mito spot
Select Population | Input | Method | Output
| Population : Mito spots | Method : Filter by Property Mito spot Area [µm²] : > 0.1 Intensity Mito Alexa 568 Mean : > 5000 Boolean Operations : F1 and F2 | Output Population : Mito spots Selected
Select Population | Input | Method | Output
| Population : Nuclei (global) Selected | Method : Linear Classifier Number of Classes : 2 Intensity Surrounding Region Alexa 488 (global) Mean Intensity Surrounding Region Alexa 488 (global) StdDev Intensity Surrounding Region Alexa 488 (global) Sum Intensity Surrounding Region Alexa 488 (global) CV [%] Intensity Surrounding Region Alexa 568 (global) Mean Intensity Surrounding Region Alexa 568 (global) StdDev Intensity Surrounding Region Alexa 568 (global) Median Intensity Surrounding Region Alexa 568 (global) CV [%] Surrounding Region Area [µm²] Surrounding Region Roundness Total Spot Area Relative Spot Intensity Number of Spots Number of Spots per Area of Surrounding Region | Output Population A : Differentiated Output Population B : Non-DIfferentiated
Find Spots | Input | Method | Output
| Channel : Alexa 568 ROI : Differentiated ROI Region : Surrounding Region | Method : D Detection Sensitivity : 0.2 Splitting Sensitivity : 0.065 Background Correction : 0.47 Calculate Spot Properties | Output Population : Mito Diff
Calculate Intensity Properties | Input | Method | Output
| Channel : Alexa 568 Population : Mito Diff Region : Spot | Method : Standard Mean Standard Deviation Coefficient of Variance Median Sum Maximum Minimum | Property Prefix : Intensity Mito Diff Alexa 568
Calculate Morphology Properties | Input | Method | Output
| Population : Mito Diff Region : Spot | Method : Standard Area Roundness Width Length Ratio Width to Length | Property Prefix : Mito Diff
Find Spots | Input | Method | Output
| Channel : Alexa 568 ROI : Non-Differentiated ROI Region : Surrounding Region | Method : D Detection Sensitivity : 0.2 Splitting Sensitivity : 0.065 Background Correction : 0.47 Calculate Spot Properties | Output Population : Mito Undiff
Calculate Intensity Properties | Input | Method | Output
| Channel : Alexa 568 Population : Mito Undiff Region : Spot | Method : Standard Mean Standard Deviation Coefficient of Variance Median Sum Maximum Minimum | Property Prefix : Intensity Mito Undiff Alexa 568
Calculate Morphology Properties | Input | Method | Output
| Population : Mito Undiff Region : Spot | Method : Standard Area Roundness Width Length Ratio Width to Length | Property Prefix : Mito Undiff
Select Population | Input | Method | Output
| Population : Mito Diff | Method : Filter by Property Mito Diff Area [µm²] : > 0.1 Intensity Mito Diff Alexa 568 Mean : > 1000 Boolean Operations : F1 and F2 | Output Population : Mito Diff Selected
Select Population | Input | Method | Output
| Population : Mito Undiff | Method : Filter by Property Mito Undiff Area [µm²] : > 0.1 Intensity Mito Undiff Alexa 568 Mean : > 1000 Boolean Operations : F1 and F2 | Output Population : Mito Undiff Selected
Calculate Properties | Input | Method | Output
| Population : Differentiated | Method : By Related Population Related Population : Mito Diff Selected Number of Mito Diff Selected Intensity Mito Diff Alexa 568 Mean Intensity Mito Diff Alexa 568 Median Intensity Mito Diff Alexa 568 Sum Mito Diff Area [µm²] Mito Diff Roundness Mito Diff Width [µm] Mito Diff Length [µm] Mito Diff Ratio Width to Length | Property Suffix : per Cell
Calculate Properties | Input | Method | Output
| Population : Non-DIfferentiated | Method : By Related Population Related Population : Mito Undiff Selected Number of Mito Undiff Selected Intensity Mito Undiff Alexa 568 Mean Intensity Mito Undiff Alexa 568 StdDev Intensity Mito Undiff Alexa 568 Median Intensity Mito Undiff Alexa 568 Sum Mito Undiff Area [µm²] Mito Undiff Roundness Mito Undiff Width [µm] Mito Undiff Length [µm] Mito Undiff Ratio Width to Length | Property Suffix : per Cell
Calculate Properties | Input | Method | Output
| Population : Differentiated | Method : By Related Population Related Population : Bodipy spots Number of Bodipy spots Spot Area [px²] Bodipy Spot Area [µm²] Bodipy Spot Roundness Bodipy Spot Width [µm] Bodipy Spot Length [µm] Bodipy Spot Ratio Width to Length Intensity Bodipy Spot Alexa 488 (global) Mean Intensity Bodipy Spot Alexa 488 (global) StdDev Intensity Bodipy Spot Alexa 488 (global) Median Intensity Bodipy Spot Alexa 488 (global) Sum Intensity Bodipy Spot Alexa 488 (global) CV [%] | Property Suffix : per Cell
Calculate Properties | Input | Method | Output
| Population : Non-DIfferentiated | Method : By Related Population Related Population : Bodipy spots Number of Bodipy spots Spot Area [px²] Bodipy Spot Area [µm²] Bodipy Spot Roundness Bodipy Spot Width [µm] Bodipy Spot Length [µm] Bodipy Spot Ratio Width to Length Intensity Bodipy Spot Alexa 488 (global) Mean Intensity Bodipy Spot Alexa 488 (global) StdDev Intensity Bodipy Spot Alexa 488 (global) Median Intensity Bodipy Spot Alexa 488 (global) Sum Intensity Bodipy Spot Alexa 488 (global) CV [%] | Property Suffix : per Cell
Acapella version: 5.0.1.124082. Timestamp: 2025-01-24 23:10:17 +0200.