## Sheet1
Supplemental Excel Table S1 Characteristics of multiplex assays submitted to IASP 2024 workshop
Lab ID | Country | Commercial | Manufacturer | Assay Format | Antibody combination | Antigens | Antigen Source | Label / Reporter | Competition | Antibody/antigen Binding phase | Serum volume per replicate (ml) | Number of replicates | Assay duration (hours) | Capture system | Wash system | Wash volume (ml) | Number of washes | Wash buffer | Detergent | Antigen/well | Readout wavelength | Units | Standard Curve / index | Threshold for positivity (units) | Threshold selection criteria
Bridge-ELISA assays (1)
132 | United Kingdom | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A | full-length GAD65 + IA-2 (aa604-979) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 40 | 2 | ~20 hours | plate capture | ELISA washer | nr | nr | ElisaRSRTM Wash Solution | nr | nr | 450 nm | RSR units/mL | Standard Curve | ≥4.0 | 99th percentile of controls (IASP 2012)
132 | United Kingdom | Yes | RSR Limited | bridge-ELISA-FAST | GADA/IA-2A | full-length GAD65 + IA-2 (aa604-979) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 40 | 2 | ~4 hours | plate capture | ELISA washer | nr | nr | ElisaRSRTM Wash Solution | nr | nr | 450 nm | RSR units/mL | Standard Curve | ≥4.0 | 99th percentile of controls (IASP 2012)
1801 | Japan | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A/ZnT8A | full-length GAD65 + IA-2 (aa604-979) + ZnT8A (aa268-369) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 25 | 1 | ~20 hours | plate capture | ELISA washer | 300 | 3x3 | ElisaRSRTM Wash Solution | nr | nr | nr | Local | Index | ≥20 | 99th percentile of controls
2408 | Czech Republic | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A/ZnT8A | full-length GAD65 + IA-2 (aa604-979) + ZnT8A (aa268-369) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 25 | 1 | ~20 hours | plate capture | ELISA washer | nr | nr | ElisaRSRTM Wash Solution | nr | nr | nr | Local | Standard Curve | ≥25 | Based on manufacturer's indications and clinical practice
121 | Germany | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A/ZnT8A | full-length GAD65 + IA-2 (aa604-979) + ZnT8A (aa268-369) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 25 | 1 | ~20 hours | plate capture | ELISA washer | nr | nr | ElisaRSRTM Wash Solution | nr | nr | 450 nm/405 nm (subtracted 620nm) | Local | Standard Curve | ≥90 | Based on screening practice
132 | United Kingdom | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A/ZnT8A | full-length GAD65 + IA-2 (aa604-979) + ZnT8A (aa268-369) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 25 | 2 | ~20 hours | plate capture | ELISA washer | nr | nr | ElisaRSRTM Wash Solution | nr | nr | 450 nm | Local | Index | ≥30 | 97th percentile of 1200 controls
153 | Italy | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A/ZnT8A | full-length GAD65 + IA-2 (aa604-979) + ZnT8A (aa268-369) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 25 | 1 | ~20 hours | plate capture | ELISA washer | 300 | 4 | ElisaRSRTM Wash Solution | nr | nr | 450 nm/405 nm (subtracted 620nm) | Local | Standard Curve | ≥40 | Based on screening practice
1602 | Germany | Yes | RSR Limited | bridge-ELISA | GADA/IA-2A/ZnT8A | full-length GAD65 + IA-2 (aa604-979) + ZnT8A (aa268-369) | nr | Biotin / SA-POD | No | hybrid solid/liquid phase | 25 | 2 | ~20 hours | plate capture | ELISA washer | 200 | 3x3 | ElisaRSRTM Wash Solution | nr | nr | 450 nm/405 nm | Local | Standard Curve | ≥40 | 98.5th percentile of controls
Luciferase immuno precipitation system (LIPS) assays
116 | United Kingdom | No | in-house | LIPS | GADA/IA-2A/ZnT8A | GAD65 (aa96-585) + IA-2 (aa604-979) + ZnT8A (aa268-369) | Expi293F stable cell lines | Nanoluc luciferase | No | liquid phase | 1 | 2 | ~5 hours | Protein A Sepharose | Centrifugation | 800 | 5 | 20mM Tris, 150mM NaCl, pH 7.4 | 0.5% Tween20 | 2000000 LU* of each Ag | - | Local | Standard Curve | ≥0.6 | 97.5th percentile of controls
solid-phase Protein A Luciferase (PAL) assays
153 | Italy | No | in-house | PAL | GADA/IA-2A/ZnT8A | GAD65 (aa96-585) + IA-2 (aa604-979) + ZnT8A (aa268-369) | Expi293F stable cell lines | Nanoluc luciferase | No | liquid phase | 1 | 1 | ~5 hours | Protein A on solid-phase (in-house) | ELISA washer | 200 | 5 | 20mM Tris, 150mM NaCl, pH 7.4 | Tween20 | 4000000 LU* of each Ag | - | Local | Standard Curve | ≥14 | Quantile-Quantile plot
153 | Italy | No | in-house | scLIPS | GADA/IA-2A/ZnT8A | GAD65 (aa96-585) + IA-2 (aa604-979) + ZnT8A (aa268-369) | Expi293F stable cell lines | Nanoluc luciferase | No | liquid phase | 1 | 1 | ~5 hours | Protein A on solid-phase (commercial) | ELISA washer | 200 | 5 | 20mM Tris, 150mM NaCl, pH 7.4 | Tween20 | 4000000 LU* of each Ag | - | Local | Standard Curve | ≥14 | Quantile-Quantile plot
Electrochemiluminescence (ECL) assays (2)
133 | USA | No | in-house | ECL | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa605-979)+ insulin + ZnT8A (aa268-369)^ | nr | SULFO-TAG™ | No | hybrid solid/liquid phase | 5 | 2 | ~5 hours | plate capture | Plate wash | 150 | 3 | PBS/NaCl | Tween20 | nr | - | Local | Index | ≥0.01, ≥0.007, ≥0.006, ≥0.007 | 99th percentile of controls
1306 | USA | Yes | Meso Scale Diagnostics, LLC. (MSD®) | ECL | GADA/IA-2A/ZnT8A/IAA* | GAD65+ IA-2 + Insulin + ZnT8A (all full-length)^ | nr | MSD SULFO-TAG™ | No | hybrid solid/liquid phase | 30 | 2 | ~5 hours | plate capture | Plate wash | 300 | 1x3 | nr | nr | nr | - | WHO U/mL | Standard Curve | ≥3.4, ≥7.2, ≥3.2, ≥16.2 | 99th percentile of controls
Antibody detection by agglutination-PCR (ADAP) (3)
123 | Spain | Yes | Enable Biosciences Inc. | ADAP | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa604-979)+ insulin + ZnT8A (aa268-369)^ | nr | DNA conjugation | No | liquid phase | nr | 1 | ~5 hours | not required | not required | - | - | - | - | nr | - | Local | Index | ≥4.452, ≥4.873, ≥1.154, ≥1.286 | Mean + 3SD of controls
152 | Australia | Yes | Enable Biosciences Inc. | ADAP | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa604-979)+ insulin + ZnT8A (aa268-369)^ | nr | DNA conjugation | No | liquid phase | 1 | 1 | ~5 hours | not required | not required | - | - | - | - | 125pM for each | - | Local | Index | ≥5.0 for all | nr
156 | Sweden | Yes | Enable Biosciences Inc. | ADAP | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa604-979)+ insulin + ZnT8A (aa268-369)^ | nr | DNA conjugation | No | liquid phase | nr | 2 | ~5 hours | not required | not required | - | - | - | - | nr | - | Local | Index | ≥4.09, ≥4.19, ≥0.39, ≥2.49 | nr
1603 | France | Yes | Enable Biosciences Inc. | ADAP | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa604-979)+ insulin + ZnT8A (aa268-369)^ | nr | DNA conjugation | No | liquid phase | 4 | 2 | ~5 hours | not required | not required | - | - | - | - | 500 pM | - | Local | Index | ≥3.88, ≥4.08, ≥1.25, ≥1.55 | Mean + 3SD of controls and 99th percentile of controls
1803 | USA | Yes | Enable Biosciences Inc. | ADAP | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa604-979)+ insulin + ZnT8A (aa268-369)^ | nr | DNA conjugation | No | liquid phase | 4 | 2 | ~5 hours | not required | not required | - | - | - | - | 500 pM | - | Local | Index | ≥4.10, ≥4.30, ≥1.25, ≥1.70 | 99th percentile of controls
2404 | Denmark | Yes | Enable Biosciences Inc. | ADAP | GADA/IA-2A/ZnT8A/IAA* | GAD65 + IA-2 (aa604-979)+ insulin + ZnT8A (aa268-369)^ | nr | DNA conjugation | No | liquid phase | 4 | 2 | ~5 hours | not required | not required | - | - | - | - | 500 pM | - | Local | Index | ≥4.60, ≥2.40, ≥1.70, ≥2.20 | Not defined
nr = not reported
*LU = Light units
^All ECL and ADAP assays multiplex the distinct measurement of IAA, GADA, ZnT8A and IA-2A
References
(1) Amoroso et al. (2016), 3 Screen islet cell autoantibody ELISA: A sensitive and specific ELISA for the combined measurement of autoantibodies to GAD65, to IA-2 and to ZnT8
(2) Liu et al. (2018), Islet Autoantibody Detection by Electrochemiluminescence (ECL) Assay
(3) Cortez et al. (2022), Automation of a multiplex agglutination-PCR (ADAP) type 1 diabetes (T1D) assay for the rapid analysis of islet autoantibodies